## Material
Classification | [6 empty] | General | [16 empty] | Purchase | [9 empty] | Planning |  |  |  | Quality |  |  |  | Maintenance |  |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit of Measure | HSN Code | SAP Code | WBS Code | Part of eDesign | eDesign Description | Generic | Manufactured | Can be Used as an Asset | Material Status | Available Till | Qty. Evaluation Method | General PO Terms | Special PO Terms | Last Purchase Rate | Wt. Avg. Purchase Rate | Pur. Rate Threshold | GST - Procurement | GST - Sales | Associated Brands | Approved Vendors | PO Lead Time | Delivery Lead Time | Min. Order Qty. | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Expected Life | Depreciation Terms | Maintenance Frequency | Maintenance Checklist | Critical Spares | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Air Circulation | Power Output | Power Consumption | Refrigerant Type | Cooling Capacity | Heating Capacity | Energy Rating | Weight/UoM | Additional Features | Width (mm) | Height | Depth | Diameter (mm)
[29 empty] | % |  |  |  |  | Days | Days | [6 empty] | Months | % | [8 empty] | m³/min | HP | W |  | TR | TR |  | kg |  |  | mm | mm
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit | MHV000214 | MHVI00008 | A.C. Out Door Unit - Daikin, RXYQ8PRY6 |  | Fresh White | Nos | 84158310 | 1006877 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0001 | [12 empty] | NA | 8 |  | R-410A | 6.46 |  |  | 185 |  | 1680 | 635 | 765 | NA
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit | MHV000215 | MHVI00008 | A.C. Out Door Unit - Daikin, RXYQ18PRY6 |  | Ivory White | Nos | 84158310 | 1005355 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0001 | [12 empty] | NA | 18 |  | R-410A | 14.13 |  |  | 300 |  | 1680 | 1240 | 765 | NA
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit | MHV000216 | MHVI00008 | A.C. Out Door Unit - Daikin, RXYQ22PRY6 |  | Ivory White | Nos | 84158310 | 1006502, 2000496 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0001 | [12 empty] | NA | 22 |  | R-410A | 17.73 |  |  | 390 |  | 1680 | 2170 | 765 | NA
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit | MHV000248 | MHVI00013 | A.C. Out Door Unit - Daikin, RXYQ10PRY6 |  | Ivory White | Nos | 84158310 | 2001432 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0001 | [12 empty] | NA | 10 |  | R-410A | 8 |  |  | 195 |  | 1680 | 930 | 765 | NA
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit | MHV000242 | MHVI00013 | A.C. Out Door Unit - Daikin, RXYQ16PRY6 |  | Ivory White | Nos | 84158310 | 1005378 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0001 | [12 empty] | NA | 16 |  | R-410A | 3.4 | [7 empty] | NA
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit | Wall Mounted |  | VRF - Indoor Unit | MHV000217 | MHVI00009 | AC Indoor Unit - Daikin FXMQ80PVE |  |  | Nos | 84158310 | 1006499 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [12 empty] | 25 |  |  | NA | 2.65 |  |  | 36 | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 25m3/min | 1000 | 300 | 700 | NA
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit | Wall Mounted |  | VRF - Indoor Unit | MHV000218 | MHVI00009 | AC Indoor Unit - Daikin FXMQ100PVE |  |  | Nos | 84158310 | 1005356, 2000493 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [12 empty] | 32 |  |  | NA | 3.31 |  |  | 36 | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 32m3/min | 1000 | 300 | 700 | NA
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit | Wall Mounted |  | VRF - Indoor Unit | MHV000219 | MHVI00009 | AC Indoor Unit Daikin FXDQ63NBVE 2.08TR |  |  | Nos | 84158310 | 1005357, 2000494 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [12 empty] | 16.5 |  |  | NA | 2.08 |  |  | 36 | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 16.5m3/min | 1000 | 300 | 700 | NA
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit | Wall Mounted |  | VRF - Indoor Unit | MHV000220 | MHVI00009 | AC Indoor Unit -Daikin FXDQ50NBVE 1.65TR |  |  | Nos | 84158310 | 1005358, 2000495 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [12 empty] | 12.5 |  |  | NA | 1.65 |  |  | 36 | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 12.5m3/min | 1000 | 300 | 700 | NA
Secondary | HVAC | Air Conditioning | Accessories | Refnet Joint |  |  | Refnet Joint | MHV000221 | MHVI00002 | AC Refnet Joints - KHRP26A22T |  |  | Nos | 84159000 | 1005362 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No | [14 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Refnet Joint |  |  | Refnet Joint | MHV000222 | MHVI00002 | AC Refnet Joints - KHRP26A33T |  |  | Nos | 84159000 | 1005363 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No | [14 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Refnet Joint |  |  | Refnet Joint | MHV000223 | MHVI00002 | AC Refnet Joints - KHRP26A72T |  |  | Nos | 84159000 | 1005364 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No | [14 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Remote Controller | Wireless |  | Remote Controller | MHV000224 | MHVI00010 | Remote Controller - Cordless , Daikin |  |  | Nos | 84159000 | 1005360 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [12 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe | MHV000232 | MHVI00012 | 34.9mm OD CU Pipe (Insult-13mm thk) |  |  | m | 84159000 | 2003822 |  | No |  | Yes | No | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  | 2570, 20178, 2634 | 3 | 7 |  | No | [14 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | 34.9
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe | MHV000233 | MHVI00012 | 19.1mm OD CU Pipe (Insult-13mm thk) |  |  | m | 84159000 | 2003823 |  | No |  | Yes | No | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  | 2570, 20178, 2634 | 3 | 7 |  | No | [14 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | 19.1
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe | MHV000234 | MHVI00012 | 15.9mm OD CU Pipe (Insult-13mm thk) |  |  | m | 84159000 | 2003825 |  | No |  | Yes | No | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  | 2570, 20178, 2634 | 3 | 7 |  | No | [14 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | 15.9
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe | MHV000235 | MHVI00012 | 12.7mm OD CU Pipe (Insult-13mm thk) |  |  | m | 84159000 | 2003826 |  | No |  | Yes | No | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  | 2570, 20178, 2634 | 3 | 7 |  | No | [14 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | 12.7
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe | MHV000236 | MHVI00012 | 9.5mm OD CU Pipe (Insult-13mm thk) |  |  | m | 84159000 | 2003827 |  | No |  | Yes | No | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  | 2570, 20178, 2634 | 3 | 7 |  | No | [14 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | 9.5
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe | MHV000237 | MHVI00012 | 6.4mm OD CU Pipe (Insult-13mm thk) |  |  | m | 84159000 | 2003828 |  | No |  | Yes | No | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  | 2570, 20178, 2634 | 3 | 7 |  | No | [14 empty] | NA |  | NA | NA | NA |  | NA |  |  | NA | NA | NA | 6.4
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan | MHV000238 | MHVI00018 | 2500cfm-40mm wg exhaust fan-3kw motor |  |  | Nos | 84159000 | 2003833 |  | No |  | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0003 | [12 empty] | 71 |  | 3000 | NA | NA |  | NA |  |  | static to be mentiond | NA | NA | NA
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan | MHV000239 | MHVI00018 | 800cfm-50mm wg exhaust fan-1.5kw motor |  |  | Nos | 84159000 | 2003834 |  | No |  | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0003 | [12 empty] | 23 |  | 1500 | NA | NA |  | NA |  |  | static to be mentiond | NA | NA | NA
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan | MHV000240 | MHVI00018 | 3000cfm-40mmwg exhaust fan-3kw motor |  |  | Nos | 84159000 | 2003835 |  | No |  | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0003 | [12 empty] | 85 |  | 3000 | NA | NA |  | NA |  |  | static to be mentiond | NA | NA | NA
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan | MHV000241 | MHVI00018 | 500cfm-20mmwg exhaust fan-0.5kw motor |  |  | Nos | 84159000 | 2003836 |  | No |  | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0003 | [12 empty] | 14 |  | 500 | NA | NA |  | NA |  |  | static to be mentiond | NA | NA | NA
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit | Wall Mounted |  | VRF - Indoor Unit | MHV000243 |  | AC Indoor Unit Daikin FXLQ63MAVE 2.05TR |  |  | Nos | 84158310 | 1006535 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [16 empty] | 2.08 |  |  | 36 | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 16m3/min | 1000 | 300 | 700 | NA
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit | MHV000244 |  | DAIKIN-VRV/HIBRID AIR-CONDT-RXYQ16PY16 |  |  | Nos | 84158310 | 750121 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0001 | [15 empty] | R-410A | 3.4 | [7 empty] | NA
Secondary | HVAC | Air Conditioning | Split | Wall Mounted |  |  | Split AC | MHV000245 |  | DAIKIN 5 STAR AIRCONDITIONER -FTC50QRV16 |  |  | Nos | 84158310 | 2009804 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [12 empty] | 18.1 |  | 1605 | R-32 | 1.5 |  | 5 Star | [5 empty] | NA
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit | Ducted |  | Ducted AC | MHV000246 | MHVI00003 | Ductable AC- FDMG30NUVI - Daikin |  |  | Nos | 84158310 | 2004474 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [12 empty] | 34 |  |  | R-22 | 2.5 |  |  | 51 | Middle Static Pressure, Auto start after power failure, Switchable fan speed |  |  |  | NA
Secondary | HVAC | Air Conditioning | Split | Wall Mounted |  |  | Split AC | MHV000247 | MHVI00014 | Split A.C Inverter -FTKD 60 - Daikin |  |  | Nos | 84158310 | 2005190 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [12 empty] | 17.5 |  | 2100 | R-22 | 1.77 |  |  |  | DC Invertor Technology, 17.5 m3/min Power Supply - Single Phase, 230V, 50Hz |  |  |  | NA
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit | Wall Mounted |  | VRF - Indoor Unit | MHV000249 |  | AC Indoor Unit -Daikin FXMQ125PVE 4.16TR |  |  | Nos | 84158310 |  |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [16 empty] | 4.16 |  |  | 46 |  | 1400 | 300 | 700 | NA
Secondary | HVAC | Air Conditioning | Split | Wall Mounted |  |  | Split AC | MHV000250 | MHVI00004 | Wall Mounted Split AC- LSA6NR3F- LG |  |  | Nos | 84158310 | 2003620 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [24 empty] | NA
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit | Ducted |  | Ducted AC | MHV000251 | MHVI00005 | Ductable AC- LBNG0307QC - LG |  |  | Nos | 84158310 | 2004475 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [14 empty] | 3700 | R-22 | 3 | [7 empty] | NA
Secondary | HVAC | Air Conditioning | Split | Wall Mounted |  |  | Split AC | MHV000252 | MHVI00005 | Wall Mounted Split AC-LSA5NR3F-LG |  |  | Nos | 84158310 | 2003604 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [15 empty] | R-22 | 1.5 |  | 3 Star | [5 empty] | NA
Secondary | HVAC | Air Conditioning | Accessories | Remote Controller | Wireless |  | Remote Controller | MHV000253 | MHVI00017 | Remote Controller BRC7C613W |  |  | Nos | 84159000 | 2001432 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No | [14 empty] | NA |  |  | NA | [5 empty] | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit | MHV000254 | MHVI00015 | TOSHIBA, ODU, MCY MAP0804HT8 |  |  | Nos | 84158310 | 2002066 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0001 | [12 empty] | 165 |  |  | R-410A | 6.4 |  |  |  | 3-phase 4 wires 50Hz 380V-415V |  |  |  | NA
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit | Wall Mounted |  | VRF - Indoor Unit | MHV000255 | MHVI00016 | TOSHIBA, IDU, MMD-AP0304BH-E |  |  | Nos | 84158310 | 2002067 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0002 | [12 empty] | 21 |  | 71 | R410A | 2.6 |  |  | 39 |  |  |  |  | NA
Secondary | HVAC | Air Conditioning | Accessories | Remote Controller | Wireless |  | Remote Controller | MHV000256 | MHVI00017 | Remote Controller, Toshiba : TCBAX21E2 |  |  | Nos | 84159000 | 2002072 |  | No |  | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No | [14 empty] | NA |  |  | NA | NA |  |  |  |  | NA | NA | NA | NA
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan | MHV000257 | MHVI00018 | Fan Make cata |  |  | Nos | 84159000 | 1007454 |  | No |  | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable |  |  | 3 | 7 |  | No |  | MHVS0003 | [15 empty] | NA | NA |  |  |  |  | static to be mentiond |  |  | NA

## Brand
Brand Code | Manufacturer's Name | Brand/Series | Manufacturer's Code | Manufacturer's Specification | Material Safety Data Sheet | Technical Drawing | 3D model | Country of Manufacture | Warranty Period in Years | Status | Approved Vendors | Shelf Life in Days | Packing List | Associated Materials
BHV005560 | Daikin | VRV III | RXYQ18PRY6 |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000215
BHV005561 | Daikin | VRV III | RXYQ22PRY6 |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000216
BHV005562 | Daikin | VRV III | FXMQ80PVE |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000217
BHV005563 | Daikin | VRV III | FXMQ100PVE |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000218
BHV005564 | Daikin | VRV III | FXDQ63NBVE |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000219
BHV005565 | Daikin | VRV III | FXDQ50NBVE |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000220
BHV005566 | Daikin | Daikin | KHRP26A22T |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000221
BHV005567 | Daikin | Daikin | KHRP26A33T |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000222
BHV005568 | Daikin | Daikin | KHRP26A72T |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000223
BHV005569 | Daikin | VRV III | RXYQ16PRY6 |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000242
BHV005570 | Daikin | VRV III | FXLQ63MAVE |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000243
BHV005571 | Daikin | VRV III | RXYQ16PRY16 |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000244
BHV005572 | Daikin | FTC | FTC50 RC50 | MHVM00002-FTC50 |  |  |  | India |  | Approved | 1213 |  |  | MHV000245
BHV005573 | Daikin | FTKD | FTKD60VSM, RKD60BVM | MHVM00003-FTKD60 |  |  |  | India |  | Approved | 1213 |  |  | MHV000247
BHV005574 | Daikin | VRV III | RXYQ10PRY6 |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000248
BHV005575 | Daikin | VRV III | FXMQ125PVE |  |  |  |  | India |  | Approved | 1213 |  |  | MHV000249
BHV005576 | Daikin | FDMG | FDMG30NUVI |  |  |  |  | India |  | Approved |  |  |  | MHV000246
BHV005577 | Toshiba | SMME | MCY-MAP0804HT8 |  |  |  |  | India |  | Approved |  |  |  | MHV000254
BHV005578 | Toshiba | SMME | MMD-AP0304BH-E | MHVM00004-MMD-AP0304BH-E |  |  |  | India |  | Approved |  |  |  | MHV000255
BHV005579 | Toshiba | Toshiba | TCBAX21E2 |  |  |  |  | India |  | Approved |  |  |  | MHV000256
BHV005580 | LG | LG | LSA6NR3F |  |  |  |  | India |  | Approved |  |  |  | MHV000250
BHV005581 | LG | LG | LSA5NR3F |  |  |  |  | India |  | Approved |  |  |  | MHV000252
BHV005582 | LG | LG | LBNG0307QC | MHVM00001-LBNG0307QC | [5 empty] | Approved |  |  |  | MHV000251
BHV005583 | Daikin | Daikin | BRC7C613W | [6 empty] | Approved | 1213, 3318 |  |  | MHV000224

## Rate Master
Material ID | Type of Purchase (Import/Domestic Inter-state/ Domestic Intra-state) | Currency Type | Control Base Rate (per UoM) | Location ID will be City wise | Coefficients | [7 empty] | Landed Rate (in Base Currency) (per UoM)
[5 empty] | Insurance considered by customs (per UoM) | Custom duties (per UoM) | Clearing charges by customs (per UoM) | Freight (per UoM) | Currency Fluctuation - This will be linked from the Exchange rate table | Tax Variance | Location Variance | Market Fluctuation
[10 empty] | % | % | %