## Material
Classification | [6 empty] | General | [16 empty] | Purchase | [9 empty] | Planning |  |  |  | Quality |  |  |  | Maintenance |  |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit of Measure | HSN Code | SAP Code | WBS Code | Part of eDesign | eDesign Description | Generic | Manufactured | Can be Used as an Asset | Material Status | Available Till | Qty. Evaluation Method | General PO Terms | Special PO Terms | Last Purchase Rate | Wt. Avg. Purchase Rate | Pur. Rate Threshold | GST - Procurement | GST - Sales | Associated Brands | Approved Vendors | PO Lead Time | Delivery Lead Time | Min. Order Qty. | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Expected Life | Depreciation Terms | Maintenance Frequency | Maintenance Checklist | Critical Spares | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Length | Width (mm) | Height | Depth | Thickness (mm) | Connectivity | Number of Zones | No. of Channels | Screen Size | Additional Features | Weight/UoM
[29 empty] | % |  |  |  |  | Days | Days | [6 empty] | Months | % | [8 empty] | mm |  | mm | mm |  |  |  |  | in |  | kg
Secondary | Home Automation | Comfort & Convenience | Pump Module |  |  |  | Pump Module | MHA000176 |  | Pump Module | NA |  | Nos |  | 2000389 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | Comfort & Convenience | Curtain Motor |  |  |  | Curtain Motor | MHA000177 | MHAI0001-GLYDEA_35 | Motor for Curtain Control - Somfy Glydea | NA |  | Nos | 85014010 | 2000165 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | Average linear speed - 20 cm/s
Secondary | Home Automation | Controller | Expander Module |  |  |  | Expander Module | MHA000178 | MHAI0002-PC5108 | 8 hardwire zone expander module DSC - PC 5108 | NA |  | Nos |  | 2004999, 1006931 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [20 empty] | 8 hardwired zones |  |  | Adds 8 hardwire zones
Secondary | Home Automation | Controller | Master Controller |  |  |  | Master Controller | MHA000179 |  | Main Control Unit | NA |  | Nos |  | 2001432 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | Controller | Master Controller |  |  |  | Master Controller | MHA000180 |  | Master Controller | NA |  | Nos |  | 2000388 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer | MHA000181 | MHAI0012-FG606-01 | Dimmer lighting solutions 6 Channel -AMX | NA |  | Nos | 85437049 | 1006297 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [21 empty] | 6 |  | 1. To deliver digital dimming control to Radial Modules from six control ports, as well as onboard system processing, networking, and non-volatile preset memory. 2. To drives all channels using the same power phase. 3. To store 128 onboard presets, each should use unique fade time 4. Ramps using programmable fade time, from 0 to 255 seconds. 5. To provide up to 16 different dimming curves for precision control 6. To creates system-wide and zoned presets.
Secondary | Home Automation | Entrance Management | Lock | Digital |  |  | Biometric Mortise | MHA000182 | MHAI0003-YDM4109 | Biometric Digital Lock , Yale 4109 | NA |  | Nos | 83013000 | 2004996, 1006464 |  | No | NA | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | One touch Fingerprint Verification Method (Progressive Scan) Automatic Locking Voice Guide Feature Smart Touchpad Scramble code Easy registration of keys Missing key invalidation Emergency Mechanical Key Anti-panic egress with Safe handle Automatic Alarm (Break-in/Damage) Low-battery alarm and emergency power supply terminal
Secondary | Home Automation | Entrance Management | Door Camera |  |  |  | Door Camera | MHA000183 | MHAI0037-amroadp3_black | IP Video Door Camera | NA | Black | Nos | 85258090 | 2004995 |  | No | NA | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | Entrance Management | Door Camera |  |  |  | Door Camera | MHA000184 | MHAI0036-MET-ECOM-D-SS | Door Camera- Metreau Entry Communicator | NA | Black | Nos | 85258090 | 1006293 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [15 empty] | 91 | 136 | 40 |  |  |  |  | 1.6 | 1. 2-way VoIP audio to an intercom-enabled Modero Touch Panel 2. OLED display for personalized messaging 3. 1-way video conferencing with any Touch Panel 4. Includes I/Os and Relays that enable guest entry from a Modero Touch Panel 5. Dual-color LED button provides feedback and doorbell notification 6. Small form factor and shallow depth make for easy installation 7. VoIP integration allows an unlimited number of entry communicators to be accommodated per system 8. Camera angle can be easily positioned during installation to allow viewing of guests at door or gate 9. Power over Ethernet | 0.4
Secondary | Home Automation | Entrance Management | Door Camera |  |  |  | Door Camera | MHA000185 | MHAI0004-SHT-CN510 | Door Camera Samsung - SHT-CN510 | NA |  | Nos | 85258090 | 2000392 |  | No | NA | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer | MHA000186 |  | Light Control Module Dimmer-LED | NA |  | Nos | 85437049 | 2001432 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer | MHA000187 |  | 4 channel Incandescent dimmer-DM4120 | NA |  | Nos | 85437049 | 2005006 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [21 empty] | 4 |  | 4 Channel
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer | MHA000188 |  | 4 channel LED/CFL Dimmer - DM4412 | NA |  | Nos | 85437049 | 2005007 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [21 empty] | 4
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer | MHA000189 | MHAI0010-DDLE802 | 8 Channel Dimmer - Philips | NA |  | Nos | 85437049 | 2000413 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [21 empty] | 8
Secondary | Home Automation | Networking | Terminal Adaptor |  |  |  | Terminal Adapter Module | MHA000190 |  | Terminal Adaptor Module | NA |  | Nos |  | 2005031 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | Networking | Rack |  |  |  | Network Rack | MHA000191 | MHAI0034-wm_racks | Network Rack - 15U, Floor Mounted | NA | Grey | Nos |  | 2005008, 1002363 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | Basic Frame : Steel Frame of 600mm H x 600mm W and Glass door. Powder coated with U Marking. Rack consists of : 1) Horizontal Cable Organisers 2) Power distribution units 3) Cantiliver Shelf 4) 2 nos. of Fan tray with Fans 5) Mounting hardwares. 6) Glass door 7) Castor wheels - 2nos with brake & 2 nos without brake
Secondary | Home Automation | Networking | Network Switch |  |  |  | Network Switch | MHA000192 | MHAI0035-SG300-20 | 20 P Gigabit Switch W/Power Supply-Cisco | NA |  | Nos | 85176290 | 2005032, 1007899 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | With Power Supply Managed 18 x 10/100/1000 + 2 x combo Gigabit SFP
Secondary | Home Automation | Power Supply | Charging Station |  |  |  | Charging station | MHA000193 | MHAI0033-MVP-WCS-52 | Wall Charging Station for touch panel | NA | Black | Nos |  | 1006292 |  | No | NA | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [15 empty] | 162 | 225 | 56 | [5 empty] | Front Panel Components 1. Securing Magnets: To Secure MVP touch panel during ejection 2. Security Latch: To Add the primary layer of security when mounting an MVP touch panel. When the device is inserted, this latch should grab onto the rear of the touch panel and secure it to prevent it from inadvertently being removed. 3. Interface Connector Pins: A set of retractable pins (male) that connect to the underside MVP connector strip. This connection to provide both communication and power between the touch panel and the MVP-WCS-52 4. Support Cradle: This retractable mechanism to support a resting MVP panel and allows a user to either insert or remove a connected MVP panel. 5. Security Release pushbutton: Located on the front of the unit, this pushbutton to toggle an on-screen security keypad if security is enabled.(On entering the correct release code the MVP-WCS-52 to release the touch panel from the security latch)
Secondary | Home Automation | Safety and Security | Speech Dialler |  |  |  | Autodialler | MHA000194 | MHAI0013-SD 2000 | Auto Dialler with Relay, Make : Securico | NA |  | Nos |  | 2005002, 1007139 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | 13 key onboard backlit keypad 3 Messages - intrusion, fire, special help Message duration - 20 sec 45 telephone numbers
Secondary | Home Automation | Networking | Serial Interface |  |  |  | Serial Interface | MHA000195 | MHAI0005-ADAM-4561 | USB RS-485 Interface (USB to RS 485 convertor) | NA |  | Nos |  | 2000390 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | Meets full compliance with USB V1.1 Specifications. RS-232/422/485 port supported. Transmission speed up to 115.2kbps. Isolation protection 3,000 Vdc. Plug & Play installation, no external power needed. Hot Swap function supported
Secondary | Home Automation | Safety and Security | Sensor | Magnetic Contact |  |  | Magnetic Contact | MHA000196 | MHAI0006-SEC MS4 | Magnetic Contact - Securico | NA |  | Nos |  | 2000398, 1007048 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [19 empty] | Wired |  |  |  | 4 wire Tamper loop Opening gap 15 mm
Secondary | Home Automation | Safety and Security | Sensor | Motion |  |  | Pet Immune Motion Sensor | MHA000197 | MHAI0007-BV-600_BV-601_BV-602 | Pet Immune PIR Motion Sensors | NA |  | Nos |  | 2005003 1005309 2007316 2000401 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [19 empty] | Wired |  |  |  | Passive Infrared Based Pet Immune
Secondary | Home Automation | Safety and Security | Sensor | Heat |  |  | Heat Detector | MHA000198 | MHAI0008-5351E | Heat Detector System Sensor | NA |  | Nos |  | 2000406, 2003146 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | Rate of rise and fixed temperature thermal detector
Secondary | Home Automation | Safety and Security | Sensor | Motion |  |  | Standalone Ceiling Mounted Motion Sensor | MHA000199 |  | Occupation Sensor-Securico | NA |  | Nos |  | 2000412 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | Can independently switch electrical load of up to 400W Can switch heavier electrical load by connecting additional relay /s. Dual Element Pyro Electric sensor Detection angle 360° Detection range 6m at 3m height at 25°C Sealed optics Sensitivity control Lux (Light) level control for operation Device on Time control from 10 seconds to 35 minutes
Secondary | Home Automation | Safety and Security | Sensor | Gas |  |  | Gas Leakage Detector | MHA000200 | MHAI0032-true-Safe TS12R | Gas Leakage Detector-TS12R-True Safe | NA |  | Nos |  | 2003147 2000404 1007051 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | With Relay With Heat Detector
Secondary | Home Automation | Safety and Security | Panic Switch |  |  |  | Panic Switch | MHA000201 | MHAI0031-Panic Switch - Securico | Panic Button | NA |  | Nos |  | 2000403, 1007049 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | Automatic Reset Tamper Switch
Secondary | Home Automation | User Interface | Keypad |  |  |  | Keypad | MHA000202 | MHAI0030-MET-13-BL - AMX | Keypad - Metreau 13 button, Make: AMX | NA | Black | Nos |  | 1006296 |  | No | NA | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | 1. AxLink connectivity to NetLinx master. 2. Standard buttons include 1-9, 0, ENTER, SAVE, and +/- 3. Blue LEDs glow to indicate button selection. 4. To match the NI-3101-SIG Controller. 5. Bottom button to act as a single button or as two buttons.
Secondary | Home Automation | Controller | Intrusion Control Panel |  |  |  | Intrusion Control Panel | MHA000203 | MHAI0016-PC1864 | Intrusion Control Panel with transformer | NA |  | Nos |  | 2004998 |  | No | NA | No | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [20 empty] | 8 on-board zones, Expandable to 64 hardwired zones, Expandable to 64 wireless zones |  |  | 4 PGM outputs: expandable to 14 (PC5204, PC5208) Template programming Connect up to 8 supervised keypads 8 partitions 500-event buffer 95 user codes CP-01 compliant Supports wire free keypads with TR5164-433 transceiver Compatible with leading edge interactive services supported by DSC
Secondary | Home Automation | Networking | Integration Module |  |  |  | Serial Integration Module | MHA000204 | MHAI0017-IT-100 | Power series Bi-directional-RS232 | NA |  | Nos |  | 2005005, 1007140 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | Bi-directional RS-232 interface 4-wire hook-up to KEYBUS
Secondary | Home Automation | Safety and Security | Alarm |  |  |  | Surface Mounted Siren | MHA000205 | MHAI0011-DSC - SD15W | Hooter, Make : DSC | NA |  | Nos |  | 2005001, 1007053 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | Dual Tone - Yelp & Steady Surface Mounted Power - 15W
Secondary | Home Automation | Safety and Security | Sensor | Glass Break |  |  | Glass Break Detector | MHA000206 |  | Glass Brk Detector | NA |  | Nos |  | 2005004 1006932 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | Safety and Security | Base |  |  |  | Heat Detector Base | MHA000207 | MHAI0009-B401 | Heat Detector Base | NA |  | Nos |  | 2000406 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | intended for use in 2-wire systems
Secondary | Home Automation | Safety and Security | Alarm |  |  |  | Siren | MHA000208 |  | Siren Securico | NA |  | Nos |  | 2000399 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [23 empty] | >90db at 100m
Secondary | Home Automation | User Interface | Touch Panel |  |  |  | Touch Panel | MHA000209 | MHAI0015-TN-SW20 | Scene Control Touch Panel | NA |  | Nos |  | 2001432 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | User Interface | Subphone |  |  |  | Bedroom Subphone | MHA000210 | MHAI0029-GK-VIA-E002 | 7 " Wallmounted Android Subphone | NA |  | Nos |  | 2004994 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [22 empty] | 7 | OS - Android Interface - Power over Ethernet (POE)
Secondary | Home Automation | User Interface | Subphone |  |  |  | Kitchen Subphone | MHA000211 | MHAI0014-SHS-7104 | Subphone | NA |  | Nos |  | 2000397 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No
Secondary | Home Automation | User Interface | Touch Panel |  |  |  | Touch Panel | MHA000212 | MHAI0019-FG5966-01 | Touch Panel Wireless 5.2" , Make- AMX | NA | Gloss Black | Nos |  | 1006291 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No | [22 empty] | 5.2 | Ultra-light, compact and thin form factor Navigation wheel to provide simple (up/down) or sophisticated control (up/down, right/left, select) Full Duplex VoIP Intercom and SIP Telephone Ready. 802.11g WiFi for two-way network communications. Wireless communications to remain secure using WEP, WPA, WPA2, EAP-TLS, EAP-TTLS and PEAP network security standards Enhanced usability with microphone and speakers to be possible. Versatile placement options including integrated kickstand, table charging station and wall charging station. | 0.6
Secondary | Home Automation | User Interface | Subphone |  |  |  | Bathroom Subphone | MHA000213 | MHAI0018-SHT-BEN120E | Bathphone | NA |  | Nos |  | 2000396 |  | No | NA | Yes | Yes, Branded | No | Approved |  |  | MGPO01 |  |  |  |  | Applicable | Applicable | [5 empty] | No

## Brand
Brand Code | Manufacturer's Name | Brand/Series | Manufacturer's Code | Manufacturer's Specification | Material Safety Data Sheet | Technical Drawing | 3D model | Country of Manufacture | Warranty Period in Years | Status | Approved Vendors | Shelf Life in Days | Packing List | Associated Materials
BHA005760 | SILVAN | SHINE RMB | [7 empty] | Approved |  |  |  | MHA000176
BHA005761 | Somfy | Glydea | GLYDEA 35 | [6 empty] | Approved |  |  |  | MHA000177
BHA005762 | DSC | PowerSeries | PC5108 | [6 empty] | Approved |  |  |  | MHA000178
BHA005763 | Silvan |  | XA 2030 | [6 empty] | Approved |  |  |  | MHA000179
BHA005764 | Silvan |  | Shine At zi | [6 empty] | Approved |  |  |  | MHA000180
BHA005765 | AMX | AMX | FG606-01 | [6 empty] | Approved |  |  |  | MHA000181
BHA005766 | Yale | Yale | YDM4109 | [6 empty] | Approved |  |  |  | MHA000182
BHA005767 | Amroad | Amroad P3 | DB3100R-FM-BA | [6 empty] | Approved |  |  |  | MHA000183
BHA005768 | AMX | AMX | FG2180-05-BK | MHAM00008-MET-ECOM-D | [5 empty] | Approved |  |  | 1. Front mount flange 2. 4 installation screws (#4-40 x 3.12) 3. 2 Phoenix connectors (female, 3.5mm) and a Ferrite clip | MHA000184
BHA005769 | Samsung |  | SHT-CN510 | [6 empty] | Approved |  |  |  | MHA000185
BHA005770 | Silvan | Silvan | DM 4400 | [6 empty] | Approved |  |  |  | MHA000186
BHA005771 | Silvan | Silvan | Dm 4120 | [6 empty] | Approved |  |  |  | MHA000187
BHA005772 | Silvan | Silvan | DM 4412 | [6 empty] | Approved |  |  |  | MHA000188
BHA005773 | Philips | Philips | DDLE802 | MHAM00005-DDLE802 | [5 empty] | Approved |  |  |  | MHA000189
BHA005774 | Silvan | Silvan | TAM1 | [6 empty] | Approved |  |  |  | MHA000190
BHA005775 | Netrack | WM Series | [7 empty] | Approved |  |  |  | MHA000191
BHA005776 | Cisco | SG 300 -20 | SRW2016-K9-NA | [6 empty] | Approved |  |  |  | MHA000192
BHA005777 | AMX | AMX | MVP-WCS-52 | [6 empty] | Approved |  |  | 1. Wallmount Plastic Conduit Box (EMA5966-13) 2. MVP-WCS-52 Installation Kit - Black (KA5966-01bl) 3. MVP-WCS-52 Installation Kit - White (KA 5966-01wh) | MHA000193
BHA005778 | Securico | Falcon | SD 2000 | [6 empty] | Approved |  |  |  | MHA000194
BHA005779 | ADVANTECH |  | ADAM-4561-BE | MHAM00002-ADAM-4561 | [5 empty] | Approved |  |  |  | MHA000195
BHA005780 | Securico | Securico | SEC-MS4 | [6 empty] | Approved |  |  |  | MHA000196
BHA005781 | Securico | Securico | SEC WLPIRH | [6 empty] | Approved |  |  |  | MHA000197
BHA005782 | Digital Security Controls | Bravo 6 | BV 600 | MHAM00004-BV-600 | [5 empty] | Approved |  |  |  | MHA000197
BHA005783 | Digital Security Controls | Bravo 6 | BV 601 | [6 empty] | Approved |  |  |  | MHA000197
BHA005784 | System Security | Series 300 | 5351E | MHAM00001-5351E | [5 empty] | Approved |  |  |  | MHA000198
BHA005785 | Securico | Securico | SEC-SAC | [6 empty] | Approved |  |  |  | MHA000199
BHA005786 | Techno Management | TrueSafe | TS12R | [6 empty] | Approved |  |  |  | MHA000200
BHA005787 | Securico | Securico | SEC-PS | [6 empty] | Approved |  |  |  | MHA000201
BHA005788 | AMX | AMX | FG5794-02-BL | MHAM00009-Metreau.Keypads | [5 empty] | Approved |  |  |  | MHA000202
BHA005789 | DSC | PowerSeries | PC 1864 | [6 empty] | Approved |  |  |  | MHA000203
BHA005790 | DSC | PowerSeries | IT-100 | MHAM00006-DSC-IT-100 | [5 empty] | Approved |  |  |  | MHA000204
BHA005791 | DSC | DSC | SD15W | [6 empty] | Approved |  |  |  | MHA000205
BHA005792 | Securico | Securico | SEC WLMFDH | MHAM00007-SEC WLMFDH | [5 empty] | Approved |  |  |  | MHA000206
BHA005793 | Truesafe | Truesafe | TS12HLRV | [6 empty] | Approved |  |  |  | MHA000206
BHA005794 | System Security |  | B401 | MHAM00003-B401 | [5 empty] | Approved |  |  |  | MHA000207
BHA005795 | Securico | Securico | SEISECSDR | [6 empty] | Approved |  |  |  | MHA000208
BHA005796 | savekey uk | Savekey | TN SW 20 | [6 empty] | Approved |  |  |  | MHA000209
BHA005797 | Geekland | Geekland | GK-VIA-E002 | [6 empty] | Approved |  |  |  | MHA000210
BHA005798 | Samsung | Samsung | SHT-7104em | [6 empty] | Approved |  |  |  | MHA000211
BHA005799 | AMX | Modero View Point | FG5966-01 | MHAM00010-Modero.MVP-5200i | [5 empty] | Approved |  |  |  | MHA000212
BHA005800 | Samsung |  | SHT-BEN120E | [6 empty] | Approved |  |  |  | MHA000213

## Rate Master
Material ID | Type of Purchase (Import/Domestic Inter-state/ Domestic Intra-state) | Currency Type | Control Base Rate (per UoM) | Location ID will be City wise | Coefficients | [7 empty] | Landed Rate (in Base Currency) (per UoM)
[5 empty] | Insurance considered by customs (per UoM) | Custom duties (per UoM) | Clearing charges by customs (per UoM) | Freight (per UoM) | Currency Fluctuation - This will be linked from the Exchange rate table | Tax Variance | Location Variance | Market Fluctuation
[10 empty] | % | % | %
MHA000176 | Domestic Intra-state | INR |  | Bangalore
MHA000176 | Domestic Intra-state | INR |  | Hyderabad
MHA000176 | Domestic Intra-state | INR |  | Pune
MHA000177 | Domestic Intra-state | INR |  | Bangalore
MHA000177 | Domestic Intra-state | INR |  | Hyderabad
MHA000177 | Domestic Intra-state | INR |  | Pune
MHA000178 | Domestic Intra-state | INR |  | Bangalore
MHA000178 | Domestic Intra-state | INR |  | Hyderabad
MHA000178 | Domestic Intra-state | INR |  | Pune
MHA000179 | Domestic Intra-state | INR |  | Bangalore
MHA000179 | Domestic Intra-state | INR |  | Hyderabad
MHA000179 | Domestic Intra-state | INR |  | Pune
MHA000180 | Domestic Intra-state | INR |  | Bangalore
MHA000180 | Domestic Intra-state | INR |  | Hyderabad
MHA000180 | Domestic Intra-state | INR |  | Pune
MHA000181 | Domestic Intra-state | INR |  | Bangalore
MHA000181 | Domestic Intra-state | INR |  | Hyderabad
MHA000181 | Domestic Intra-state | INR |  | Pune
MHA000182 | Domestic Intra-state | INR |  | Bangalore
MHA000182 | Domestic Intra-state | INR |  | Hyderabad
MHA000182 | Domestic Intra-state | INR |  | Pune
MHA000183 | Domestic Intra-state | INR |  | Bangalore
MHA000183 | Domestic Intra-state | INR |  | Hyderabad
MHA000183 | Domestic Intra-state | INR |  | Pune
MHA000184 | Domestic Intra-state | INR |  | Bangalore
MHA000184 | Domestic Intra-state | INR |  | Hyderabad
MHA000184 | Domestic Intra-state | INR |  | Pune
MHA000185 | Domestic Intra-state | INR |  | Bangalore
MHA000185 | Domestic Intra-state | INR |  | Hyderabad
MHA000185 | Domestic Intra-state | INR |  | Pune
MHA000186 | Domestic Intra-state | INR |  | Bangalore
MHA000186 | Domestic Intra-state | INR |  | Hyderabad
MHA000186 | Domestic Intra-state | INR |  | Pune
MHA000187 | Domestic Intra-state | INR |  | Bangalore
MHA000187 | Domestic Intra-state | INR |  | Hyderabad
MHA000187 | Domestic Intra-state | INR |  | Pune
MHA000188 | Domestic Intra-state | INR |  | Bangalore
MHA000188 | Domestic Intra-state | INR |  | Hyderabad
MHA000188 | Domestic Intra-state | INR |  | Pune
MHA000189 | Domestic Intra-state | INR |  | Bangalore
MHA000189 | Domestic Intra-state | INR |  | Hyderabad
MHA000189 | Domestic Intra-state | INR |  | Pune
MHA000190 | Domestic Intra-state | INR |  | Bangalore
MHA000190 | Domestic Intra-state | INR |  | Hyderabad
MHA000190 | Domestic Intra-state | INR |  | Pune
MHA000191 | Domestic Intra-state | INR |  | Bangalore
MHA000191 | Domestic Intra-state | INR |  | Hyderabad
MHA000191 | Domestic Intra-state | INR |  | Pune
MHA000192 | Domestic Intra-state | INR |  | Bangalore
MHA000192 | Domestic Intra-state | INR |  | Hyderabad
MHA000192 | Domestic Intra-state | INR |  | Pune
MHA000193 | Domestic Intra-state | INR |  | Bangalore
MHA000193 | Domestic Intra-state | INR |  | Hyderabad
MHA000193 | Domestic Intra-state | INR |  | Pune
MHA000194 | Domestic Intra-state | INR |  | Bangalore
MHA000194 | Domestic Intra-state | INR |  | Hyderabad
MHA000194 | Domestic Intra-state | INR |  | Pune
MHA000195 | Domestic Intra-state | INR |  | Bangalore
MHA000195 | Domestic Intra-state | INR |  | Hyderabad
MHA000195 | Domestic Intra-state | INR |  | Pune
MHA000196 | Domestic Intra-state | INR |  | Bangalore
MHA000196 | Domestic Intra-state | INR |  | Hyderabad
MHA000196 | Domestic Intra-state | INR |  | Pune
MHA000197 | Domestic Intra-state | INR |  | Bangalore
MHA000197 | Domestic Intra-state | INR |  | Hyderabad
MHA000197 | Domestic Intra-state | INR |  | Pune
MHA000198 | Domestic Intra-state | INR |  | Bangalore
MHA000198 | Domestic Intra-state | INR |  | Hyderabad
MHA000198 | Domestic Intra-state | INR |  | Pune
MHA000199 | Domestic Intra-state | INR |  | Bangalore
MHA000199 | Domestic Intra-state | INR |  | Hyderabad
MHA000199 | Domestic Intra-state | INR |  | Pune
MHA000200 | Domestic Intra-state | INR |  | Bangalore
MHA000200 | Domestic Intra-state | INR |  | Hyderabad
MHA000200 | Domestic Intra-state | INR |  | Pune
MHA000201 | Domestic Intra-state | INR |  | Bangalore
MHA000201 | Domestic Intra-state | INR |  | Hyderabad
MHA000201 | Domestic Intra-state | INR |  | Pune
MHA000202 | Domestic Intra-state | INR |  | Bangalore
MHA000202 | Domestic Intra-state | INR |  | Hyderabad
MHA000202 | Domestic Intra-state | INR |  | Pune
MHA000203 | Domestic Intra-state | INR |  | Bangalore
MHA000203 | Domestic Intra-state | INR |  | Hyderabad
MHA000203 | Domestic Intra-state | INR |  | Pune
MHA000204 | Domestic Intra-state | INR |  | Bangalore
MHA000204 | Domestic Intra-state | INR |  | Hyderabad
MHA000204 | Domestic Intra-state | INR |  | Pune
MHA000205 | Domestic Intra-state | INR |  | Bangalore
MHA000205 | Domestic Intra-state | INR |  | Hyderabad
MHA000205 | Domestic Intra-state | INR |  | Pune
MHA000206 | Domestic Intra-state | INR |  | Bangalore
MHA000206 | Domestic Intra-state | INR |  | Hyderabad
MHA000206 | Domestic Intra-state | INR |  | Pune
MHA000207 | Domestic Intra-state | INR |  | Bangalore
MHA000207 | Domestic Intra-state | INR |  | Hyderabad
MHA000207 | Domestic Intra-state | INR |  | Pune
MHA000208 | Domestic Intra-state | INR |  | Bangalore
MHA000208 | Domestic Intra-state | INR |  | Hyderabad
MHA000208 | Domestic Intra-state | INR |  | Pune
MHA000209 | Domestic Intra-state | INR |  | Bangalore
MHA000209 | Domestic Intra-state | INR |  | Hyderabad
MHA000209 | Domestic Intra-state | INR |  | Pune
MHA000210 | Domestic Intra-state | INR |  | Bangalore
MHA000210 | Domestic Intra-state | INR |  | Hyderabad
MHA000210 | Domestic Intra-state | INR |  | Pune
MHA000211 | Domestic Intra-state | INR |  | Bangalore
MHA000211 | Domestic Intra-state | INR |  | Hyderabad
MHA000211 | Domestic Intra-state | INR |  | Pune
MHA000212 | Domestic Intra-state | INR |  | Bangalore
MHA000212 | Domestic Intra-state | INR |  | Hyderabad
MHA000212 | Domestic Intra-state | INR |  | Pune
MHA000213 | Domestic Intra-state | INR |  | Bangalore
MHA000213 | Domestic Intra-state | INR |  | Hyderabad
MHA000213 | Domestic Intra-state | INR |  | Pune