## Material
Classification | [6 empty] | General | [15 empty] | Purchase | [9 empty] | Planning |  |  |  | Quality |  |  |  | Maintenance |  |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit of Measure | WBS Code | HSN Code | SAP Code | Part of eDesign | Generic | Manufactured | Can be Used as an Asset | Material Status | Available Till | Qty. Evaluation Method | General PO Terms | Special PO Terms | Last Purchase Rate | Wt. Avg. Purchase Rate | Pur. Rate Threshold | GST - Procurement | GST - Sales | Associated Brands | Approved Vendors | PO Lead Time | Delivery Lead Time | Min. Order Qty. | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Expected Life | Depreciation Terms | Maintenance Frequency | Maintenance Checklist | Critical Spares | Date Created | Created by | Date Last Amended | Last Amended by | Maximum Head | Flow Rate | Motor Capacity | Heating Capacity | Rated Input Voltage (V) | Rated Input Freq. (Hz) | Power Supply Type | Spacing | Operational Radius (m) | Operating Pressure (psi) | Filtering Surface | Capacity (Volume) | Temperature Range (°C) | Size | Motor Speed | Additional Features
[28 empty] | % |  |  |  |  | Days | Days | [6 empty] | Months | % | [7 empty] | m | lpm | Hp | lpd |  |  |  | m |  |  | cm² | l |  |  | rpm
Secondary | Water Supply | Centrifugal Pump | Submersible | Open Well |  |  | Submersible Pump | MWS022742 | MWSI0001 | Submersible Pump |  |  | Set |  | 84137010 | 1003806 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | 24 | 80 | 1 |  | 415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | 2900
Secondary | Water Supply | Sprinkler System | Replaceable Nozzle |  |  |  | Replaceable Pop up Spray Nozzle | MWS022743 | MWSI0002 | Replaceable Pop up Spray Nozzle |  |  | Nos |  | 84248100 | 1007445 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | NA | 9.8 | NA |  | 415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Sprinkler System | Replaceable Nozzle |  |  |  | Replaceable Pop up Spray Nozzle | MWS022744 | MWSI0003 | Replaceable Pop up Spray Nozzle |  |  | Nos |  | 84248100 | 2005467 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | NA | 20 | NA |  | 230 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Sprinkler System | Sprinkler Head |  |  |  | Sprinkler Head | MWS022745 | MWSI0004 | Sprinkler Head |  |  | Nos |  | 84248100 | 1003302 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | NA | 17 | NA |  | 230 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible | Storm Water |  |  | Storm Water Submersible Pump | MWS022746 | MWSI0005 | Storm Water Submersible Pump |  |  | Nos |  | 84137010 | 2002876 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | 15 | 60 | 1.475 |  | 230 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible | Storm Water |  |  | Storm Water Submersible Pump | MWS022747 | MWSI0006 | Storm Water Submersible Pump |  |  | Nos |  | 84137010 | 2006769 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | 15 | 60 | 1 |  | 400 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Sprinkler System | Relief Valve |  |  |  | Air/Vacuum Relief Valve | MWS022748 |  | Air/Vacuum Relief Valve |  |  | Nos |  | 84818090 | 2008913 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | NA | 24.61 | NA |  | 400 | 50 | Three Phase | 193.8 | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Booster |  |  |  | Booster Pump | MWS022749 |  | Booster Pump |  |  | Set |  | 84219900 | 1003811 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | 40 | 120 | 2 |  | 400 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible | Storm Water |  |  | Storm Water Submersible Pump | MWS022750 |  | Storm Water Submersible Pump |  |  | Nos |  | 84137010 | 2003112 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | 6 | 280 | 1 |  | 415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Heat Pump |  |  |  | Heat Pump | MWS022751 | MWSI0008 | Heat Pump |  |  | Nos |  | 84186100 | 2005369 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | NA | NA | 9.79 |  | 415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Heat Pump |  |  |  | Heat Pump | MWS022752 | MWSI0009 | Heat Pump |  |  | Nos |  | 84186100 | 2002060 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | NA | NA | 9.79 |  | 415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Booster |  |  |  | Booster Pump | MWS022753 |  | Booster Pump |  |  | Set |  | 84219900 | 1003805, 105564 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | 33 | 90 | 1.4 |  | 400-450 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | 3480
Secondary | Water Supply | Centrifugal Pump | Booster |  |  |  | Twin Booster Pump | MWS022754 | MWSI0011 | Twin Booster Pump |  |  | Nos |  | 84219900 | 2004190 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | 25 | 166.67 | 1.7 |  | 330-400 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Booster |  |  |  | Twin Booster Pump | MWS022755 | MWSI0012 | Twin Booster Pump |  |  | Nos |  | 84219900 | 2002584, 2003860 | No | Yes | Yes, Branded | No | Approved | [7 empty] | Applicable | Applicable | [7 empty] | MWSS0001 | [11 empty] | 30 | 198 | 2.3 |  | 230 | 50 | Single Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Booster |  |  |  | Booster Pump | MWS022756 |  | Booster Pump |  |  | Nos |  | 84219900 | 2001289 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 25 | 20 | 0.5 |  | 240 | 50 | Single Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Booster |  |  |  | Booster Pump | MWS022757 | MWSI0013 | Booster Pump |  |  | Nos |  | 84219900 | 2001258 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 20 | 41.67 | 0.75 |  | 240 | 50 | Single Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Booster |  |  |  | Twin Booster Pump | MWS022758 |  | Twin Booster Pump |  |  | Set |  | 84219900 | 2000183 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 25 | 120 | 2.41 |  | 240 | 50 | Single Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible |  |  |  | Storm Water Submersible Pump | MWS022759 | MWSI0014 | Storm Water Submersible Pump |  |  | Set |  | 84137010 | 2003861 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 15 | 1000 | 0.67 |  | 380-415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible |  |  |  | Storm Water Submersible Pump | MWS022760 |  | Storm Water Submersible Pump |  |  | Nos |  | 84137010 | 2003022 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 15 | 1200 | 10 |  |  |  |  | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible |  |  |  | Submersible Pump | MWS022761 |  | Submersible Pump |  |  | Set |  | 84137010 | 1002235 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 30 | 75 | 3 |  | 400-440 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | 2900
Secondary | Water Supply | Centrifugal Pump | Submersible | Storm Water |  |  | Storm Water Submersible Pump | MWS022762 | MWSI0009 | Storm Water Submersible Pump |  |  | Nos |  | 84137010 | 2002473 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 15 | 816 | 4.96 |  | 415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible | Storm Water |  |  | Storm Water Submersible Pump | MWS022763 |  | Storm Water Submersible Pump |  |  | Nos |  | 84137010 | 2002877 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 15 | 360 | 3 |  | 415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Circulating |  |  |  | Circulating Pump | MWS022764 | MWSI0015 | Circulating Pump |  |  | Nos |  | 84137010 | 2001259 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | NA | 33.33 | 0.5 |  | NA |  |  | NA | 4.6-10.7 | 25-55 | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Monoblock | End Suction |  |  | Monoblock Pump | MWS022765 | MWSI0016 | Monoblock Pump |  |  | Nos |  | 84133090 | 2000623 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 110 | 1200 | 20 |  |  |  |  | NA |  |  |  |  | NA | NA | NA
Secondary | Water Supply | Water Purifier | Reverse Osmosis System |  |  |  | Reverse Osmosis Water Purifying System | MWS022766 | MWSI0017 | Reverse Osmosis Water Purifying System |  |  | Nos |  | 84212120 | 2000312 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | NA | 0.16667 | NA |  | 230 | 50 | Single Phase | NA | NA | NA | NA | 5 | NA | NA | NA
Secondary | Water Supply | Sprinkler System | Disc Filter |  |  |  | Large Capacity Disc Filter | MWS022767 | MWSI0018 | Large Capacity Disc Filter |  |  | Nos |  | 84248100 | 2007942, 2008900 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | NA | 333.33 | NA |  | 230 | 50 | Single Phase | NA | NA | NA | NA | 5 | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Monoset |  |  |  | Centrifugal Monoset Pump | MWS022768 | MWSI0019 | Centrifugal Monoset Pump |  |  | Nos |  | 84137010 | 2003113 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | NA | 100 | 1.5 |  | NA |  |  | NA | NA | 72.5 | NA | 200 | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible | Monoblock |  |  | Monoblock Pump | MWS022769 | MWSI0020 | Monoblock Pump |  |  | Set |  | 84137010 | 1003807 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 18 | 33.3333 | 0.5 | 100 | NA |  |  | NA | NA | 72.5 | NA | 100 | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible | Monoblock |  |  | Monoblock Pump | MWS022770 | MWSI0021 | Monoblock Pump |  |  | Set |  | 84137010 | 1002509 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 60 | 588 | 15 |  |  |  |  | NA | NA | NA | NA | NA | NA | NA | 2900
Secondary | Water Supply | Centrifugal Pump | Submersible |  |  |  | Borewell Submersible Pumps | MWS022771 | MWSI0020 | Borewell Submersible Pumps |  |  | Set |  | 84137010 | 1005668 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 70 | 100 | 5 | 300 | NA |  |  | NA | NA | 72.5 | NA | 300 | NA | NA | 2900
Secondary | Water Supply | Centrifugal Pump | Submersible |  |  |  | Borewell Submersible Pumps | MWS022772 | MWSI0021 | Borewell Submersible Pumps |  |  | Set |  | 84137010 | 1005669 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0001 | [11 empty] | 183 | 60 | 5 | NA | 220 | 50 | Single Phase | NA | NA | NA | NA | 300 | 35-80 | NA | 2900
Secondary | Water Supply | Centrifugal Pump | Submersible |  |  |  | Borewell Submersible Pumps | MWS022773 | MWSI0009 | Borewell Submersible Pumps |  |  | Set |  | 84137010 | 1006391 | No | Yes | Yes, Branded | No | Approved | [28 empty] | 64 | 100 | 1.5 |  | 400 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | 2900
Secondary | Water Supply | Solar Water Heater |  |  |  |  | Solar Water Heater | MWS022774 | MWSI0022 | Solar Water Heater |  |  | Nos |  | 85162900 | 1006486 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0003 | [11 empty] | NA | 4.1667 | NA |  | 200-440 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Solar Water Heater |  |  |  |  | Solar Water Heater | MWS022775 | MWSI0009 | Solar Water Heater |  |  | Nos |  | 85162900 | 2001435 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0003 | [11 empty] | NA | 12.5 | NA |  | 200-440 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Sprinkler System | PC drippers |  |  |  | Pressure Compensating Full-Circle Bubblers | MWS022776 | MWSI0004 | Pressure Compensating Full-Circle Bubblers |  |  | Nos |  | 84248100 | 2000325 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0003 | [11 empty] | NA | 7.8 | NA | NA | 415 | 50 | Three Phase | 0.9 | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Water Heater | Geyser | Horizontal |  |  | Horizontal Geyser | MWS022777 | MWSI0023 | Horizontal Geyser |  |  | Nos |  | 85161000 | 2001206 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | 80 | NA | NA | NA | 230 | 50 | Single Phase | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Water Heater | Geyser | Vertical |  |  | Vertical Geyser | MWS022778 | MWSI0023 | Vertical Geyser |  |  | Nos |  | 85161000 | 2002160 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | 80 | NA | NA | NA | 415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible |  |  |  | Submersible Storm Water Pump | MWS022779 |  | Submersible Storm Water Pump |  |  | Set |  | 84137010 | 2000182 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | 15 | 240 | 2 | NA | 415 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | 2850
Secondary | Water Supply | Water Purifier | Reverse Osmosis System |  |  |  | Reverse Osmosis Water Purifying System | MWS022780 |  | Reverse Osmosis Water Purifying System |  |  | Nos |  | 84212120 | 1005110 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | NA | 0.16667 | NA | NA | 220 | 50 | Single Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Sprinkler System | Valve Box |  |  |  | Round Valve Box | MWS022781 | MWSI0022 | Round Valve Box |  |  | Nos |  | 84818090 | 2005699 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | NA | NA | NA | NA | 200-440 | 50 | Three Phase | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Water Supply | Sprinkler System | Valve Box |  |  |  | Standard Valve Box | MWS022782 | MWSI0028 | Standard Valve Box |  |  | Nos |  | 84818090 | 2005700 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | NA | NA | NA | NA | NA |  |  | NA | NA | NA | NA | NA | NA | 254mm | NA
Secondary | Water Supply | Sprinkler System | Spray Head |  |  |  | Pop Up Spray Head | MWS022783 | MWSI0028 | Pop Up Spray Head |  |  | Nos |  | 84248100 | 2005694 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | NA | 0.36 | NA | NA | NA |  |  | 7.3 | NA | NA | NA | NA | NA | 457.2mm | NA
Secondary | Water Supply | Sprinkler System | Rain Sensor |  |  |  | Rain Sensor | MWS022784 | MWSI0028 | Rain Sensor |  |  | Nos |  | 90159000 | 2000804 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | NA | NA | NA | NA | NA |  |  | NA | [6 empty] | NA
Secondary | Water Supply | Centrifugal Pump | Submersible |  |  |  | Submersible Pump | MWS022785 | MWSI0028 | Submersible Pump |  |  | Nos |  | 84137010 | 2000661, 2003111 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | 137 | 2500 | 3 | NA | NA |  |  | NA | [6 empty] | NA
Secondary | Water Supply | Sprinkler System | Swing Assembly |  |  |  | Swing Assembly | MWS022786 | MWSI0030 | Swing Assembly |  |  | Nos |  | 84249000 | 2005698 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | NA | 30 | NA | NA | NA |  |  | NA | NA | 25-70 | NA | NA | NA | 100mm | NA
Secondary | Water Supply | Centrifugal Pump | Submersible |  |  |  | Submersible Pump | MWS022787 | MWSI0031 | Submersible Pump |  |  | Set |  | 84137010 | 2001522 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | 50 | 162 | 3 | NA | NA |  |  | NA | NA | 20-90 | NA | NA | NA | NA | NA
Secondary | Water Supply | Centrifugal Pump | Submersible | Open Well |  |  | Open Well Submersible Pump | MWS022788 |  | Open Well Submersible Pump |  |  | Set |  | 84137010 | 2000181 | No | Yes | Yes, Branded | No | Approved | [16 empty] | MWSS0002 | [11 empty] | 35 | 360 | 7.5 | NA | NA |  |  | NA | NA | 116 | 535 | NA | NA | 125mm | 2900
Secondary | Water Supply | Centrifugal Pump | Submersible | Open Well |  |  | Open Well Submersible Pump | MWS022789 | MWSI0035 | Open Well Submersible Pump |  |  | Nos |  | 84137010 | 2002967 | No | Yes | Yes, Branded | No | Approved | [28 empty] | 30 | 75 | 1.5 | NA | NA |  |  | NA | [6 empty] | NA
Secondary | Water Supply | Heat Pump |  |  |  |  | Heat Pump | MWS022790 | MWSI0035 | Heat Pump |  |  | Nos |  | 84186100 | 2001218 | No | Yes | Yes, Branded | No | Approved | [28 empty] | NA | NA | NA | NA | NA |  |  | NA | [6 empty] | NA
Secondary | Water Supply | Solar Water Heater |  |  |  |  | Solar Water Heater | MWS022791 | MWSI0036 | Solar Water Heater |  |  | Nos |  | 85162900 | 1002368 | No | Yes | Yes, Branded | No | Approved | [28 empty] | NA | 8.3333 | NA | NA |  |  |  | NA | NA | NA | NA | 25 | 25-75 | NA | NA
Secondary | Water Supply | Sprinkler System | Barb Tee |  |  |  | Barb Tee | MWS022792 | MWSI0036 | Barb Tee |  |  | Nos |  | 84249000 | 2000315 | No | Yes | Yes, Branded | No | Approved | [28 empty] | NA | NA | NA | NA |  |  |  | NA | NA | NA | NA | 25 | 25-75 | NA | NA

## Brand
Brand Code | Manufacturer's Name | Brand/Series | Manufacturer's Code | Manufacturer's Specification | Material Safety Data Sheet | Technical Drawing | 3D model | Country of Manufacture | Warranty Period in Years | Status | Approved Vendors | Shelf Life in Days | Packing List | Associated Materials
BWS005443 | Grundfos | SmART SUB HOS | 96939860 | MWSM0004 |  |  |  | India | 1 | Approved |  |  |  | MWS022742
BWS005444 | Rainbird | Variable Arc Nozzles (VANs) | 10 VAN | MWSM0015 |  |  |  | India | 1 | Approved |  |  |  | MWS022743
BWS005445 | Rainbird | Variable Arc Nozzles (VANs) | 18 VAN | MWSM0015 |  |  |  | India | 1 | Approved |  |  |  | MWS022744
BWS005446 | Rainbird | 3500 | 3504-PC-SAM | MWSM0014 |  |  |  | India | 1 | Approved |  |  |  | MWS022745
BWS005447 | Grundfos | AP | AP 12.50.11.A3 | MWSM0022 |  |  |  | India | 1 | Approved |  |  |  | MWS022746
BWS005448 | Grundfos | AP | AP.12.40.08.A3 | MWSM0025 |  |  |  | India | 1 | Approved |  |  |  | MWS022747
BWS005449 | Rainbird | ARV | ARV050 | MWSM0033 |  |  |  | India | NA | Approved |  |  |  | MWS022748
BWS005450 | Grundfos | BP Multi | BP Multi S 3xCR | MWSM0005 |  |  |  | India | 1 | Approved |  |  |  | MWS022749
BWS005451 | Grundfos-DAB | BVP | BVP -Max 1100 | MWSM0023 |  |  |  | India | 1 | Approved |  |  |  | MWS022750
BWS005452 | AO Smith | CAHP | CAHP-120-12 | MWSM0021 |  |  |  | India | 1 | Approved |  |  |  | MWS022751
BWS005453 | AO Smith | CAHP | CAHP-80-6 | MWSM0021 |  |  |  | India | 1 | Approved |  |  |  | MWS022752
BWS005454 | Grundfos | CH | CH 4-60 | MWSM0003 |  |  |  | India | 1 | Approved |  |  |  | MWS022753
BWS005455 | Grundfos | CM | CM 10-2 | MWSM0011 |  |  |  | India | 1 | Approved |  |  |  | MWS022754
BWS005456 | Grundfos | CM | CM 10-3 | MWSM0011 |  |  |  | India | 1 | Approved |  |  |  | MWS022755
BWS005457 | Grundfos | CM | CM 1-3 | MWSM0011 |  |  |  | India | 1 | Approved |  |  |  | MWS022756
BWS005458 | Grundfos | CM | CM 3-3 | MWSM0011 |  |  |  | India | 1 | Approved |  |  |  | MWS022757
BWS005459 | Grundfos | CM | CM 5 - 5 | MWSM0011 |  |  |  | India | 1 | Approved |  |  |  | MWS022758
BWS005460 | Grundfos | DPK | DPK.10.50.15.5.0.D - 96884080 | MWSM0020 |  |  |  | India | 1 | Approved |  |  |  | MWS022759
BWS005461 | Grundfos | DPK | DPK.15.100.75.5.0D, | MWSM0020 |  |  |  | India | 1 | Approved |  |  |  | MWS022760
BWS005462 | DP Holland | DVV | DVV 50 - 3S | MWSM0001 |  |  |  | India | 1 | Approved |  |  |  | MWS022761
BWS005463 | Grundfos | DWK | DWK.O.10.80.37.5.0D | MWSM0020 |  |  |  | India | 1 | Approved |  |  |  | MWS022762
BWS005464 | Grundfos | DWK | DWK.O.6.50.22.5.0D.R - 96922725 | MWSM0020 |  |  |  | India | 1 | Approved |  |  |  | MWS022763
BWS005465 | Grundfos | K 20/41 | K 20/41M | MWSM0012 |  |  |  | India | 1 | Approved |  |  |  | MWS022764
BWS005466 | Kirloskar | KDT | KDT 2905 | MWSM0009 |  |  |  | India | 1 | Approved |  |  |  | MWS022765
BWS005467 | Ion Exchange | Zero-B | Kitchen Mate | MWSM0017 |  |  |  | India | 1 | Approved |  |  |  | MWS022766
BWS005468 | Rainbird | LCRBY | LCRBY150D | MWSM0030 |  |  |  | India | 1 | Approved |  |  |  | MWS022767
BWS005469 | Crompton Greaves | MBG | MBG 1.52 | MWSM0008 |  |  |  | India | 1 | Approved |  |  |  | MWS022768
BWS005470 | Grundfos | Mini Smart | Mini Smart 0.5 |  |  |  |  | India | 1 | Approved |  |  |  | MWS022769
BWS005471 | Texmo | TMH | NA | MWSM0002 |  |  |  | India | 1 | Approved |  |  |  | MWS022770
BWS005472 | Pluga | FXL | NA |  |  |  |  | India | 1 | Approved |  |  |  | MWS022771
BWS005473 | Pluga | CXL | NA |  |  |  |  | India | 1 | Approved |  |  |  | MWS022772
BWS005474 | Pluga | CXL | NA |  |  |  |  | India | 1 | Approved |  |  |  | MWS022773
BWS005475 | Emmvee | Ultra/Spring | NA | MWSM0019 |  |  |  | India | 1 | Approved |  |  |  | MWS022774
BWS005476 | Emmvee | Ultra/Spring | NA | MWSM0019 |  |  |  | India | 1 | Approved |  |  |  | MWS022775
BWS005477 | Rainbird | 1400 | NA | MWSM0029 |  |  |  | India | 1 | Approved |  |  |  | MWS022776
BWS005478 | A O Smith | HSE-HAS | NA | MWSM0034 |  |  |  | India | 7 | Approved |  |  |  | MWS022777
BWS005479 | A O Smith | HSE-VAS | NA | MWSM0035 |  |  |  | India | 7 | Approved |  |  |  | MWS022778
BWS005480 | Grundfos | DPK | O.6.50.15.5.OD | MWSM0020 |  |  |  | India | 1 | Approved |  |  |  | MWS022779
BWS005481 | Ion Exchange | Zero-B | Pristine | MWSM0016 |  |  |  | India | 1 | Approved |  |  |  | MWS022780
BWS005482 | Rainbird | PVB | PVB10RND | MWSM0027 |  |  |  | India | 1 | Approved |  |  |  | MWS022781
BWS005483 | Rainbird | PVB | PVBSTD | MWSM0027 |  |  |  | India | 1 | Approved |  |  |  | MWS022782
BWS005484 | Rainbird | 1800 | RD1804 SAM PRS | MWSM0028 |  |  |  | India | 1 | Approved |  |  |  | MWS022783
BWS005485 | Rainbird | RSD | RSD-BEx | MWSM0032 |  |  |  | India | 1 | Approved |  |  |  | MWS022784
BWS005486 | Grundfos | S4C | S4C-39 | MWSM0010 |  |  |  | India | 1 | Approved |  |  |  | MWS022785
BWS005487 | Rainbird | SA | SA125050 | MWSM0026 |  |  |  | India | 1 | Approved |  |  |  | MWS022786
BWS005488 | Grundfos | SP8A | SP8A-15 | MWSM0013 |  |  |  | India | 1 | Approved |  |  |  | MWS022787
BWS005489 | Grundfos | SmART | SUB HOS | MWSM0004 |  |  |  | India | 1 | Approved |  |  |  | MWS022788
BWS005490 | Grundfos | SmART | SUB HOS | MWSM0004 |  |  |  | India | 1 | Approved |  |  |  | MWS022789
BWS005491 | Solahart | Synergy | Synergy | MWSM0021 |  |  |  | India | 5 | Approved |  |  |  | MWS022790
BWS005492 | Tata Solar | Tata BP | Tata Solar Zing FPC | MWSM0018 |  |  |  | India | 1 | Approved |  |  |  | MWS022791
BWS005493 | Rainbird | XBF | XBF3TEE | NA |  |  |  | India | 1 | Approved |  |  |  | MWS022792

## Rate
Material ID | Short Description | Brand Code | Manufacturer's Code | Type of Purchase (Import/Domestic Inter-state/ Domestic Intra-state) | Currency Type | Control Base Rate (per UoM) | Location ID will be City wise | Coefficients | [7 empty] | Landed Rate (in Base Currency) (per UoM)
[8 empty] | Insurance considered by customs (per UoM) | Custom duties (per UoM) | Clearing charges by customs (per UoM) | Freight (per UoM) | Currency Fluctuation - This will be linked from the Exchange rate table | Tax Variance | Location Variance | Market Fluctuation
[13 empty] | % | % | %
MWS022742 | Submersible Pump | Grundfos | 96939860 | Domestic Inter-state | INR |  | Bangalore
MWS022742 | Submersible Pump | Grundfos | 96939860 | Domestic Inter-state | INR |  | Pune
MWS022742 | Submersible Pump | Grundfos | 96939860 | Domestic Inter-state | INR |  | Hyderbad
MWS022743 | Replaceable Pop up Spray Nozzle | Rainbird | 10 VAN | Domestic Inter-state | INR |  | Bangalore
MWS022743 | Replaceable Pop up Spray Nozzle | Rainbird | 10 VAN | Domestic Inter-state | INR |  | Pune
MWS022743 | Replaceable Pop up Spray Nozzle | Rainbird | 10 VAN | Domestic Inter-state | INR |  | Hyderbad
MWS022744 | Replaceable Pop up Spray Nozzle | Rainbird | 18 VAN | Domestic Inter-state | INR |  | Bangalore
MWS022744 | Replaceable Pop up Spray Nozzle | Rainbird | 18 VAN | Domestic Inter-state | INR |  | Pune
MWS022744 | Replaceable Pop up Spray Nozzle | Rainbird | 18 VAN | Domestic Inter-state | INR |  | Hyderbad
MWS022745 | Sprinkler Head | Rainbird | 3504-PC-SAM | Domestic Inter-state | INR |  | Bangalore
MWS022745 | Sprinkler Head | Rainbird | 3504-PC-SAM | Domestic Inter-state | INR |  | Pune
MWS022745 | Sprinkler Head | Rainbird | 3504-PC-SAM | Domestic Inter-state | INR |  | Hyderbad
MWS022746 | Storm Water Submersible Pump | Grundfos | AP 12.50.11.A3 | Domestic Inter-state | INR |  | Bangalore
MWS022746 | Storm Water Submersible Pump | Grundfos | AP 12.50.11.A3 | Domestic Inter-state | INR |  | Pune
MWS022746 | Storm Water Submersible Pump | Grundfos | AP 12.50.11.A3 | Domestic Inter-state | INR |  | Hyderbad
MWS022747 | Storm Water Submersible Pump | Grundfos | AP.12.40.08.A3 | Domestic Inter-state | INR |  | Bangalore
MWS022747 | Storm Water Submersible Pump | Grundfos | AP.12.40.08.A3 | Domestic Inter-state | INR |  | Pune
MWS022747 | Storm Water Submersible Pump | Grundfos | AP.12.40.08.A3 | Domestic Inter-state | INR |  | Hyderbad
MWS022748 | Air/Vacuum Relief Valve | Rainbird | ARV050 | Domestic Inter-state | INR |  | Bangalore
MWS022748 | Air/Vacuum Relief Valve | Rainbird | ARV050 | Domestic Inter-state | INR |  | Pune
MWS022748 | Air/Vacuum Relief Valve | Rainbird | ARV050 | Domestic Inter-state | INR |  | Hyderbad
MWS022749 | Booster Pump | Grundfos | BP Multi S 3xCR | Domestic Inter-state | INR |  | Bangalore
MWS022749 | Booster Pump | Grundfos | BP Multi S 3xCR | Domestic Inter-state | INR |  | Pune
MWS022749 | Booster Pump | Grundfos | BP Multi S 3xCR | Domestic Inter-state | INR |  | Hyderbad
MWS022750 | Storm Water Submersible Pump | Grundfos-DAB | BVP -Max 1100 | Domestic Inter-state | INR |  | Bangalore
MWS022750 | Storm Water Submersible Pump | Grundfos-DAB | BVP -Max 1100 | Domestic Inter-state | INR |  | Pune
MWS022750 | Storm Water Submersible Pump | Grundfos-DAB | BVP -Max 1100 | Domestic Inter-state | INR |  | Hyderbad
MWS022751 | Heat Pump | AO Smith | CAHP-120-12 | Domestic Inter-state | INR |  | Bangalore
MWS022751 | Heat Pump | AO Smith | CAHP-120-12 | Domestic Inter-state | INR |  | Pune
MWS022751 | Heat Pump | AO Smith | CAHP-120-12 | Domestic Inter-state | INR |  | Hyderbad
MWS022752 | Heat Pump | AO Smith | CAHP-80-6 | Domestic Inter-state | INR |  | Bangalore
MWS022752 | Heat Pump | AO Smith | CAHP-80-6 | Domestic Inter-state | INR |  | Pune
MWS022752 | Heat Pump | AO Smith | CAHP-80-6 | Domestic Inter-state | INR |  | Hyderbad
MWS022753 | Booster Pump | Grundfos | CH 4-60 | Domestic Inter-state | INR |  | Bangalore
MWS022753 | Booster Pump | Grundfos | CH 4-60 | Domestic Inter-state | INR |  | Pune
MWS022753 | Booster Pump | Grundfos | CH 4-60 | Domestic Inter-state | INR |  | Hyderbad
MWS022754 | Twin Booster Pump | Grundfos | CM 10-2 | Domestic Inter-state | INR |  | Bangalore
MWS022754 | Twin Booster Pump | Grundfos | CM 10-2 | Domestic Inter-state | INR |  | Pune
MWS022754 | Twin Booster Pump | Grundfos | CM 10-2 | Domestic Inter-state | INR |  | Hyderbad
MWS022755 | Twin Booster Pump | Grundfos | CM 10-3 | Domestic Inter-state | INR |  | Bangalore
MWS022755 | Twin Booster Pump | Grundfos | CM 10-3 | Domestic Inter-state | INR |  | Pune
MWS022755 | Twin Booster Pump | Grundfos | CM 10-3 | Domestic Inter-state | INR |  | Hyderbad
MWS022756 | Booster Pump | Grundfos | CM 1-3 | Domestic Inter-state | INR |  | Bangalore
MWS022756 | Booster Pump | Grundfos | CM 1-3 | Domestic Inter-state | INR |  | Pune
MWS022756 | Booster Pump | Grundfos | CM 1-3 | Domestic Inter-state | INR |  | Hyderbad
MWS022757 | Booster Pump | Grundfos | CM 3-3 | Domestic Inter-state | INR |  | Bangalore
MWS022757 | Booster Pump | Grundfos | CM 3-3 | Domestic Inter-state | INR |  | Pune
MWS022757 | Booster Pump | Grundfos | CM 3-3 | Domestic Inter-state | INR |  | Hyderbad
MWS022758 | Twin Booster Pump | Grundfos | CM 5 - 5 | Domestic Inter-state | INR |  | Bangalore
MWS022758 | Twin Booster Pump | Grundfos | CM 5 - 5 | Domestic Inter-state | INR |  | Pune
MWS022758 | Twin Booster Pump | Grundfos | CM 5 - 5 | Domestic Inter-state | INR |  | Hyderbad
MWS022759 | Storm Water Submersible Pump | Grundfos | DPK.10.50.15.5.0.D - 96884080 | Domestic Inter-state | INR |  | Bangalore
MWS022759 | Storm Water Submersible Pump | Grundfos | DPK.10.50.15.5.0.D - 96884080 | Domestic Inter-state | INR |  | Pune
MWS022759 | Storm Water Submersible Pump | Grundfos | DPK.10.50.15.5.0.D - 96884080 | Domestic Inter-state | INR |  | Hyderbad
MWS022760 | Storm Water Submersible Pump | Grundfos | DPK.15.100.75.5.0D, | Domestic Inter-state | INR |  | Bangalore
MWS022760 | Storm Water Submersible Pump | Grundfos | DPK.15.100.75.5.0D, | Domestic Inter-state | INR |  | Pune
MWS022760 | Storm Water Submersible Pump | Grundfos | DPK.15.100.75.5.0D, | Domestic Inter-state | INR |  | Hyderbad
MWS022761 | Submersible Pump | DP Holland | DVV 50 - 3S | Domestic Inter-state | INR |  | Bangalore
MWS022761 | Submersible Pump | DP Holland | DVV 50 - 3S | Domestic Inter-state | INR |  | Pune
MWS022761 | Submersible Pump | DP Holland | DVV 50 - 3S | Domestic Inter-state | INR |  | Hyderbad
MWS022762 | Storm Water Submersible Pump | Grundfos | DWK.O.10.80.37.5.0D | Domestic Inter-state | INR |  | Bangalore
MWS022762 | Storm Water Submersible Pump | Grundfos | DWK.O.10.80.37.5.0D | Domestic Inter-state | INR |  | Pune
MWS022762 | Storm Water Submersible Pump | Grundfos | DWK.O.10.80.37.5.0D | Domestic Inter-state | INR |  | Hyderbad
MWS022763 | Storm Water Submersible Pump | Grundfos | DWK.O.6.50.22.5.0D.R - 96922725 | Domestic Inter-state | INR |  | Bangalore
MWS022763 | Storm Water Submersible Pump | Grundfos | DWK.O.6.50.22.5.0D.R - 96922725 | Domestic Inter-state | INR |  | Pune
MWS022763 | Storm Water Submersible Pump | Grundfos | DWK.O.6.50.22.5.0D.R - 96922725 | Domestic Inter-state | INR |  | Hyderbad
MWS022764 | Circulating Pump | Grundfos | K 20/41M | Domestic Inter-state | INR |  | Bangalore
MWS022764 | Circulating Pump | Grundfos | K 20/41M | Domestic Inter-state | INR |  | Pune
MWS022764 | Circulating Pump | Grundfos | K 20/41M | Domestic Inter-state | INR |  | Hyderbad
MWS022765 | Monoblock Pump | Kirloskar | KDT 2905 | Domestic Inter-state | INR |  | Bangalore
MWS022765 | Monoblock Pump | Kirloskar | KDT 2905 | Domestic Inter-state | INR |  | Pune
MWS022765 | Monoblock Pump | Kirloskar | KDT 2905 | Domestic Inter-state | INR |  | Hyderbad
MWS022766 | Reverse Osmosis Water Purifying System | Ion Exchange | Kitchen Mate | Domestic Inter-state | INR |  | Bangalore
MWS022766 | Reverse Osmosis Water Purifying System | Ion Exchange | Kitchen Mate | Domestic Inter-state | INR |  | Pune
MWS022766 | Reverse Osmosis Water Purifying System | Ion Exchange | Kitchen Mate | Domestic Inter-state | INR |  | Hyderbad
MWS022767 | Large Capacity Disc Filter | Rainbird | LCRBY150D | Domestic Inter-state | INR |  | Bangalore
MWS022767 | Large Capacity Disc Filter | Rainbird | LCRBY150D | Domestic Inter-state | INR |  | Pune
MWS022767 | Large Capacity Disc Filter | Rainbird | LCRBY150D | Domestic Inter-state | INR |  | Hyderbad
MWS022768 | Centrifugal Monoset Pump | Crompton Greaves | MBG 1.52 | Domestic Inter-state | INR |  | Bangalore
MWS022768 | Centrifugal Monoset Pump | Crompton Greaves | MBG 1.52 | Domestic Inter-state | INR |  | Pune
MWS022768 | Centrifugal Monoset Pump | Crompton Greaves | MBG 1.52 | Domestic Inter-state | INR |  | Hyderbad
MWS022769 | Monoblock Pump | Grundfos | Mini Smart 0.5 | Domestic Inter-state | INR |  | Bangalore
MWS022769 | Monoblock Pump | Grundfos | Mini Smart 0.5 | Domestic Inter-state | INR |  | Pune
MWS022769 | Monoblock Pump | Grundfos | Mini Smart 0.5 | Domestic Inter-state | INR |  | Hyderbad
MWS022770 | Monoblock Pump | Texmo | NA | Domestic Inter-state | INR |  | Bangalore
MWS022770 | Monoblock Pump | Texmo | NA | Domestic Inter-state | INR |  | Pune
MWS022770 | Monoblock Pump | Texmo | NA | Domestic Inter-state | INR |  | Hyderbad
MWS022771 | Borewell Submersible Pumps | Pluga | NA | Domestic Inter-state | INR |  | Bangalore
MWS022771 | Borewell Submersible Pumps | Pluga | NA | Domestic Inter-state | INR |  | Pune
MWS022771 | Borewell Submersible Pumps | Pluga | NA | Domestic Inter-state | INR |  | Hyderbad
MWS022772 | Borewell Submersible Pumps | Pluga | NA | Domestic Inter-state | INR |  | Bangalore
MWS022772 | Borewell Submersible Pumps | Pluga | NA | Domestic Inter-state | INR |  | Pune
MWS022772 | Borewell Submersible Pumps | Pluga | NA | Domestic Inter-state | INR |  | Hyderbad
MWS022773 | Borewell Submersible Pumps | Pluga | NA | Domestic Inter-state | INR |  | Bangalore
MWS022773 | Borewell Submersible Pumps | Pluga | NA | Domestic Inter-state | INR |  | Pune
MWS022773 | Borewell Submersible Pumps | Pluga | NA | Domestic Inter-state | INR |  | Hyderbad
MWS022774 | Solar Water Heater | Emmvee | NA | Domestic Inter-state | INR |  | Bangalore
MWS022774 | Solar Water Heater | Emmvee | NA | Domestic Inter-state | INR |  | Pune
MWS022774 | Solar Water Heater | Emmvee | NA | Domestic Inter-state | INR |  | Hyderbad
MWS022775 | Solar Water Heater | Emmvee | NA | Domestic Inter-state | INR |  | Bangalore
MWS022775 | Solar Water Heater | Emmvee | NA | Domestic Inter-state | INR |  | Pune
MWS022775 | Solar Water Heater | Emmvee | NA | Domestic Inter-state | INR |  | Hyderbad
MWS022776 | Pressure Compensating Full-Circle Bubblers | Rainbird | NA | Domestic Inter-state | INR |  | Bangalore
MWS022776 | Pressure Compensating Full-Circle Bubblers | Rainbird | NA | Domestic Inter-state | INR |  | Pune
MWS022776 | Pressure Compensating Full-Circle Bubblers | Rainbird | NA | Domestic Inter-state | INR |  | Hyderbad
MWS022777 | Horizontal Geyser | A O Smith | NA | Domestic Inter-state | INR |  | Bangalore
MWS022777 | Horizontal Geyser | A O Smith | NA | Domestic Inter-state | INR |  | Pune
MWS022777 | Horizontal Geyser | A O Smith | NA | Domestic Inter-state | INR |  | Hyderbad
MWS022778 | Vertical Geyser | A O Smith | NA | Domestic Inter-state | INR |  | Bangalore
MWS022778 | Vertical Geyser | A O Smith | NA | Domestic Inter-state | INR |  | Pune
MWS022778 | Vertical Geyser | A O Smith | NA | Domestic Inter-state | INR |  | Hyderbad
MWS022779 | Submersible Storm Water Pump | Grundfos | O.6.50.15.5.OD | Domestic Inter-state | INR |  | Bangalore
MWS022779 | Submersible Storm Water Pump | Grundfos | O.6.50.15.5.OD | Domestic Inter-state | INR |  | Pune
MWS022779 | Submersible Storm Water Pump | Grundfos | O.6.50.15.5.OD | Domestic Inter-state | INR |  | Hyderbad
MWS022780 | Reverse Osmosis Water Purifying System | Ion Exchange | Pristine | Domestic Inter-state | INR |  | Bangalore
MWS022780 | Reverse Osmosis Water Purifying System | Ion Exchange | Pristine | Domestic Inter-state | INR |  | Pune
MWS022780 | Reverse Osmosis Water Purifying System | Ion Exchange | Pristine | Domestic Inter-state | INR |  | Hyderbad
MWS022781 | Round Valve Box | Rainbird | PVB10RND | Domestic Inter-state | INR |  | Bangalore
MWS022781 | Round Valve Box | Rainbird | PVB10RND | Domestic Inter-state | INR |  | Pune
MWS022781 | Round Valve Box | Rainbird | PVB10RND | Domestic Inter-state | INR |  | Hyderbad
MWS022782 | Standard Valve Box | Rainbird | PVBSTD | Domestic Inter-state | INR |  | Bangalore
MWS022782 | Standard Valve Box | Rainbird | PVBSTD | Domestic Inter-state | INR |  | Pune
MWS022782 | Standard Valve Box | Rainbird | PVBSTD | Domestic Inter-state | INR |  | Hyderbad
MWS022783 | Pop Up Spray Head | Rainbird | RD1804 SAM PRS | Domestic Inter-state | INR |  | Bangalore
MWS022783 | Pop Up Spray Head | Rainbird | RD1804 SAM PRS | Domestic Inter-state | INR |  | Pune
MWS022783 | Pop Up Spray Head | Rainbird | RD1804 SAM PRS | Domestic Inter-state | INR |  | Hyderbad
MWS022784 | Rain Sensor | Rainbird | RSD-BEx | Domestic Inter-state | INR |  | Bangalore
MWS022784 | Rain Sensor | Rainbird | RSD-BEx | Domestic Inter-state | INR |  | Pune
MWS022784 | Rain Sensor | Rainbird | RSD-BEx | Domestic Inter-state | INR |  | Hyderbad
MWS022785 | Submersible Pump | Grundfos | S4C-39 | Domestic Inter-state | INR |  | Bangalore
MWS022785 | Submersible Pump | Grundfos | S4C-39 | Domestic Inter-state | INR |  | Pune
MWS022785 | Submersible Pump | Grundfos | S4C-39 | Domestic Inter-state | INR |  | Hyderbad
MWS022786 | Swing Assembly | Rainbird | SA125050 | Domestic Inter-state | INR |  | Bangalore
MWS022786 | Swing Assembly | Rainbird | SA125050 | Domestic Inter-state | INR |  | Pune
MWS022786 | Swing Assembly | Rainbird | SA125050 | Domestic Inter-state | INR |  | Hyderbad
MWS022787 | Submersible Pump | Grundfos | SP8A-15 | Domestic Inter-state | INR |  | Bangalore
MWS022787 | Submersible Pump | Grundfos | SP8A-15 | Domestic Inter-state | INR |  | Pune
MWS022787 | Submersible Pump | Grundfos | SP8A-15 | Domestic Inter-state | INR |  | Hyderbad
MWS022788 | Open Well Submersible Pump | Grundfos | SUB HOS | Domestic Inter-state | INR |  | Bangalore
MWS022788 | Open Well Submersible Pump | Grundfos | SUB HOS | Domestic Inter-state | INR |  | Pune
MWS022788 | Open Well Submersible Pump | Grundfos | SUB HOS | Domestic Inter-state | INR |  | Hyderbad
MWS022789 | Open Well Submersible Pump | Grundfos | SUB HOS | Domestic Inter-state | INR |  | Bangalore
MWS022789 | Open Well Submersible Pump | Grundfos | SUB HOS | Domestic Inter-state | INR |  | Pune
MWS022789 | Open Well Submersible Pump | Grundfos | SUB HOS | Domestic Inter-state | INR |  | Hyderbad
MWS022790 | Heat Pump | Solahart | Synergy | Domestic Inter-state | INR |  | Bangalore
MWS022790 | Heat Pump | Solahart | Synergy | Domestic Inter-state | INR |  | Pune
MWS022790 | Heat Pump | Solahart | Synergy | Domestic Inter-state | INR |  | Hyderbad
MWS022791 | Solar Water Heater | Tata Solar | Tata Solar Zing FPC | Domestic Inter-state | INR |  | Bangalore
MWS022791 | Solar Water Heater | Tata Solar | Tata Solar Zing FPC | Domestic Inter-state | INR |  | Pune
MWS022791 | Solar Water Heater | Tata Solar | Tata Solar Zing FPC | Domestic Inter-state | INR |  | Hyderbad
MWS022792 | Barb Tee | Rainbird | XBF3TEE | Domestic Inter-state | INR |  | Bangalore
MWS022792 | Barb Tee | Rainbird | XBF3TEE | Domestic Inter-state | INR |  | Pune
MWS022792 | Barb Tee | Rainbird | XBF3TEE | Domestic Inter-state | INR |  | Hyderbad