## FFS
Classification | [6 empty] | General | [12 empty] | Purchase | [7 empty] | Planning |  |  |  | Quality |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit Of Measure | HSN Code | SAP Code | Part of eBuild Library | Generic | Manufactured | Material Status | Quantity Evaluation Method | General PO Terms & Conditions | Special PO Terms & Conditions | Last Purchase Rate | Weighted Average Purchase Rate | Procurement Rate Threshold % | Approved Brands | Approved Vendors | PO Lead Time in Days | Delivery Lead Time in Days | Minimum Order Quantity | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Inlet Diameter | Outlet Diameter | Length | Width | Height | Material Composition | Thickness | Diameter | Grade | Weight/Unit Length | Capacity (Volume) | Capacity (Mass) | Relative Loudness | Luminous Intensity | Additional Features
[25 empty] | % | [15 empty] | mm | mm | mm | mm | mm |  | mm | mm |  | kg/m |  | kg | dBA | cd
Secondary | Fire Fighting System | Fire Extinguisher | CO2 Type |  |  |  | Fire Extinguisher - CO2 Type |  | MFFI0011 | Fire Extinguisher - CO2 Type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 2878 |  | MFFQ0011 | [6 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 2 | NA | NA | CO2 gas filled in brand new seamless cylinder with powder coated finish, made out of Manganese steel, with wheel type valve, discharge nozzle, bend & horn, wall mounting bracket etc.
Secondary | Fire Fighting System | Fire Extinguisher | CO2 Type |  |  |  | Fire Extinguisher - CO2 Type |  | MFFI0011 | Fire Extinguisher - CO2 Type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 2878 |  | MFFQ0011 | [6 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 4.5 | NA | NA | CO2 gas filled in brand new seamless cylinder with powder coated finish, made out of Manganese steel, with wheel type valve, discharge nozzle, bend & horn, wall mounting bracket etc.
Secondary | Fire Fighting System | Fire Extinguisher | Dry Chemical Powder (DCP) - ABC Type |  |  |  | Dry Chemical Powder - ABC Type |  | MFFI0013 | Dry Chemical Powder - ABC Type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 2171 | [8 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 5 | NA | NA | Dry chemical powder type fire extinguisher with initial filling in brand new cylinder with powder coated finish, fitted with Gun metal union, high pressure CO2 gas cartridge, discharge hose, wall mounting bracket etc.
Secondary | Fire Fighting System | Fire Extinguisher | Fire Bucket |  |  |  | Fire Buckets - round bottom type |  | MFFI0014 | Fire Buckets - round bottom type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA | [8 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Fire buckets round bottom type enamel painted, white inside & Red out side and Letter "FIRE" in black out side and handle with mounting bracket.
Secondary | Fire Fighting System | Fire Extinguisher | Fire Bucket stand |  |  |  | Fire Bucket Stand |  | MFFI0015 | Fire Bucket Stand |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA | [8 empty] | NA | NA | NA | NA | NA | MS Angles | NA | NA | NA | NA | NA | NA | NA | NA | Fire bucket stand fabricated by MS angles
Secondary | Fire Fighting System | Fire Extinguisher | Mechanical Foam Type |  |  |  | Mechanical Foam type |  | MFFI0010 | Mechanical Foam type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 10204 |  | MFFQ0012 | [6 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 9 | NA | NA | NA | Mechanical Foam type fire extinguisher with initial filling in brand new cylinder with powder coated finish, fitted with Gun metal union, high pressure CO2 gas cartridge, hose and ABS type branch pipe and wall mounting bracket etc
Secondary | Fire Fighting System | Fire Extinguisher | Water CO2 Type |  |  |  | Water CO2 Type |  | MFFI0016 | Water CO2 Type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 940 | [8 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 9 | NA | NA | NA | Water CO2 type fire extinguisher with initial filling in brand new cylinder of powder coated finish, fitted with Gun metal union, high pressure CO2 gas cartridge & wall mounting bracket etc
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Cabinet Stand |  |  | Hose Cabinet Stand |  | MFFI0008 | Secondary |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA | [8 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Stand Post shall be fabricated by suitable structural steel / pipe of not less than 80 mm dia.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Hose |  |  | Rubber Braided Hose |  | MFFI0006 | Rubber Braided Hose |  |  | m |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 444 |  | MFFQ0006 | [6 empty] | NA | NA | 40000 | NA | NA | NA | NA | 19 | NA | NA | NA | NA | NA | NA
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Hose |  |  | RRL Hose - Type A |  | MFFI0003 | RRL Hose |  |  | m |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 636 |  | MFFQ0003 | [6 empty] | NA | NA | 15000 | NA | NA | NA | NA | 63 | NA | 0.425 | NA | NA | NA | NA
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Hose Reel Cabinet |  |  | Hose Reel Cabinet |  | MFFI0001 | Hose Cabinet Stand |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0001 | [6 empty] | NA | NA | 750 | 250 | 600 | MS Sheet | NA | NA | NA | NA | NA | NA | NA | NA | 1. Cabinet shall be fabricated by M.S. sheet of 1.626mm. 2. Hose cabinet shall have glass fronted door fitted with 4mm thick clear glass & powder coated finish of red outside & white inside. 3. Cabinet shall be suitable for stand mounting and shall have built in breakable glass type feature to keep key.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Hose Reel Drum |  |  | Hose Reel Drum - Swinging type |  | MFFI0007 | Secondary |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 884 | [8 empty] | NA | NA | NA | NA | NA | NA | NA | 500 | NA | NA | NA | NA | NA | NA | 1. It shall be painted with red, http://www.tradeindia.com/fp1987370/First-Aid-Hose-Reel-Drum.html
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Shutter |  |  | Fire Duct Shutter |  | MFFI0005 | Fire Duct Shutter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0005 | [6 empty] | NA | NA | NA | 900 | 1500 | MS Sheet | NA | NA | NA | NA | NA | NA | NA | NA | 1.Shutter shall be fabricated by M.S. sheet of 1.626mm with glass-fronted door (glass shall be 4mm thick). 2.The door shall be in two leaves with necessary stiffeners. 3. Shutter shall be powder coated finish of red outside and white inside 4. Glass shall be labeled “FIRE” with min. 75 mm height. 5. There shall be built in breakable glass type feature to keep key.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Valve |  |  | Double headed hydrant Valve |  | MFFI0009 | Secondary |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 5290 |  | MFFQ0009 | [6 empty] | 100 | 63 | NA | NA | NA | Gun Metal | NA | NA | NA | NA | NA | NA | NA | NA | The valves shall be complete with hand wheels, quick coupling connections, springs and blank caps.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Valve |  |  | Single Headed Hydrant Valve |  | MFFI0004 | Single Headed Hydrant Valve |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 5290 |  | MFFQ0004 | [6 empty] | 80 | 63 | NA | NA | NA | Gun Metal | NA | NA | NA | NA | NA | NA | NA | NA | The valves shall be complete with hand wheels, quick coupling connections, springs and blank caps.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Branch Pipe |  |  | Short Branch Pipe |  | MFFI0002 | Short Branch Pipe |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 903 |  | MFFQ0002 | [6 empty] | 63 | 42.5 | 200 | NA | NA | Gun Metal | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Fire Fighting System | Public Address System | Hooter |  |  |  | Hooter |  | MFFI0018 | Hooter |  | Red | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BFF0001, BFF0002, BFF0003, BFF0004, BFF0005, BFF0006 |  |  |  |  | No | [9 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 82 | 75 | Horn / Strobe rated at 82 dBA @ 3m for Audible annunciation and 75cd flashing at 1 Hz for visual indication.
Secondary | Fire Fighting System | Public Address System | Manual Pull Station |  |  |  | Manual Pull Station |  | MFFI0017 | Manual Pull Station |  |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BFF0012, BFF0007, BFF0008, BFF0009, BFF0010, BFF0011 |  |  |  |  | No | [9 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Fire Fighting System | Public Address System | Strobe |  |  |  | Strobe |  | MFFI0018 | Strobe |  | Red | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 82 | 75 | Horn / Strobe rated at 82 dBA @ 3m for Audible annunciation and 75cd flashing at 1 Hz for visual indication.
Secondary | Fire Fighting System | Signage | Fire Order |  |  |  | PVC Foam Board Signage Board |  |  | PVC Foam Board Signage Board for Fire Order |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0010 | [6 empty] | NA | NA | NA | 914.4 | 1219.2 | PVC Foam board | 3 | NA | NA | NA | NA | NA | NA | NA | " FIRE ORDER" should contain the following matter of computerized cut, PVC non-reflective self adhesive vinyl painted foam board A) ALERT THE SECURITY AT SECURITY ROOM BY ACTUATING MANUAL CALL POINT LOCATED AT STRATEGIC LOCATIONS. B) EVACUATE THE OCCUPANTS BY USING FIRE EXITS AND EMERGENCY EXITS ONLY AND ASSEMBLE AT VARIOUS ASSEMBLY POINTS. C) IF POSSIBLE TRY TO EXTINGUISH THE FIRE BY USING NEAREST / SUITABLE PORTABLE EXTINGUISHER OR WATER FROM NEAREST WET RISER. D) BE CALM AND DO NOT GIVE ANY ROOM FROM PANIC, WALK, DO NOT RUN. E) IF YOU ENCOUNTER SERIOUS DIFFICULTY IN EVACUATION, FLAT AND TRY TO ATTRACT ATTENTION OF RESCUE TEAM. ACTION BY SECURITY/RECEPTION UPON RECEIPT OF INFORMATION THROUGH FIRE ALARM ORFIRE DETECTORS OR BY USING PUBLIC ADDRESS SYSTEM. A) ALERT THE OCCUPANTS BY USING PUBLIC ADDRESS SYSTEM. B) INFORM FIRE CONTROL THROUGH ANY ONE OF THE FOLLOWING PHONE NUMBERS: 101 / 2251780 / 2251781 / 2251782. C) REFER EVACUATION PLAN FROM EVACUATING STANDARD PEOPLE. D) GUIDE THE FIRE FORCE, ON THEIR ARRIVAL TO THE SEAT OF FIRE. E) IN CASE OF THE CASUALTIES, CALL AMBULANCE BY DIALLING NUMBER…….. FIRE FIGHTING AGNECY ------------------------------- PHONE : ----------------------- FAX : ----------------------------
Secondary | Fire Fighting System | Signage | Floor Exit Direction |  |  |  | PVC Foam Board Signage Board |  |  | PVC Foam Board Signage Board for Floor Exit Direction |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0010 | [6 empty] | NA | NA | NA | NA | NA | PVC Foam board | 3 | NA | NA | NA | NA | NA | NA | NA | Floor exit direction signage at each corridor to stairs.,
Secondary | Fire Fighting System | Signage | Floor Identification |  |  |  | PVC Foam Board Signage Board |  |  | PVC Foam Board Signage Board for Floor Identification |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0010 | [6 empty] | NA | NA | NA | 150 | 600 | PVC Foam board | 3 | NA | NA | NA | NA | NA | NA | NA | Floor identification signage ( i.e., GROUND FLOOR …etc.) at each stair enclosure on every floor, indicating the floor number in words, lettering size shall be 7.5 cm with contrasting color from back ground.
Secondary | Fire Fighting System | Signage | General |  |  |  | PVC Foam Board Signage Board |  |  | PVC Foam Board Signage Board at Manual Call Point |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0010 | [6 empty] | NA | NA | NA | 250 | 300 | PVC Foam board | 3 | NA | NA | NA | NA | NA | NA | NA | Signage with printed "IN CASE OF FIRE, USE STAIRS UNLESS INSTRUCTED OTHERWISE" of 1.5cm height letters in red with white back ground.

## Fire Fighting System
Classification | [6 empty] | General | [12 empty] | Purchase | [7 empty] | Planning |  |  |  | Quality |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit Of Measure | HSN Code | SAP Code | Part of eBuild Library | Generic | Manufactured | Material Status | Quantity Evaluation Method | General PO Terms & Conditions | Special PO Terms & Conditions | Last Purchase Rate | Weighted Average Purchase Rate | Procurement Rate Threshold % | Approved Brands | Approved Vendors | PO Lead Time in Days | Delivery Lead Time in Days | Minimum Order Quantity | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Inlet Diameter | Outlet Diameter | Length | Width | Height | Material Composition | Thickness | Diameter | Grade | Weight/Unit Length | Capacity (Volume) | Capacity (Mass) | Relative Loudness | Luminous Intensity | Additional Features
[41 empty] | mm | mm | mm | mm | mm |  | mm | mm |  | kg/m |  | kg | dBA | cd
Secondary | Fire Fighting System | Fire Extinguisher | CO2 Type |  |  |  | Fire Extinguisher - CO2 Type |  | MFFI0011 | Fire Extinguisher - CO2 Type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 2878 |  | MFFQ0011 | [6 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 2 | NA | NA | CO2 gas filled in brand new seamless cylinder with powder coated finish, made out of Manganese steel, with wheel type valve, discharge nozzle, bend & horn, wall mounting bracket etc.
Secondary | Fire Fighting System | Fire Extinguisher | CO2 Type |  |  |  | Fire Extinguisher - CO2 Type |  | MFFI0011 | Fire Extinguisher - CO2 Type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 2878 |  | MFFQ0011 | [6 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 4.5 | NA | NA | CO2 gas filled in brand new seamless cylinder with powder coated finish, made out of Manganese steel, with wheel type valve, discharge nozzle, bend & horn, wall mounting bracket etc.
Secondary | Fire Fighting System | Fire Extinguisher | Dry Chemical Powder (DCP) - ABC Type |  |  |  | Dry Chemical Powder - ABC Type |  | MFFI0013 | Dry Chemical Powder - ABC Type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 2171 | [8 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 5 | NA | NA | Dry chemical powder type fire extinguisher with initial filling in brand new cylinder with powder coated finish, fitted with Gun metal union, high pressure CO2 gas cartridge, discharge hose, wall mounting bracket etc.
Secondary | Fire Fighting System | Fire Extinguisher | Fire Bucket |  |  |  | Fire Buckets - round bottom type |  | MFFI0014 | Fire Buckets - round bottom type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA | [8 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Fire buckets round bottom type enamel painted, white inside & Red out side and Letter "FIRE" in black out side and handle with mounting bracket.
Secondary | Fire Fighting System | Fire Extinguisher | Fire Bucket stand |  |  |  | Fire Bucket Stand |  | MFFI0015 | Fire Bucket Stand |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA | [8 empty] | NA | NA | NA | NA | NA | MS Angles | NA | NA | NA | NA | NA | NA | NA | NA | Fire bucket stand fabricated by MS angles
Secondary | Fire Fighting System | Fire Extinguisher | Mechanical Foam Type |  |  |  | Mechanical Foam type |  | MFFI0010 | Mechanical Foam type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 10204 |  | MFFQ0012 | [6 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 9 | NA | NA | NA | Mechanical Foam type fire extinguisher with initial filling in brand new cylinder with powder coated finish, fitted with Gun metal union, high pressure CO2 gas cartridge, hose and ABS type branch pipe and wall mounting bracket etc
Secondary | Fire Fighting System | Fire Extinguisher | Water CO2 Type |  |  |  | Water CO2 Type |  | MFFI0016 | Water CO2 Type |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 940 | [8 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 9 | NA | NA | NA | Water CO2 type fire extinguisher with initial filling in brand new cylinder of powder coated finish, fitted with Gun metal union, high pressure CO2 gas cartridge & wall mounting bracket etc
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Cabinet Stand |  |  | Hose Cabinet Stand |  | MFFI0008 | Secondary |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA | [8 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | Stand Post shall be fabricated by suitable structural steel / pipe of not less than 80 mm dia.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Hose |  |  | Rubber Braided Hose |  | MFFI0006 | Rubber Braided Hose |  |  | m |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 444 |  | MFFQ0006 | [6 empty] | NA | NA | 40000 | NA | NA | NA | NA | 19 | NA | NA | NA | NA | NA | NA
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Hose |  |  | RRL Hose - Type A |  | MFFI0003 | RRL Hose |  |  | m |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 636 |  | MFFQ0003 | [6 empty] | NA | NA | 15000 | NA | NA | NA | NA | 63 | NA | 0.425 | NA | NA | NA | NA
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Hose Reel Cabinet |  |  | Hose Reel Cabinet |  | MFFI0001 | Hose Cabinet Stand |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0001 | [6 empty] | NA | NA | 750 | 250 | 600 | MS Sheet | NA | NA | NA | NA | NA | NA | NA | NA | 1. Cabinet shall be fabricated by M.S. sheet of 1.626mm. 2. Hose cabinet shall have glass fronted door fitted with 4mm thick clear glass & powder coated finish of red outside & white inside. 3. Cabinet shall be suitable for stand mounting and shall have built in breakable glass type feature to keep key.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Hose Reel Drum |  |  | Hose Reel Drum - Swinging type |  | MFFI0007 | Secondary |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 884 | [8 empty] | NA | NA | NA | NA | NA | NA | NA | 500 | NA | NA | NA | NA | NA | NA | 1. It shall be painted with red, http://www.tradeindia.com/fp1987370/First-Aid-Hose-Reel-Drum.html
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Shutter |  |  | Fire Duct Shutter |  | MFFI0005 | Fire Duct Shutter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0005 | [6 empty] | NA | NA | NA | 900 | 1500 | MS Sheet | NA | NA | NA | NA | NA | NA | NA | NA | 1.Shutter shall be fabricated by M.S. sheet of 1.626mm with glass-fronted door (glass shall be 4mm thick). 2.The door shall be in two leaves with necessary stiffeners. 3. Shutter shall be powder coated finish of red outside and white inside 4. Glass shall be labeled “FIRE” with min. 75 mm height. 5. There shall be built in breakable glass type feature to keep key.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Valve |  |  | Double headed hydrant Valve |  | MFFI0009 | Secondary |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 5290 |  | MFFQ0009 | [6 empty] | 100 | 63 | NA | NA | NA | Gun Metal | NA | NA | NA | NA | NA | NA | NA | NA | The valves shall be complete with hand wheels, quick coupling connections, springs and blank caps.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Valve |  |  | Single Headed Hydrant Valve |  | MFFI0004 | Single Headed Hydrant Valve |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 5290 |  | MFFQ0004 | [6 empty] | 80 | 63 | NA | NA | NA | Gun Metal | NA | NA | NA | NA | NA | NA | NA | NA | The valves shall be complete with hand wheels, quick coupling connections, springs and blank caps.
Secondary | Fire Fighting System | Fire Fighting | Hydrants | Branch Pipe |  |  | Short Branch Pipe |  | MFFI0002 | Short Branch Pipe |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IS 903 |  | MFFQ0002 | [6 empty] | 63 | 42.5 | 200 | NA | NA | Gun Metal | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Fire Fighting System | Public Address System | Hooter |  |  |  | Hooter |  | MFFI0018 | Hooter |  | Red | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BFF0001, BFF0002, BFF0003, BFF0004, BFF0005, BFF0006 |  |  |  |  | No | [9 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 82 | 75 | Horn / Strobe rated at 82 dBA @ 3m for Audible annunciation and 75cd flashing at 1 Hz for visual indication.
Secondary | Fire Fighting System | Public Address System | Manual Pull Station |  |  |  | Manual Pull Station |  | MFFI0017 | Manual Pull Station |  |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BFF0012, BFF0007, BFF0008, BFF0009, BFF0010, BFF0011 |  |  |  |  | No | [9 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Secondary | Fire Fighting System | Public Address System | Strobe |  |  |  | Strobe |  | MFFI0018 | Strobe |  | Red | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | 82 | 75 | Horn / Strobe rated at 82 dBA @ 3m for Audible annunciation and 75cd flashing at 1 Hz for visual indication.
Secondary | Fire Fighting System | Signage | Fire Order |  |  |  | PVC Foam Board Signage Board |  |  | PVC Foam Board Signage Board for Fire Order |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0010 | [6 empty] | NA | NA | NA | 914.4 | 1219.2 | PVC Foam board | 3 | NA | NA | NA | NA | NA | NA | NA | " FIRE ORDER" should contain the following matter of computerized cut, PVC non-reflective self adhesive vinyl painted foam board A) ALERT THE SECURITY AT SECURITY ROOM BY ACTUATING MANUAL CALL POINT LOCATED AT STRATEGIC LOCATIONS. B) EVACUATE THE OCCUPANTS BY USING FIRE EXITS AND EMERGENCY EXITS ONLY AND ASSEMBLE AT VARIOUS ASSEMBLY POINTS. C) IF POSSIBLE TRY TO EXTINGUISH THE FIRE BY USING NEAREST / SUITABLE PORTABLE EXTINGUISHER OR WATER FROM NEAREST WET RISER. D) BE CALM AND DO NOT GIVE ANY ROOM FROM PANIC, WALK, DO NOT RUN. E) IF YOU ENCOUNTER SERIOUS DIFFICULTY IN EVACUATION, FLAT AND TRY TO ATTRACT ATTENTION OF RESCUE TEAM. ACTION BY SECURITY/RECEPTION UPON RECEIPT OF INFORMATION THROUGH FIRE ALARM ORFIRE DETECTORS OR BY USING PUBLIC ADDRESS SYSTEM. A) ALERT THE OCCUPANTS BY USING PUBLIC ADDRESS SYSTEM. B) INFORM FIRE CONTROL THROUGH ANY ONE OF THE FOLLOWING PHONE NUMBERS: 101 / 2251780 / 2251781 / 2251782. C) REFER EVACUATION PLAN FROM EVACUATING STANDARD PEOPLE. D) GUIDE THE FIRE FORCE, ON THEIR ARRIVAL TO THE SEAT OF FIRE. E) IN CASE OF THE CASUALTIES, CALL AMBULANCE BY DIALLING NUMBER…….. FIRE FIGHTING AGNECY ------------------------------- PHONE : ----------------------- FAX : ----------------------------
Secondary | Fire Fighting System | Signage | Floor Exit Direction |  |  |  | PVC Foam Board Signage Board |  |  | PVC Foam Board Signage Board for Floor Exit Direction |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0010 | [6 empty] | NA | NA | NA | NA | NA | PVC Foam board | 3 | NA | NA | NA | NA | NA | NA | NA | Floor exit direction signage at each corridor to stairs.,
Secondary | Fire Fighting System | Signage | Floor Identification |  |  |  | PVC Foam Board Signage Board |  |  | PVC Foam Board Signage Board for Floor Identification |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0010 | [6 empty] | NA | NA | NA | 150 | 600 | PVC Foam board | 3 | NA | NA | NA | NA | NA | NA | NA | Floor identification signage ( i.e., GROUND FLOOR …etc.) at each stair enclosure on every floor, indicating the floor number in words, lettering size shall be 7.5 cm with contrasting color from back ground.
Secondary | Fire Fighting System | Signage | General |  |  |  | PVC Foam Board Signage Board |  |  | PVC Foam Board Signage Board at Manual Call Point |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | NA |  | MFFQ0010 | [6 empty] | NA | NA | NA | 250 | 300 | PVC Foam board | 3 | NA | NA | NA | NA | NA | NA | NA | Signage with printed "IN CASE OF FIRE, USE STAIRS UNLESS INSTRUCTED OTHERWISE" of 1.5cm height letters in red with white back ground.

## Brand Master
Brand Code | Manufacturer's Name | Brand/Series | Manufacturer's Code | Manufacturer's Specification | Material Safety Data Sheet | Technical Drawing | 3D model | Country of Manufacture | Warranty Period in Years | Status | Approved Vendors | Shelf Life in Days | Packing List
BFF0001 | Notifier | Hooter | 1 | [6 empty] | Approved | 3041
BFF0002 | EST | Hooter | 2 | [6 empty] | Approved | 3041
BFF0003 | Simplex | Hooter | 3 | [6 empty] | Approved | 3041
BFF0004 | Honeywell | Hooter | 4 | [6 empty] | Approved | 3041
BFF0005 | Siemens | Hooter | 5 | [6 empty] | Approved | 3041
BFF0006 | Secutron | Hooter | 6 | [6 empty] | Approved | 3041
BFF0007 | Notifier | Manual Pull Station | 1 | [6 empty] | Approved | 3041
BFF0008 | EST | Manual Pull Station | 2 | [6 empty] | Approved | 3041
BFF0009 | Simplex | Manual Pull Station | 3 | [6 empty] | Approved | 3041
BFF0010 | Honeywell | Manual Pull Station | 4 | [6 empty] | Approved | 3041
BFF0011 | Siemens | Manual Pull Station | 5 | [6 empty] | Approved | 3041
BFF0012 | Secutron | Manual Pull Station | 6 | [6 empty] | Approved | 3041