## HVAC
Classification | [6 empty] | General | [12 empty] | Purchase | [7 empty] | Planning |  |  |  | Quality |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit Of Measure | HSN Code | SAP Code | Part of eBuild Library | Generic | Manufactured | Material Status | Quantity Evaluation Method | General PO Terms & Conditions | Special PO Terms & Conditions | Last Purchase Rate | Weighted Average Purchase Rate | Procurement Rate Threshold % | Approved Brands | Approved Vendors | PO Lead Time in Days | Delivery Lead Time in Days | Minimum Order Quantity | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Air Circulation | Power Consumption | Refrigerant Type | Cooling Capacity | Energy Rating | Weight/UoM | Additional Features
[25 empty] | % | [15 empty] | m³/min | W |  | TR |  | kg
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit |  |  | A.C. Out Door Unit - Daikin, RXYQ8PRY6 |  |  | Nos |  | 1006877 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00001 |  |  |  |  | No | [9 empty] | NA |  | R-410A | 1.7
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit |  | MHVI00001-RXYQ18PRY6 | A.C. Out Door Unit - Daikin, RXYQ18PRY6 |  |  | Nos |  | 1005355 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00002 |  |  |  |  | No | [9 empty] | NA |  | R-410A | 3.8
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit |  |  | A.C. Out Door Unit - Daikin, RXYQ22PRY6 |  |  | Nos |  | 1006502, 2000496 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00003 |  |  |  |  | No | [9 empty] | NA |  | R-410A | 4.7
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit |  |  | VRF - Indoor Unit |  |  | AC Indoor Unit - Daikin FXMQ80PVE 2.65TR |  |  | Nos |  | 1006499 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00004 |  |  |  |  | No | [9 empty] | 25 |  | NA | 2.65 |  |  | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 25m3/min
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit |  |  | VRF - Indoor Unit |  |  | AC Indoor Unit - Daikin FXMQ100PVE 3.3TR |  |  | Nos |  | 1005356, 2000493 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00005 |  |  |  |  | No | [9 empty] | 32 |  | NA | 3.31 |  |  | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 32m3/min
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit |  |  | VRF - Indoor Unit |  |  | AC Indoor Unit Daikin FXDQ63NBVE 2.08TR |  |  | Nos |  | 1005357, 2000494 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00006 |  |  |  |  | No | [9 empty] | 16.5 |  | NA | 2.08 |  |  | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 16.5m3/min
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit |  |  | VRF - Indoor Unit |  |  | AC Indoor Unit -Daikin FXDQ50NBVE 1.65TR |  |  | Nos |  | 1005358, 2000495 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00007 |  |  |  |  | No | [9 empty] | 12.5 |  | NA | 1.65 |  |  | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 12.5m3/min
Secondary | HVAC | Air Conditioning | VRF | Refnet Joint |  |  | Refnet Joint |  | MHVI00002-refnet joint | AC Refnet Joints - KHRP26A22T |  |  | Nos |  | 1005362 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00008 |  |  |  |  | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | VRF | Refnet Joint |  |  | Refnet Joint |  | MHVI00002-refnet joint | AC Refnet Joints - KHRP26A33T |  |  | Nos |  | 1005363 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00009 |  |  |  |  | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | VRF | Refnet Joint |  |  | Refnet Joint |  | MHVI00002-refnet joint | AC Refnet Joints - KHRP26A72T |  |  | Nos |  | 1005364 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00010 |  |  |  |  | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Remote Controller |  |  | Remote Controller |  |  | Remote Controller - Cordless , Daikin |  |  | Nos |  | 1005360 | No | No | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Magnetic Contactor |  |  | Magnetic Contactor |  |  | Magnetic Contactor Part No 1385975 - AC 220-240V |  |  | Nos |  | 2007167 | No | No | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Printed Circuit Assembly |  |  | Printed Circuit Assembly |  |  | Printed Circuit( Reverse Phase Protect) |  |  | Nos |  | 2007168 | No | No | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Thermistor Assembly |  |  | Thermistor Assembly |  |  | Thermistor Assy Part No 1716346 |  |  | Nos |  | 2007169 | No | No | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Reactor |  |  | Reactor |  |  | Reactor Part No 1679308 |  |  | Nos |  | 2007170 | No | No | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Wire Harness Assembly |  |  | Wire Harness Assembly |  |  | Wire Hardness Assy ( Comp) - 1716339 |  |  |  |  | 2007171 | No | No | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Wire Harness Assembly |  |  | Wire Harness Assembly |  |  | Wire Hardness Assy - 1716795 |  |  |  |  | 2007172 | No | No | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Thermistor Assembly |  |  | Thermistor Assembly |  |  | Thermistor Assy - 1717729 |  |  | Nos |  | 2007173 | No | No | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe |  |  | 34.9mm OD CU Pipe (Insult-13mm thk) |  |  | m |  | 2003822 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe |  |  | 19.1mm OD CU Pipe (Insult-13mm thk) |  |  | m |  | 2003823 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe |  |  | 15.9mm OD CU Pipe (Insult-13mm thk) |  |  | m |  | 2003825 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe |  |  | 12.7mm OD CU Pipe (Insult-13mm thk) |  |  | m |  | 2003826 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe |  |  | 9.5mm OD CU Pipe (Insult-13mm thk) |  |  | m |  | 2003827 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Air Conditioning | Accessories | Copper Pipe |  |  | Copper Pipe |  |  | 6.4mm OD CU Pipe (Insult-13mm thk) |  |  | m |  | 2003828 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [9 empty] | NA | NA | NA | NA | NA
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan |  |  | 2500cfm-40mm wg exhaust fan-3kw motor |  |  | Nos |  | 2003833 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [10 empty] | 3000 | NA | NA | NA
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan |  |  | 800cfm-50mm wg exhaust fan-1.5kw motor |  |  | Nos |  | 2003834 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [10 empty] | 1500 | NA | NA | NA
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan |  |  | 3000cfm-40mmwg exhaust fan-3kw motor |  |  | Nos |  | 2003835 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [10 empty] | 3000 | NA | NA | NA
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan |  |  | 500cfm-20mmwg exhaust fan-0.5kw motor |  |  | Nos |  | 2003836 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [10 empty] | 500 | NA | NA | NA
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit |  |  | A.C. Out Door Unit - Daikin, RXYQ16PRY6 |  |  | Nos |  | 1005378 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00011 |  |  |  |  | No | [11 empty] | R-410A | 3.4
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit |  |  | VRF - Indoor Unit |  |  | AC Indoor Unit Daikin FXLQ63MAVE 2.05TR |  |  | Nos |  | 1006535 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00012 |  |  |  |  | No | [12 empty] | 2.08 |  |  | Power Supply - Single Phase, 220-240V, 50 Hz Casing - Galvanised Steel Plate Airflow Rate - 16m3/min
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit |  |  | DAIKIN-VRV/HIBRID AIR-CONDT-RXYQ16PY16 |  |  |  |  | 750121 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00013 |  |  |  |  | No | [11 empty] | R-410A | 3.4
Secondary | HVAC | Air Conditioning | Split | Wall Mounted |  |  | Split AC |  |  | DAIKIN 5 STAR AIRCONDITIONER -FTC50QRV16 |  |  |  |  | 2009804 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00014 |  |  |  |  | No | [9 empty] | 18.1 | 1605 | R-32 | 1.5 | 5 Star
Secondary | HVAC | Air Conditioning | Ducted |  |  |  | Ducted AC |  | MHVI00003-fdmg30nuvi | Ductable AC- FDMG30NUVI - Daikin |  |  | Nos |  | 2004474 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00018 |  |  |  |  | No | [9 empty] | 34 |  | R-22 | 2.5 |  | 51 | Middle Static Pressure, Auto start after power failure, Switchable fan speed
Secondary | HVAC | Air Conditioning | Split | Wall Mounted |  |  | Split AC |  |  | Split A.C Inverter -FTKD 60 - Daikin |  |  | Nos |  | 2005190 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00015 |  |  |  |  | No | [9 empty] | 17.5 | 2100 | R-22 | 1.77 |  |  | DC Invertor Technology, 17.5 m3/min Power Supply - Single Phase, 230V, 50Hz
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit |  |  | A.C. Out Door Unit - Daikin, RXYQ10PRY6 |  |  |  |  | 2001432 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00016 |  |  |  |  | No | [11 empty] | R-410A | 2.1
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit |  |  | VRF - Indoor Unit |  |  | AC Indoor Unit -Daikin FXMQ125PVE 4.16TR | [5 empty] | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00017 |  |  |  |  | No | [12 empty] | 4.16
Secondary | HVAC | Air Conditioning | Split | Wall Mounted |  |  | Split AC |  | MHVI00004-LSA6NR3F | Wall Mounted Split AC- LSA6NR3F- LG |  |  | Nos |  | 2003620 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00022 |  |  |  |  | No
Secondary | HVAC | Air Conditioning | Ducted |  |  |  | Ducted AC |  | MHVI00005-LBNG0307QC | Ductable AC- LBNG0307QC - LG |  |  | Nos |  | 2004475 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00024 |  |  |  |  | No | [10 empty] | 3700 | R-22 | 3
Secondary | HVAC | Air Conditioning | Split | Wall Mounted |  |  | Split AC |  | MHVI00005-LBNG0307QC | Wall Mounted Split AC-LSA5NR3F-LG |  |  | Nos |  | 2003604 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00023 |  |  |  |  | No | [11 empty] | R-22 | 1.5 | 3 Star
Secondary | HVAC | Air Conditioning | Accessories | Remote Controller |  |  | Remote Controller |  | MHVI00006-LSA5NR3F | Remote Controller BRC7C613W |  |  | Nos |  | 2001432 | No | No | Yes | Under Development |  | MSPO01 |  |  |  |  | BHV00025 |  |  |  |  | No | [11 empty] | NA
Secondary | HVAC | Air Conditioning | VRF | Outdoor Unit |  |  | VRF - Outdoor Unit |  |  | TOSHIBA, ODU, MCY MAP0804HT8 |  |  | Nos |  | 2002066 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00019 |  |  |  |  | No | [12 empty] | 6.4 |  |  | 3-phase 4 wires 50Hz 380V-415V
Secondary | HVAC | Air Conditioning | VRF | Indoor Unit |  |  | VRF - Indoor Unit |  |  | TOSHIBA, IDU, MMD-AP0304BH-E |  |  | Nos |  | 2002067 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00020 |  |  |  |  | No | [9 empty] | 21 | 71 | R410A | 2.6 |  | 39
Secondary | HVAC | Air Conditioning | Accessories | Remote Controller |  |  | Remote Controller |  |  | Remote Controller, Toshiba : TCBAX21E2 |  |  | Nos |  | 2002072 | No | No | Yes | Approved |  | MSPO01 |  |  |  |  | BHV00021 |  |  |  |  | No | [11 empty] | NA | NA
Secondary | HVAC | Ventilation | Exhaust Fan |  |  |  | Exhaust Fan |  |  | Fan Make cata |  |  | Nos |  | 1007454 | No | Yes | Yes | Under Development |  | MSPO01 | [9 empty] | No | [11 empty] | NA | NA

## Brand Master
Brand Code | Manufacturer's Name | Brand/Series | Manufacturer's Code | Manufacturer's Specification | Material Safety Data Sheet | Technical Drawing | 3D model | Country of Manufacture | Warranty Period in Years | Status | Approved Vendors | Shelf Life in Days | Packing List
BHV00001 | Daikin | VRV III | RXYQ8PRY6 |  |  |  |  | India |  |  | 1213
BHV00002 | Daikin | VRV III | RXYQ18PRY6 |  |  |  |  | India |  |  | 1213
BHV00003 | Daikin | VRV III | RXYQ22PRY6 |  |  |  |  | India |  |  | 1213
BHV00004 | Daikin | VRV III | FXMQ80PVE |  |  |  |  | India |  |  | 1213
BHV00005 | Daikin | VRV III | FXMQ100PVE |  |  |  |  | India |  |  | 1213
BHV00006 | Daikin | VRV III | FXDQ63NBVE |  |  |  |  | India |  |  | 1213
BHV00007 | Daikin | VRV III | FXDQ50NBVE |  |  |  |  | India |  |  | 1213
BHV00008 | Daikin | Daikin | KHRP26A22T |  |  |  |  | India |  |  | 1213
BHV00009 | Daikin | Daikin | KHRP26A33T |  |  |  |  | India |  |  | 1213
BHV00010 | Daikin | Daikin | KHRP26A72T |  |  |  |  | India |  |  | 1213
BHV00011 | Daikin | VRV III | RXYQ16PRY6 |  |  |  |  | India |  |  | 1213
BHV00012 | Daikin | VRV III | FXLQ63MAVE |  |  |  |  | India |  |  | 1213
BHV00013 | Daikin | VRV III | RXYQ16PRY16 |  |  |  |  | India |  |  | 1213
BHV00014 | Daikin | FTC | FTC50 RC50 | MHVM00002-FTC50 |  |  |  | India |  |  | 1213
BHV00015 | Daikin | FTKD | FTKD60VSM, RKD60BVM | MHVM00003-FTKD60 |  |  |  | India |  |  | 1213
BHV00016 | Daikin | VRV III | RXYQ10PRY6 |  |  |  |  | India |  |  | 1213
BHV00017 | Daikin | VRV III | FXMQ125PVE |  |  |  |  | India |  |  | 1213
BHV00018 | Daikin | FDMG | FDMG30NUVI |  |  |  |  | India
BHV00019 | Toshiba | SMME | MCY-MAP0804HT8 |  |  |  |  | India
BHV00020 | Toshiba | SMME | MMD-AP0304BH-E | MHVM00004-MMD-AP0304BH-E |  |  |  | India
BHV00021 | Toshiba |  | TCBAX21E2 |  |  |  |  | India
BHV00022 | LG |  | LSA6NR3F |  |  |  |  | India
BHV00023 | LG |  | LSA5NR3F |  |  |  |  | India
BHV00024 | LG |  | LBNG0307QC | MHVM00001-LBNG0307QC
BHV00025 | Daikin |  | BRC7C613W