## HA-TW
Classification | [6 empty] | General | [12 empty] | Purchase | [7 empty] | Planning |  |  |  | Quality |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit of Measure | HSN Code | SAP Code | Part of eBuild Library | Generic | Manufactured | Material Status | Quantity Evaluation Method | General PO Terms & Conditions | Special PO Terms & Conditions | Last Purchase Rate | Weighted Average Purchase Rate | Procurement Rate Threshold % | Approved Brands | Approved Vendors | PO Lead Time in Days | Delivery Lead Time in Days | Minimum Order Quantity | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Length | Width | Height | Depth | Thickness | Connectivity | Number of Zones | Number of Channels | Screen Size | Additional Features | Weight/UoM
[25 empty] | % | [15 empty] | mm | mm | mm | mm | mm |  |  |  | in |  | kg
Secondary | Home Automation | Comfort & Convenience | Pump Module |  |  |  | Pump Module |  |  | Pump Module | NA |  | Nos |  | 2000389 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00001 |  |  |  |  | No
Secondary | Home Automation | Comfort & Convenience | Curtain Motor |  |  |  | Curtain Motor |  | MHAI0001-GLYDEA_35 | Motor for Curtain Control - Somfy Glydea | NA |  | Nos |  | 2000165 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00002 |  |  |  |  | No | [18 empty] | Average linear speed - 20 cm/s
Secondary | Home Automation | Controller | Expander Module |  |  |  | Expander Module |  | MHAI0002-PC5108 | 8 hardwire zone expander module DSC - PC 5108 | NA |  | Nos |  | 2004999, 1006931 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00003 |  |  |  |  | No | [15 empty] | 8 hardwired zones |  |  | Adds 8 hardwire zones
Secondary | Home Automation | Controller | Master Controller |  |  |  | Master Controller |  |  | Main Control Unit | NA |  | Nos |  | 2001432 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00004 |  |  |  |  | No
Secondary | Home Automation | Controller | Master Controller |  |  |  | Master Controller |  |  | Master Controller | NA |  | Nos |  | 2000388 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00005 |  |  |  |  | No
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  | MHAI0012-FG606-01 | Dimmer lighting solutions 6 Channel -AMX | NA |  | Nos |  | 1006297 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00006 |  |  |  |  | No | [16 empty] | 6 |  | 1. To deliver digital dimming control to Radial Modules from six control ports, as well as onboard system processing, networking, and non-volatile preset memory. 2. To drives all channels using the same power phase. 3. To store 128 onboard presets, each should use unique fade time 4. Ramps using programmable fade time, from 0 to 255 seconds. 5. To provide up to 16 different dimming curves for precision control 6. To creates system-wide and zoned presets.
Secondary | Home Automation | Entrance Management | Lock | Digital |  |  | Biometric Mortise |  | MHAI0003-YDM4109 | Biometric Digital Lock , Yale 4109 | NA |  | Nos |  | 2004996, 1006464 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00007 |  |  |  |  | No | [18 empty] | One touch Fingerprint Verification Method (Progressive Scan) Automatic Locking Voice Guide Feature Smart Touchpad Scramble code Easy registration of keys Missing key invalidation Emergency Mechanical Key Anti-panic egress with Safe handle Automatic Alarm (Break-in/Damage) Low-battery alarm and emergency power supply terminal
Secondary | Home Automation | Entrance Management | Door Camera |  |  |  | Door Camera |  | MHAI0037-amroadp3_black | IP Video Door Camera - SILVAN | NA | Black | Nos |  | 2004995 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00008 |  |  |  |  | No
Secondary | Home Automation | Entrance Management | Door Camera |  |  |  | Door Camera |  | MHAI0036-MET-ECOM-D-SS | Door Camera- Metreau Entry Communicator | NA | Black | Nos |  | 1006293 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00009 |  |  |  |  | No | [10 empty] | 91 | 136 | 40 |  |  |  |  | 1.6 | 1. 2-way VoIP audio to an intercom-enabled Modero Touch Panel 2. OLED display for personalized messaging 3. 1-way video conferencing with any Touch Panel 4. Includes I/Os and Relays that enable guest entry from a Modero Touch Panel 5. Dual-color LED button provides feedback and doorbell notification 6. Small form factor and shallow depth make for easy installation 7. VoIP integration allows an unlimited number of entry communicators to be accommodated per system 8. Camera angle can be easily positioned during installation to allow viewing of guests at door or gate 9. Power over Ethernet | 0.4
Secondary | Home Automation | Entrance Management | Door Camera |  |  |  | Door Camera |  | MHAI0004-SHT-CN510 | Door Camera Samsung - SHT-CN510 | NA |  | Nos |  | 2000392 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00010 |  |  |  |  | No
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  |  | Light Control Module Dimmer-LED | NA |  | Nos |  | 2001432 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00011 |  |  |  |  | No
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  |  | 4 channel Incandescent dimmer-DM4120 | NA |  | Nos |  | 2005006 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00012 |  |  |  |  | No | [16 empty] | 4 |  | 4 Channel
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  |  | 4 channel LED/CFL Dimmer - DM4412 | NA |  | Nos |  | 2005007 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00013 |  |  |  |  | No | [16 empty] | 4
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  | MHAI0010-DDLE802 | 8 Channel Dimmer - Philips | NA |  | Nos |  | 2000413 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00014 |  |  |  |  | No | [16 empty] | 8
Secondary | Home Automation | Networking | Terminal Adaptor |  |  |  | Terminal Adapter Module |  |  | Terminal Adaptor Module | NA |  | Nos |  | 2005031 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00015 |  |  |  |  | No
Secondary | Home Automation | Networking | Rack |  |  |  | Network Rack |  | MHAI0034-wm_racks | Network Rack - 15U, Floor Mounted | NA | Grey | Nos |  | 2005008, 1002363 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00016 |  |  |  |  | No | [18 empty] | Basic Frame : Steel Frame of 600mm H x 600mm W and Glass door. Powder coated with U Marking. Rack consists of : 1) Horizontal Cable Organisers 2) Power distribution units 3) Cantiliver Shelf 4) 2 nos. of Fan tray with Fans 5) Mounting hardwares. 6) Glass door 7) Castor wheels - 2nos with brake & 2 nos without brake
Secondary | Home Automation | Networking | Network Switch |  |  |  | Network Switch |  | MHAI0035-SG300-20 | 20 P Gigabit Switch W/Power Supply-Cisco | NA |  | Nos |  | 2005032, 1007899 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00017 |  |  |  |  | No | [18 empty] | With Power Supply Managed 18 x 10/100/1000 + 2 x combo Gigabit SFP
Secondary | Home Automation | Power Supply | Charging Station |  |  |  | Charging station |  | MHAI0033-MVP-WCS-52 | Wall Charging Station for touch panel | NA | Black | Nos |  | 1006292 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00018 |  |  |  |  | No | [10 empty] | 162 | 225 | 56 | [5 empty] | Front Panel Components 1. Securing Magnets: To Secure MVP touch panel during ejection 2. Security Latch: To Add the primary layer of security when mounting an MVP touch panel. When the device is inserted, this latch should grab onto the rear of the touch panel and secure it to prevent it from inadvertently being removed. 3. Interface Connector Pins: A set of retractable pins (male) that connect to the underside MVP connector strip. This connection to provide both communication and power between the touch panel and the MVP-WCS-52 4. Support Cradle: This retractable mechanism to support a resting MVP panel and allows a user to either insert or remove a connected MVP panel. 5. Security Release pushbutton: Located on the front of the unit, this pushbutton to toggle an on-screen security keypad if security is enabled.(On entering the correct release code the MVP-WCS-52 to release the touch panel from the security latch)
Secondary | Home Automation | Safety and Security | Speech Dialler |  |  |  | Autodialler |  | MHAI0013-SD 2000 | Auto Dialler with Relay, Make : Securico | NA |  | Nos |  | 2005002, 1007139 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00019 |  |  |  |  | No | [18 empty] | 13 key onboard backlit keypad 3 Messages - intrusion, fire, special help Message duration - 20 sec 45 telephone numbers
Secondary | Home Automation | Networking | Serial Interface |  |  |  | Serial Interface |  | MHAI0005-ADAM-4561 | USB RS-485 Interface (USB to RS 485 convertor) | NA |  | Nos |  | 2000390 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00020 |  |  |  |  | No | [18 empty] | Meets full compliance with USB V1.1 Specifications. RS-232/422/485 port supported. Transmission speed up to 115.2kbps. Isolation protection 3,000 Vdc. Plug & Play installation, no external power needed. Hot Swap function supported
Secondary | Home Automation | Safety and Security | Sensor | Magnetic Contact |  |  | Magnetic Contact |  | MHAI0006-SEC MS4 | Magnetic Contact - Securico | NA |  | Nos |  | 2000398, 1007048 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00021 |  |  |  |  | No | [14 empty] | Wired |  |  |  | 4 wire Tamper loop Opening gap 15 mm
Secondary | Home Automation | Safety and Security | Sensor | Motion |  |  | Pet Immune Motion Sensor |  | MHAI0007-BV-600_BV-601_BV-602 | Pet Immune PIR Motion Sensors | NA |  | Nos |  | 2005003 1005309 2007316 2000401 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00022, BHA00023, BHA00024 |  |  |  |  | No | [14 empty] | Wired |  |  |  | Passive Infrared Based Pet Immune
Secondary | Home Automation | Safety and Security | Sensor | Heat |  |  | Heat Detector |  | MHAI0008-5351E | Heat Detector System Sensor | NA |  | Nos |  | 2000406, 2003146 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00025 |  |  |  |  | No | [18 empty] | Rate of rise and fixed temperature thermal detector
Secondary | Home Automation | Safety and Security | Sensor | Motion |  |  | Standalone Ceiling Mounted Motion Sensor |  |  | Occupation Sensor-Securico | NA |  | Nos |  | 2000412 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00026 |  |  |  |  | No | [18 empty] | Can independently switch electrical load of up to 400W Can switch heavier electrical load by connecting additional relay /s. Dual Element Pyro Electric sensor Detection angle 360° Detection range 6m at 3m height at 25°C Sealed optics Sensitivity control Lux (Light) level control for operation Device on Time control from 10 seconds to 35 minutes
Secondary | Home Automation | Safety and Security | Sensor | Gas |  |  | Gas Leakage Detector |  | MHAI0032-true-Safe TS12R | Gas Leakage Detector-TS12R-True Safe | NA |  | Nos |  | 2003147 2000404 1007051 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00027 |  |  |  |  | No | [18 empty] | With Relay With Heat Detector
Secondary | Home Automation | Safety and Security | Panic Switch |  |  |  | Panic Switch |  | MHAI0031-Panic Switch - Securico | Panic Button | NA |  | Nos |  | 2000403, 1007049 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00028 |  |  |  |  | No | [18 empty] | Automatic Reset Tamper Switch
Secondary | Home Automation | User Interface | Keypad |  |  |  | Keypad |  | MHAI0030-MET-13-BL - AMX | Keypad - Metreau 13 button, Make: AMX | NA | Black | Nos |  | 1006296 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00029 |  |  |  |  | No | [18 empty] | 1. AxLink connectivity to NetLinx master. 2. Standard buttons include 1-9, 0, ENTER, SAVE, and +/- 3. Blue LEDs glow to indicate button selection. 4. To match the NI-3101-SIG Controller. 5. Bottom button to act as a single button or as two buttons.
Secondary | Home Automation | Controller | Intrusion Control Panel |  |  |  | Intrusion Control Panel |  | MHAI0016-PC1864 | Intrusion Control Panel with transformer | NA |  | Nos |  | 2004998 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00030 |  |  |  |  | No | [15 empty] | 8 on-board zones, Expandable to 64 hardwired zones, Expandable to 64 wireless zones |  |  | 4 PGM outputs: expandable to 14 (PC5204, PC5208) Template programming Connect up to 8 supervised keypads 8 partitions 500-event buffer 95 user codes CP-01 compliant Supports wire free keypads with TR5164-433 transceiver Compatible with leading edge interactive services supported by DSC
Secondary | Home Automation | Networking | Integration Module |  |  |  | Serial Integration Module |  | MHAI0017-IT-100 | Power series Bi-directional-RS232 | NA |  | Nos |  | 2005005, 1007140 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00031 |  |  |  |  | No | [18 empty] | Bi-directional RS-232 interface 4-wire hook-up to KEYBUS
Secondary | Home Automation | Safety and Security | Alarm |  |  |  | Surface Mounted Siren |  | MHAI0011-DSC - SD15W | Hooter, Make : DSC | NA |  | Nos |  | 2005001, 1007053 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00032 |  |  |  |  | No | [18 empty] | Dual Tone - Yelp & Steady Surface Mounted Power - 15W
Secondary | Home Automation | Safety and Security | Sensor | Glass Break |  |  | Glass Break Detector |  |  | Glass Brk Detector | NA |  | Nos |  | 2005004 1006932 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00033, BHA00034 |  |  |  |  | No
Secondary | Home Automation | Safety and Security | Base |  |  |  | Heat Detector Base |  | MHAI0009-B401 | Heat Detector Base | NA |  | Nos |  | 2000406 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00035 |  |  |  |  | No | [18 empty] | intended for use in 2-wire systems
Secondary | Home Automation | Safety and Security | Alarm |  |  |  | Siren |  |  | Siren Securico | NA |  | Nos |  | 2000399 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00036 |  |  |  |  | No | [18 empty] | >90db at 100m
Secondary | Home Automation | User Interface | Touch Panel |  |  |  | Touch Panel |  | MHAI0015-TN-SW20 | Scene Control Touch Panel | NA |  | Nos |  | 2001432 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00037 |  |  |  |  | No
Secondary | Home Automation | User Interface | Subphone |  |  |  | Bedroom Subphone |  | MHAI0029-GK-VIA-E002 | 7 " Wallmounted Android Subphone | NA |  | Nos |  | 2004994 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00038 |  |  |  |  | No | [17 empty] | 7 | OS - Android Interface - Power over Ethernet (POE)
Secondary | Home Automation | User Interface | Subphone |  |  |  | Kitchen Subphone |  | MHAI0014-SHS-7104 | Subphone | NA |  | Nos |  | 2000397 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00039 |  |  |  |  | No
Secondary | Home Automation | User Interface | Touch Panel |  |  |  | Touch Panel |  | MHAI0019-FG5966-01 | Touch Panel Wireless 5.2" , Make- AMX | NA | Gloss Black | Nos |  | 1006291 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00040 |  |  |  |  | No | [17 empty] | 5.2 | Ultra-light, compact and thin form factor Navigation wheel to provide simple (up/down) or sophisticated control (up/down, right/left, select) Full Duplex VoIP Intercom and SIP Telephone Ready. 802.11g WiFi for two-way network communications. Wireless communications to remain secure using WEP, WPA, WPA2, EAP-TLS, EAP-TTLS and PEAP network security standards Enhanced usability with microphone and speakers to be possible. Versatile placement options including integrated kickstand, table charging station and wall charging station. | 0.6
Secondary | Home Automation | User Interface | Subphone |  |  |  | Bathroom Subphone |  | MHAI0018-SHT-BEN120E | Bathphone | NA |  | Nos |  | 2000396 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00041 |  |  |  |  | No

## HomeAutomation
Classification | [6 empty] | General | [12 empty] | Purchase | [7 empty] | Planning |  |  |  | Quality |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit Of Measure | HSN Code | SAP Code | Part of eBuild Library | Generic | Manufactured | Material Status | Quantity Evaluation Method | General PO Terms & Conditions | Special PO Terms & Conditions | Last Purchase Rate | Weighted Average Purchase Rate | Procurement Rate Threshold % | Approved Brands | Approved Vendors | PO Lead Time in Days | Delivery Lead Time in Days | Minimum Order Quantity | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Length | Width | Height | Depth | Thickness | Connectivity | Number of Zones | Number of Channels | Screen Size | Additional Features | Weight/UoM
[41 empty] | mm | mm | mm | mm | mm |  |  |  | in |  | kg
Secondary | Home Automation | Comfort & Convenience | Pump Module |  |  |  | Pump Module |  |  | Pump Module | NA |  | Nos |  | 2000389 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00001 |  |  |  |  | No
Secondary | Home Automation | Comfort & Convenience | Curtain Motor |  |  |  | Curtain Motor |  | MHAI0001-GLYDEA_35 | Motor for Curtain Control - Somfy Glydea | NA |  | Nos |  | 2000165 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00002 |  |  |  |  | No | [18 empty] | Average linear speed - 20 cm/s
Secondary | Home Automation | Controller | Expander Module |  |  |  | Expander Module |  | MHAI0002-PC5108 | 8 hardwire zone expander module DSC - PC 5108 | NA |  | Nos |  | 2004999, 1006931 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00003 |  |  |  |  | No | [15 empty] | 8 hardwired zones |  |  | Adds 8 hardwire zones
Secondary | Home Automation | Controller | Master Controller |  |  |  | Master Controller |  |  | Main Control Unit | NA |  | Nos |  | 2001432 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00004 |  |  |  |  | No
Secondary | Home Automation | Controller | Master Controller |  |  |  | Master Controller |  |  | Master Controller | NA |  | Nos |  | 2000388 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00005 |  |  |  |  | No
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  | MHAI0012-FG606-01 | Dimmer lighting solutions 6 Channel -AMX | NA |  | Nos |  | 1006297 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00006 |  |  |  |  | No | [16 empty] | 6 |  | 1. To deliver digital dimming control to Radial Modules from six control ports, as well as onboard system processing, networking, and non-volatile preset memory. 2. To drives all channels using the same power phase. 3. To store 128 onboard presets, each should use unique fade time 4. Ramps using programmable fade time, from 0 to 255 seconds. 5. To provide up to 16 different dimming curves for precision control 6. To creates system-wide and zoned presets.
Secondary | Home Automation | Entrance Management | Lock | Digital |  |  | Biometric Mortise |  | MHAI0003-YDM4109 | Biometric Digital Lock , Yale 4109 | NA |  | Nos |  | 2004996, 1006464 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00007 |  |  |  |  | No | [18 empty] | One touch Fingerprint Verification Method (Progressive Scan) Automatic Locking Voice Guide Feature Smart Touchpad Scramble code Easy registration of keys Missing key invalidation Emergency Mechanical Key Anti-panic egress with Safe handle Automatic Alarm (Break-in/Damage) Low-battery alarm and emergency power supply terminal
Secondary | Home Automation | Entrance Management | Door Camera |  |  |  | Door Camera |  | MHAI0037-amroadp3_black | IP Video Door Camera - SILVAN | NA | Black | Nos |  | 2004995 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00008 |  |  |  |  | No
Secondary | Home Automation | Entrance Management | Door Camera |  |  |  | Door Camera |  | MHAI0036-MET-ECOM-D-SS | Door Camera- Metreau Entry Communicator | NA | Black | Nos |  | 1006293 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00009 |  |  |  |  | No | [10 empty] | 91 | 136 | 40 |  |  |  |  | 1.6 | 1. 2-way VoIP audio to an intercom-enabled Modero Touch Panel 2. OLED display for personalized messaging 3. 1-way video conferencing with any Touch Panel 4. Includes I/Os and Relays that enable guest entry from a Modero Touch Panel 5. Dual-color LED button provides feedback and doorbell notification 6. Small form factor and shallow depth make for easy installation 7. VoIP integration allows an unlimited number of entry communicators to be accommodated per system 8. Camera angle can be easily positioned during installation to allow viewing of guests at door or gate 9. Power over Ethernet | 0.4
Secondary | Home Automation | Entrance Management | Door Camera |  |  |  | Door Camera |  | MHAI0004-SHT-CN510 | Door Camera Samsung - SHT-CN510 | NA |  | Nos |  | 2000392 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00010 |  |  |  |  | No
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  |  | Light Control Module Dimmer-LED | NA |  | Nos |  | 2001432 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00011 |  |  |  |  | No
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  |  | 4 channel Incandescent dimmer-DM4120 | NA |  | Nos |  | 2005006 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00012 |  |  |  |  | No | [16 empty] | 4 |  | 4 Channel
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  |  | 4 channel LED/CFL Dimmer - DM4412 | NA |  | Nos |  | 2005007 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00013 |  |  |  |  | No | [16 empty] | 4
Secondary | Home Automation | Lighting | Dimmer Module |  |  |  | Light Dimmer |  | MHAI0010-DDLE802 | 8 Channel Dimmer - Philips | NA |  | Nos |  | 2000413 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00014 |  |  |  |  | No | [16 empty] | 8
Secondary | Home Automation | Networking | Terminal Adaptor |  |  |  | Terminal Adapter Module |  |  | Terminal Adaptor Module | NA |  | Nos |  | 2005031 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00015 |  |  |  |  | No
Secondary | Home Automation | Networking | Rack |  |  |  | Network Rack |  | MHAI0034-wm_racks | Network Rack - 15U, Floor Mounted | NA | Grey | Nos |  | 2005008, 1002363 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00016 |  |  |  |  | No | [18 empty] | Basic Frame : Steel Frame of 600mm H x 600mm W and Glass door. Powder coated with U Marking. Rack consists of : 1) Horizontal Cable Organisers 2) Power distribution units 3) Cantiliver Shelf 4) 2 nos. of Fan tray with Fans 5) Mounting hardwares. 6) Glass door 7) Castor wheels - 2nos with brake & 2 nos without brake
Secondary | Home Automation | Networking | Network Switch |  |  |  | Network Switch |  | MHAI0035-SG300-20 | 20 P Gigabit Switch W/Power Supply-Cisco | NA |  | Nos |  | 2005032, 1007899 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00017 |  |  |  |  | No | [18 empty] | With Power Supply Managed 18 x 10/100/1000 + 2 x combo Gigabit SFP
Secondary | Home Automation | Power Supply | Charging Station |  |  |  | Charging station |  | MHAI0033-MVP-WCS-52 | Wall Charging Station for touch panel | NA | Black | Nos |  | 1006292 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00018 |  |  |  |  | No | [10 empty] | 162 | 225 | 56 | [5 empty] | Front Panel Components 1. Securing Magnets: To Secure MVP touch panel during ejection 2. Security Latch: To Add the primary layer of security when mounting an MVP touch panel. When the device is inserted, this latch should grab onto the rear of the touch panel and secure it to prevent it from inadvertently being removed. 3. Interface Connector Pins: A set of retractable pins (male) that connect to the underside MVP connector strip. This connection to provide both communication and power between the touch panel and the MVP-WCS-52 4. Support Cradle: This retractable mechanism to support a resting MVP panel and allows a user to either insert or remove a connected MVP panel. 5. Security Release pushbutton: Located on the front of the unit, this pushbutton to toggle an on-screen security keypad if security is enabled.(On entering the correct release code the MVP-WCS-52 to release the touch panel from the security latch)
Secondary | Home Automation | Safety and Security | Speech Dialler |  |  |  | Autodialler |  | MHAI0013-SD 2000 | Auto Dialler with Relay, Make : Securico | NA |  | Nos |  | 2005002, 1007139 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00019 |  |  |  |  | No | [18 empty] | 13 key onboard backlit keypad 3 Messages - intrusion, fire, special help Message duration - 20 sec 45 telephone numbers
Secondary | Home Automation | Networking | Serial Interface |  |  |  | Serial Interface |  | MHAI0005-ADAM-4561 | USB RS-485 Interface (USB to RS 485 convertor) | NA |  | Nos |  | 2000390 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00020 |  |  |  |  | No | [18 empty] | Meets full compliance with USB V1.1 Specifications. RS-232/422/485 port supported. Transmission speed up to 115.2kbps. Isolation protection 3,000 Vdc. Plug & Play installation, no external power needed. Hot Swap function supported
Secondary | Home Automation | Safety and Security | Sensor | Magnetic Contact |  |  | Magnetic Contact |  | MHAI0006-SEC MS4 | Magnetic Contact - Securico | NA |  | Nos |  | 2000398, 1007048 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00021 |  |  |  |  | No | [14 empty] | Wired |  |  |  | 4 wire Tamper loop Opening gap 15 mm
Secondary | Home Automation | Safety and Security | Sensor | Motion |  |  | Pet Immune Motion Sensor |  | MHAI0007-BV-600_BV-601_BV-602 | Pet Immune PIR Motion Sensors | NA |  | Nos |  | 2005003 1005309 2007316 2000401 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00022, BHA00023, BHA00024 |  |  |  |  | No | [14 empty] | Wired |  |  |  | Passive Infrared Based Pet Immune
Secondary | Home Automation | Safety and Security | Sensor | Heat |  |  | Heat Detector |  | MHAI0008-5351E | Heat Detector System Sensor | NA |  | Nos |  | 2000406, 2003146 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00025 |  |  |  |  | No | [18 empty] | Rate of rise and fixed temperature thermal detector
Secondary | Home Automation | Safety and Security | Sensor | Motion |  |  | Standalone Ceiling Mounted Motion Sensor |  |  | Occupation Sensor-Securico | NA |  | Nos |  | 2000412 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00026 |  |  |  |  | No | [18 empty] | Can independently switch electrical load of up to 400W Can switch heavier electrical load by connecting additional relay /s. Dual Element Pyro Electric sensor Detection angle 360° Detection range 6m at 3m height at 25°C Sealed optics Sensitivity control Lux (Light) level control for operation Device on Time control from 10 seconds to 35 minutes
Secondary | Home Automation | Safety and Security | Sensor | Gas |  |  | Gas Leakage Detector |  | MHAI0032-true-Safe TS12R | Gas Leakage Detector-TS12R-True Safe | NA |  | Nos |  | 2003147 2000404 1007051 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00027 |  |  |  |  | No | [18 empty] | With Relay With Heat Detector
Secondary | Home Automation | Safety and Security | Panic Switch |  |  |  | Panic Switch |  | MHAI0031-Panic Switch - Securico | Panic Button | NA |  | Nos |  | 2000403, 1007049 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00028 |  |  |  |  | No | [18 empty] | Automatic Reset Tamper Switch
Secondary | Home Automation | User Interface | Keypad |  |  |  | Keypad |  | MHAI0030-MET-13-BL - AMX | Keypad - Metreau 13 button, Make: AMX | NA | Black | Nos |  | 1006296 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00029 |  |  |  |  | No | [18 empty] | 1. AxLink connectivity to NetLinx master. 2. Standard buttons include 1-9, 0, ENTER, SAVE, and +/- 3. Blue LEDs glow to indicate button selection. 4. To match the NI-3101-SIG Controller. 5. Bottom button to act as a single button or as two buttons.
Secondary | Home Automation | Controller | Intrusion Control Panel |  |  |  | Intrusion Control Panel |  | MHAI0016-PC1864 | Intrusion Control Panel with transformer | NA |  | Nos |  | 2004998 | No | No | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00030 |  |  |  |  | No | [15 empty] | 8 on-board zones, Expandable to 64 hardwired zones, Expandable to 64 wireless zones |  |  | 4 PGM outputs: expandable to 14 (PC5204, PC5208) Template programming Connect up to 8 supervised keypads 8 partitions 500-event buffer 95 user codes CP-01 compliant Supports wire free keypads with TR5164-433 transceiver Compatible with leading edge interactive services supported by DSC
Secondary | Home Automation | Networking | Integration Module |  |  |  | Serial Integration Module |  | MHAI0017-IT-100 | Power series Bi-directional-RS232 | NA |  | Nos |  | 2005005, 1007140 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00031 |  |  |  |  | No | [18 empty] | Bi-directional RS-232 interface 4-wire hook-up to KEYBUS
Secondary | Home Automation | Safety and Security | Alarm |  |  |  | Surface Mounted Siren |  | MHAI0011-DSC - SD15W | Hooter, Make : DSC | NA |  | Nos |  | 2005001, 1007053 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00032 |  |  |  |  | No | [18 empty] | Dual Tone - Yelp & Steady Surface Mounted Power - 15W
Secondary | Home Automation | Safety and Security | Sensor | Glass Break |  |  | Glass Break Detector |  |  | Glass Brk Detector | NA |  | Nos |  | 2005004 1006932 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00033, BHA00034 |  |  |  |  | No
Secondary | Home Automation | Safety and Security | Base |  |  |  | Heat Detector Base |  | MHAI0009-B401 | Heat Detector Base | NA |  | Nos |  | 2000406 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00035 |  |  |  |  | No | [18 empty] | intended for use in 2-wire systems
Secondary | Home Automation | Safety and Security | Alarm |  |  |  | Siren |  |  | Siren Securico | NA |  | Nos |  | 2000399 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00036 |  |  |  |  | No | [18 empty] | >90db at 100m
Secondary | Home Automation | User Interface | Touch Panel |  |  |  | Touch Panel |  | MHAI0015-TN-SW20 | Scene Control Touch Panel | NA |  | Nos |  | 2001432 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00037 |  |  |  |  | No
Secondary | Home Automation | User Interface | Subphone |  |  |  | Bedroom Subphone |  | MHAI0029-GK-VIA-E002 | 7 " Wallmounted Android Subphone | NA |  | Nos |  | 2004994 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00038 |  |  |  |  | No | [17 empty] | 7 | OS - Android Interface - Power over Ethernet (POE)
Secondary | Home Automation | User Interface | Subphone |  |  |  | Kitchen Subphone |  | MHAI0014-SHS-7104 | Subphone | NA |  | Nos |  | 2000397 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00039 |  |  |  |  | No
Secondary | Home Automation | User Interface | Touch Panel |  |  |  | Touch Panel |  | MHAI0019-FG5966-01 | Touch Panel Wireless 5.2" , Make- AMX | NA | Gloss Black | Nos |  | 1006291 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00040 |  |  |  |  | No | [17 empty] | 5.2 | Ultra-light, compact and thin form factor Navigation wheel to provide simple (up/down) or sophisticated control (up/down, right/left, select) Full Duplex VoIP Intercom and SIP Telephone Ready. 802.11g WiFi for two-way network communications. Wireless communications to remain secure using WEP, WPA, WPA2, EAP-TLS, EAP-TTLS and PEAP network security standards Enhanced usability with microphone and speakers to be possible. Versatile placement options including integrated kickstand, table charging station and wall charging station. | 0.6
Secondary | Home Automation | User Interface | Subphone |  |  |  | Bathroom Subphone |  | MHAI0018-SHT-BEN120E | Bathphone | NA |  | Nos |  | 2000396 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BHA00041 |  |  |  |  | No

## Brand Master
Brand Code | Manufacturer's Name | Brand/Series | Manufacturer's Code | Manufacturer's Specification | Material Safety Data Sheet | Technical Drawing | 3D model | Country of Manufacture | Warranty Period in Years | Status | Approved Vendors | Shelf Life in Days | Packing List
BHA00001 | SILVAN | SHINE RMB
BHA00002 | Somfy | Glydea | GLYDEA 35
BHA00003 | DSC | PowerSeries | PC5108
BHA00004 | Silvan |  | XA 2030
BHA00005 | Silvan |  | Shine At zi
BHA00006 | AMX | AMX | FG606-01
BHA00007 | Yale | Yale | YDM4109
BHA00008 | Amroad | Amroad P3 | DB3100R-FM-BA
BHA00009 | AMX | AMX | FG2180-05-BK | MHAM00008-MET-ECOM-D | [8 empty] | 1. Front mount flange 2. 4 installation screws (#4-40 x 3.12) 3. 2 Phoenix connectors (female, 3.5mm) and a Ferrite clip
BHA00010 | Samsung |  | SHT-CN510
BHA00011 | Silvan | Silvan | DM 4400
BHA00012 | Silvan | Silvan | Dm 4120
BHA00013 | Silvan | Silvan | DM 4412
BHA00014 | Philips | Philips | DDLE802 | MHAM00005-DDLE802
BHA00015 | Silvan | Silvan | TAM1
BHA00016 | Netrack | WM Series
BHA00017 | Cisco | SG 300 -20 | SRW2016-K9-NA
BHA00018 | AMX | AMX | MVP-WCS-52 | [9 empty] | 1. Wallmount Plastic Conduit Box (EMA5966-13) 2. MVP-WCS-52 Installation Kit - Black (KA5966-01bl) 3. MVP-WCS-52 Installation Kit - White (KA 5966-01wh)
BHA00019 | Securico | Falcon | SD 2000
BHA00020 | ADVANTECH |  | ADAM-4561-BE | MHAM00002-ADAM-4561
BHA00021 | Securico | Securico | SEC-MS4
BHA00022 | Securico | Securico | SEC WLPIRH
BHA00023 | Digital Security Controls | Bravo 6 | BV 600 | MHAM00004-BV-600
BHA00024 | Digital Security Controls | Bravo 6 | BV 601
BHA00025 | System Security | Series 300 | 5351E | MHAM00001-5351E
BHA00026 | Securico | Securico | SEC-SAC
BHA00027 | Techno Management | TrueSafe | TS12R
BHA00028 | Securico | Securico | SEC-PS
BHA00029 | AMX | AMX | FG5794-02-BL | MHAM00009-Metreau.Keypads
BHA00030 | DSC | PowerSeries | PC 1864
BHA00031 | DSC | PowerSeries | IT-100 | MHAM00006-DSC-IT-100
BHA00032 | DSC | DSC | SD15W
BHA00033 | Securico | Securico | SEC WLMFDH | MHAM00007-SEC WLMFDH
BHA00034 | Truesafe | Truesafe | TS12HLRV
BHA00035 | System Security |  | B401 | MHAM00003-B401
BHA00036 | Securico | Securico | SEISECSDR
BHA00037 | savekey uk | Savekey | TN SW 20
BHA00038 | Geekland | Geekland | GK-VIA-E002
BHA00039 | Samsung | Samsung | SHT-7104em
BHA00040 | AMX | Modero View Point | FG5966-01 | MHAM00010-Modero.MVP-5200i
BHA00041 | Samsung |  | SHT-BEN120E