## PSQB
Classification | [6 empty] | General | [12 empty] | Purchase | [7 empty] | Planning |  |  |  | Quality |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit of Measure | HSN Code | SAP Code | Part of eBuild Library | Generic | Manufactured | Material Status | Quantity Evaluation Method | General PO Terms & Conditions | Special PO Terms & Conditions | Last Purchase Rate | Weighted Average Purchase Rate | Procurement Rate Threshold % | Approved Brands | Approved Vendors | PO Lead Time in Days | Delivery Lead Time in Days | Minimum Order Quantity | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Type | Class | Rated Current | Rated Input Voltage | Rated Output Voltage | Rated Input Frequency | Rated Output Frequency | Rated Power | Rated Ultimate Short-Circuit Breaking Capacity | Poles/Phase | Release Type | Tripping Characteristic | Utilisation Category | Operating Cycle | Battery Capacity | Capacity | Additional Features
[25 empty] | % | [17 empty] | A | V | V | Hz | Hz | kVA | kA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  |  | UPS of model BR 550 CI-IN with capacity 550 VA |  |  | Nos |  | 2001432, 1002403 | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 0.55 | NA | NA | NA | NA | NA |  |  | 0.55 KVA | Output Connections : 3 three pin 6A Socket Battery Capacity - 7.5AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  | MPSI00001-BR600CI-IN, MPSI00002-BX600CI-IN | UPS of capacity 0.6KVA |  |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BPS00001, BPS00002 |  |  |  |  | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 0.6 | NA | NA | NA | NA | NA |  |  | 0.6 KVA | Output Connections : 3 three pin 6A Socket Battery Capacity - 7.5AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  |  | UPS of model BR 750 CI-IN with capacity 750 VA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 0.75 | NA | NA | NA | NA | NA |  |  | 0.75 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  | MPSI00003-BR800-IN | UPS of capacity 0.8KVA |  |  | Nos |  | 2005035 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BPS00003 |  |  |  |  | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 0.8 | NA | NA | NA | NA | NA |  |  | 0.8 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  |  | UPS of capacity 1 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 1 | NA | NA | NA | NA | NA |  |  | 1 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  |  | UPS of capacity 1.5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 1.5 | NA | NA | NA | NA | NA |  |  | 1.5 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | On-Line |  |  | UPS |  |  | UPS of capacity 2 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | On-Line |  | NA | 145-290 | 230 | 47-63 | 49-51 | 2 | NA | NA | NA | NA | NA |  |  | 2 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | On-Line |  |  | UPS |  | MPSI00004-SRC3000UXI | UPS of capacity 3 KVA |  |  | Nos |  | 2003588 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BPS00004 |  |  |  |  | No | [9 empty] | On-Line |  | NA | 145-290 | 230 | 47-63 | 49-51 | 3 | NA | NA | NA | NA | NA |  |  | 3 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | On-Line |  |  | UPS |  |  | UPS of capacity 5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | On-Line |  | NA | 145-290 | 230 | 47-63 | 49-51 | 5 | NA | NA | NA | NA | NA |  |  | 5 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | On-Line |  |  | UPS |  |  | UPS of capacity 6 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | On-Line |  | NA | 145-290 | 230 | 47-63 | 49-51 | 6 | NA | NA | NA | NA | NA |  |  | 6 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 62.5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 62.5 | NA | 3P+1N | NA | NA | NA | NA |  | 6.5 kVA | Noise level : 75db Max at 1mtr at 75% loading under free field conditions Degree of Protection : IP23 Power Factor : 0.75 (Lag)
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 100 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 100 | NA | 3P+1N | NA | NA | NA | NA |  | 100 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 125 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 125 | NA | 3P+1N | NA | NA | NA | NA |  | 125 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 160 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 160 | NA | 3P+1N | NA | NA | NA | NA |  | 160 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 250 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 250 | NA | 3P+1N | NA | NA | NA | NA |  | 250 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 365 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 365 | NA | 3P+1N | NA | NA | NA | NA |  | 365 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 380 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 380 | NA | 3P+1N | NA | NA | NA | NA |  | 380 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 500 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 500 | NA | 3P+1N | NA | NA | NA | NA |  | 500 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 600 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 600 | NA | 3P+1N | NA | NA | NA | NA |  | 600 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 630 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 630 | NA | 3P+1N | NA | NA | NA | NA |  | 630 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 750 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 750 | NA | 3P+1N | NA | NA | NA | NA |  | 750 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer |  |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 0.5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 230 |  |  | 0.5 |  |  | NA | NA | NA |  | NA |  | Efficiency ;
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer |  |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 1 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 230 |  |  | 1 |  |  | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer |  |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 4 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 230 |  |  | 4 |  |  | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer |  |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 5 |  | 3P | NA | NA | NA |  | NA |  | ii)Input Voltage range -300 to 460 V, 3 Phase ; iii) Output Voltage range -415 V +/- 1 % ; iv)Input frequency -45 to 55 Hz
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 15 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 5 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 30 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 30 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 35 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 35 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 50 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 50 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 60 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 50 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 100 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 50 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 150 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 150 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 300 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 340-460 |  | 415 |  |  | 300 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 350KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 350 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 630A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 630 |  | NA | 50 |  | NA | 36 | 3P | Thermo-Magnetic | B/C/D | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 400A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 400 |  | NA | 50 |  | NA | 36 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 400A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 400 |  | NA | 50 |  | NA | 36 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 200A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 200 |  | NA | 50 |  | NA | 36 | 3P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 125A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 125 |  | NA | 50 |  | NA | 25 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 100A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 100 |  | NA | 50 |  | NA | 25 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 100A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 100 |  | NA | 50 |  | NA | 25 | 3P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 80A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 80 |  | NA | 50 |  | NA | 16 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 63A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 63 |  | NA | 50 |  | NA | 16 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 63A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 63 |  | NA | 50 |  | NA | 16 | 3P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 6 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 6 |  | NA | 50 |  | NA |  | 1P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 10 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 10 |  | NA | 50 |  | NA |  | 4P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 10 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 10 |  | NA | 50 |  | NA |  | 1P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 25 |  | NA | 50 |  | NA |  | 2P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 25 |  | NA | 50 |  | NA |  | 3P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 25 |  | NA | 50 |  | NA |  | 4P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 40 |  | NA | 50 |  | NA |  | 2P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 40 |  | NA | 50 |  | NA |  | 3P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 40 |  | NA | 50 |  | NA |  | 4P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 25 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 25 | [6 empty] | 2P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 25 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 25 | [6 empty] | 4P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 32 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 32 | [6 empty] | 4P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 40 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 300mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 63 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 63 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 63 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 63 | [6 empty] | 4P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 25 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 25 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 40 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 300mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 63 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 63 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 63 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 63 | [6 empty] | 4P |  |  |  |  | NA | 300mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Air Circuit Breaker |  |  | Air Circuit Breaker |  |  | Air Circuit Breaker of rating 1600 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 1600 | 433 | NA | 50-60 |  | NA | 65 | 4P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Air Circuit Breaker |  |  | Air Circuit Breaker |  |  | Air Circuit Breaker of rating 1000 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 1000 | 433 | NA | 50-60 |  | NA |  | 3P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Motor Protection Circuit Breaker |  |  | Motor Protection Circuit Breaker |  |  | Motor Protection Circuit Breaker (MPCB Incomer) |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 10-16 | [11 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | Contactor of rating 9 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 9 | [6 empty] | 3P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | Contactor of rating 18 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 18 | [6 empty] | 3P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | AC1 Duty Contactor of rating 25A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 25 | [6 empty] | 4P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | AC1 Duty Contactor of rating 45A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 45 | [6 empty] | 4P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | Contactor of rating 100A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 100 | [6 empty] | 3P+1N |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Relays |  |  | Relays |  |  | Relays of capacity range 2.5 A to 6.5 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 2.5-6.5 | [11 empty] | NA | 2.5 A to 6.5 A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Relays |  |  | Relays |  |  | Relays of capacity range 14 A to 23 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 14-23 | [11 empty] | NA | 14 A to 23 A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Relays |  |  | Relays |  |  | Relays of capacity range 4 A to 6.5 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 4-6.5 | [11 empty] | NA | 4 A to 6.5 A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Relays |  |  | Relays |  |  | Relays of capacity range 4A to 10 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 4-10 | [11 empty] | NA | 4A to 10 A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Indicating Lamps |  |  | Indicating Lamps |  |  | Indicating lamps of colours Red, Yellow & Blue |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Indicating Lamps |  |  | Indicating Lamps |  |  | Indicating lamps with On ,Off & Trip functions |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 4P |  |  |  |  | NA |  | i) RMS system, AMPS > 3000 ii) Surge capacity per protection mode -200 KA iii) Fault Breaking Current capacity - 200 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS- 2000 to 3000 ii) Surge capacity per protection mode -200 KA iii) Fault Breaking Current capacity - 200 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS- 1000 to 2000 ii) Surge capacity per protection mode- 80 to 100 KA iii) Fault Breaking Current capacity - 80 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS -400 to 1000 ii) Surge capacity per protection mode -80 KA iii) Fault Breaking Current capacity - 80 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS- 225 to 400 ii) Surge capacity per protection mode -40 KA iii) Fault Breaking Current capacity - 40 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS- 100 to 225 ii) Surge capacity per protection mode -40 KA iii) Fault Breaking Current capacity - 40 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS-30 to 100 ii) Surge capacity per protection mode -40 KA iii) Fault Breaking Current capacity - 40 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Changeover Switch |  |  | Changeover Switch |  |  | Changeover switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 160 | [11 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Changeover Switch |  |  | Changeover Switch |  |  | Changeover switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 250 | [11 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Changeover Switch |  |  | Changeover Switch |  |  | Changeover switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 400 | [6 empty] | 3P+1N |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Terminal Block |  |  | Terminal Block |  |  | Terminal Block |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Changeover Switch |  |  | Changeover Switch |  |  | Automatic Changeover cum current limiter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 45 | 415 | NA |  |  |  |  | 4P |  |  |  |  | NA | 45A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Pushbutton |  |  | Pushbutton |  |  | Emergency push button of rating 5 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 5 | [11 empty] | NA |  | Rating - 5 A , 250 V DC
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Exide Express Battery of model : MHD 800 |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 80AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 42AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 130AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | 150AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 180AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Genset |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 180AH
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Transformers |  |  | Transformer |  |  | ONAN type Oil Cooled Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [12 empty] | 11000 | 433 | 50 |  | 250 |  | 3P |  |  |  |  | NA |  | i) Rating - 250 KVA ii)Rated frequency - 50 Hz iii)No.of.Phases on both HV & LV side - 3 iv) Rated voltage a) HV side- 11 KV b) LV side - 0.433 KV
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Transformers |  |  | Transformer |  |  | ONAN type Oil Cooled Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [16 empty] | 315 | [6 empty] | NA |  | i) Rating - 315 KVA ii)Rated frequency - 50 Hz iii)No.of.Phases on both HV & LV side - 3 iv) Rated voltage a) HV side- 11 KV b) LV side - 0.433 KV
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Transformers |  |  | Transformer |  |  | ONAN type Oil Cooled Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [12 empty] | 11000 | 433 | 50 |  | 1000 |  | 3P |  |  |  |  | NA |  | i) Rating - 1000 KVA ii)Rated frequency - 50 Hz iii)No.of.Phases on both HV & LV side - 3 iv) Rated voltage a) HV side- 11 KV b) LV side - 0.433 KV
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Electronic |  |  | Transformer |  |  | Electronic transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) Rating - 1000 KVA ; 018/15 A ii)Rated frequency - 50 Hz iii)No.of.Phases on both HV & LV side - 3 iv) Rated voltage a) HV side- 11 KV b) LV side - 0.433 KV
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Isolation |  |  | Transformer |  |  | 3-Phase isolation Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [16 empty] | 0.4 | [6 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Isolation |  |  | Transformer |  |  | 3-Phase isolation Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [16 empty] | 50 | [6 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Supply | Ring Main Unit |  |  |  | Ring Main Unit |  |  | Ring Main Unit |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 630 |  |  |  |  | 350000 | [6 empty] | NA | 11KVA
Secondary | Power Supply, Quality & Backup | Power Supply | Switch Gear |  |  |  | Switch Gear |  |  | Metal clad type Switch Gear |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i)Rated Voltage & Current - 11 KV, 630 A ii)Rated Frequency - 50 Hz ; 3 Phase iii) Short circuit rating - a)Breaking- 20 KA b)Short time withstand for- 20 KA c) Rated S/C making -52.5 KA peak for breaker iv) Insulation level -75 KV (peak)
Secondary | Power Supply, Quality & Backup | Power Supply | Switch Gear |  |  |  | Switch Gear |  |  | SF6 Type Load breaking switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i)Rated current & Voltage - 630 A , 11 KV ii) Breaking current -21 KA iii)No.of Poles- 3 iv)Maing Current -52.5 KA (peak)
Secondary | Power Supply, Quality & Backup | Power Supply | Isolator |  |  |  | Isolator |  |  | Isolators |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60947-3 | [10 empty] | 63 | [6 empty] | 4P |  |  |  |  | NA |  | i) Rated current - 630 A ii) Rated breaking capacity - 630 A iii)Fault making capacity -52.5 KA (peak) iv) No.of poles-3
Secondary | Power Supply, Quality & Backup | Power Supply | Busbar |  |  |  | Busbar |  |  | SF6 Insulated Copper Busbar |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) Rated current - 630 A ii) Short time rating for 3 secs - 20 KA
Secondary | Power Supply, Quality & Backup | Power Supply | Busbar |  |  |  | Busbar |  |  | Busbar |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | 440 V , 3 Phase 4 wires , 50 Hz , 20 KA
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Digital Clamp Meter |  |  | Digital Clamp Meter |  |  | Digital Clamp Meter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | NA
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Ammeter |  |  | Ammeter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 5 Amps
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Hydrometer |  |  | Hydrometer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 0 to 100 A
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Voltmeter |  |  | Voltmeter with Selector switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | 0-500 V , 433 V , 50 Hz AC
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Energy meter |  |  | Energy meter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | 1103 V , 5 A
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Wattmeter |  |  | Wattmeter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | As per requirement
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Hour Meter |  |  | Hour Meter |  |  | Hour Meter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 4 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 3P+1N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 6 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 3P+1N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 8 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 1P+N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 8 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 3P+1N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 12 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 1P+N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 16 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 1P+N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Capacitor |  |  |  | Capacitor |  |  | Capacitor |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 10 Kvar
Secondary | Power Supply, Quality & Backup | Power Supply | Pin Insulator |  |  |  | Pin Insulator |  |  | Pin Insulator |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [12 empty] | 11000 | [10 empty] | NA | 11KV
Secondary | Power Supply, Quality & Backup | Power Supply | Disc Insulator |  |  |  | Disc Insulator |  |  | Disc Insulator |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [12 empty] | 11000 | [10 empty] | NA | 11KV
Secondary | Power Supply, Quality & Backup | Power Supply | Timer |  |  |  | Timer |  |  | Timer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 24hr
Secondary | Power Supply, Quality & Backup | Power Supply | Timer |  |  |  | Timer |  |  | Timer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 24hr

## Power Supply Quality and Backup
Classification | [6 empty] | General | [12 empty] | Purchase | [7 empty] | Planning |  |  |  | Quality |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit Of Measure | HSN Code | SAP Code | Part of eBuild Library | Generic | Manufactured | Material Status | Quantity Evaluation Method | General PO Terms & Conditions | Special PO Terms & Conditions | Last Purchase Rate | Weighted Average Purchase Rate | Procurement Rate Threshold % | Approved Brands | Approved Vendors | PO Lead Time in Days | Delivery Lead Time in Days | Minimum Order Quantity | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Type | Class | Rated Current | Rated Input Voltage | Rated Output Voltage | Rated Input Frequency | Rated Output Frequency | Rated Power | Rated Ultimate Short-Circuit Breaking Capacity | Poles/Phase | Release Type | Tripping Characteristic | Utilisation Category | Operating Cycle | Battery Capacity | Capacity | Additional Features
[43 empty] | A | V | V | Hz | Hz | kVA | kA | [5 empty] | AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  |  | UPS of model BR 550 CI-IN with capacity 550 VA |  |  | Nos |  | 2001432, 1002403 | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 0.55 | NA | NA | NA | NA | NA |  |  | 0.55 KVA | Output Connections : 3 three pin 6A Socket Battery Capacity - 7.5AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  | MPSI00001-BR600CI-IN, MPSI00002-BX600CI-IN | UPS of capacity 0.6KVA |  |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BPS00001, BPS00002 |  |  |  |  | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 0.6 | NA | NA | NA | NA | NA |  |  | 0.6 KVA | Output Connections : 3 three pin 6A Socket Battery Capacity - 7.5AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  |  | UPS of model BR 750 CI-IN with capacity 750 VA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 0.75 | NA | NA | NA | NA | NA |  |  | 0.75 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  | MPSI00003-BR800-IN | UPS of capacity 0.8KVA |  |  | Nos |  | 2005035 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BPS00003 |  |  |  |  | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 0.8 | NA | NA | NA | NA | NA |  |  | 0.8 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  |  | UPS of capacity 1 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 1 | NA | NA | NA | NA | NA |  |  | 1 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | Line Interactive |  |  | UPS |  |  | UPS of capacity 1.5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | Line Interactive |  | NA | 145-290 | 230 | 47-63 | 49-51 | 1.5 | NA | NA | NA | NA | NA |  |  | 1.5 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | On-Line |  |  | UPS |  |  | UPS of capacity 2 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | On-Line |  | NA | 145-290 | 230 | 47-63 | 49-51 | 2 | NA | NA | NA | NA | NA |  |  | 2 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | On-Line |  |  | UPS |  | MPSI00004-SRC3000UXI | UPS of capacity 3 KVA |  |  | Nos |  | 2003588 | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BPS00004 |  |  |  |  | No | [9 empty] | On-Line |  | NA | 145-290 | 230 | 47-63 | 49-51 | 3 | NA | NA | NA | NA | NA |  |  | 3 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | On-Line |  |  | UPS |  |  | UPS of capacity 5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | On-Line |  | NA | 145-290 | 230 | 47-63 | 49-51 | 5 | NA | NA | NA | NA | NA |  |  | 5 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | UPS | On-Line |  |  | UPS |  |  | UPS of capacity 6 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [9 empty] | On-Line |  | NA | 145-290 | 230 | 47-63 | 49-51 | 6 | NA | NA | NA | NA | NA |  |  | 6 KVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 62.5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 62.5 | NA | 3P+1N | NA | NA | NA | NA |  | 6.5 kVA | Noise level : 75db Max at 1mtr at 75% loading under free field conditions Degree of Protection : IP23 Power Factor : 0.75 (Lag)
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 100 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 100 | NA | 3P+1N | NA | NA | NA | NA |  | 100 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 125 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 125 | NA | 3P+1N | NA | NA | NA | NA |  | 125 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 160 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 160 | NA | 3P+1N | NA | NA | NA | NA |  | 160 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 250 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 250 | NA | 3P+1N | NA | NA | NA | NA |  | 250 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 365 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 365 | NA | 3P+1N | NA | NA | NA | NA |  | 365 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 380 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 380 | NA | 3P+1N | NA | NA | NA | NA |  | 380 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 500 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 500 | NA | 3P+1N | NA | NA | NA | NA |  | 500 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 600 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 600 | NA | 3P+1N | NA | NA | NA | NA |  | 600 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 630 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 630 | NA | 3P+1N | NA | NA | NA | NA |  | 630 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Diesel Generators | Prime / Backup |  |  | Diesel Generator |  |  | Diesel generator 750 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | BS 5514 / IS 3046 (Engine) BS 5000 / IS 4722(Alternator) | [10 empty] | NA | NA | 415 | NA | 50 | 750 | NA | 3P+1N | NA | NA | NA | NA |  | 750 kVA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer |  |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 0.5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 230 |  |  | 0.5 |  |  | NA | NA | NA |  | NA |  | Efficiency ;
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer |  |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 1 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 230 |  |  | 1 |  |  | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer |  |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 4 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 230 |  |  | 4 |  |  | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer |  |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 5 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 5 |  | 3P | NA | NA | NA |  | NA |  | ii)Input Voltage range -300 to 460 V, 3 Phase ; iii) Output Voltage range -415 V +/- 1 % ; iv)Input frequency -45 to 55 Hz
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 15 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 5 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 30 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 30 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 35 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 35 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 50 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 50 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 60 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 50 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 100 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 50 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 150 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 150 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 300 KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 340-460 |  | 415 |  |  | 300 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Stabilizer | Servo |  |  | Voltage Stabilizer |  |  | Voltage stabilizer 350KVA |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 415 |  |  | 350 |  | 3P | NA | NA | NA |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 630A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 630 |  | NA | 50 |  | NA | 36 | 3P | Thermo-Magnetic | B/C/D | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 400A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 400 |  | NA | 50 |  | NA | 36 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 400A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 400 |  | NA | 50 |  | NA | 36 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 200A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 200 |  | NA | 50 |  | NA | 36 | 3P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 125A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 125 |  | NA | 50 |  | NA | 25 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 100A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 100 |  | NA | 50 |  | NA | 25 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 100A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 100 |  | NA | 50 |  | NA | 25 | 3P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 80A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 80 |  | NA | 50 |  | NA | 16 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 63A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 63 |  | NA | 50 |  | NA | 16 | 4P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Molded Case Circuit Breaker |  |  | Molded Case Circuit Breaker (MCCB) |  |  | Molded case circuit Breaker - 63A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-2 | [10 empty] | 63 |  | NA | 50 |  | NA | 16 | 3P | Thermo-Magnetic |  | A |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 6 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 6 |  | NA | 50 |  | NA |  | 1P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 10 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 10 |  | NA | 50 |  | NA |  | 4P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 10 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 10 |  | NA | 50 |  | NA |  | 1P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 25 |  | NA | 50 |  | NA |  | 2P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 25 |  | NA | 50 |  | NA |  | 3P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 25 |  | NA | 50 |  | NA |  | 4P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 40 |  | NA | 50 |  | NA |  | 2P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 40 |  | NA | 50 |  | NA |  | 3P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Miniature Circuit Breaker |  |  | Miniature Circuit Breaker (MCB) |  |  | Miniature Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC/EN 60898-1 | [10 empty] | 40 |  | NA | 50 |  | NA |  | 4P |  | B/C/D |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 25 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 25 | [6 empty] | 2P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 25 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 25 | [6 empty] | 4P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 32 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 32 | [6 empty] | 4P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 40 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 300mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 63 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 63 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Residual Current Circuit Breaker |  |  | Residual Current Circuit Breaker (RCCB) |  |  | Residual Current Circuit Breaker of rating 63 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | EN 61008-1 | [10 empty] | 63 | [6 empty] | 4P |  |  |  |  | NA | 100mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 25 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 25 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 25 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 40 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 40 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 40 | [6 empty] | 4P |  |  |  |  | NA | 300mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 63 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 63 | [6 empty] | 2P |  |  |  |  | NA | 30mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Earth Leakage Circuit Breaker |  |  | Earth Leakage Circuit Breaker (ELCB) |  |  | Earth Leakage Circuit Breaker of rating 63 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60364-4-41 | [10 empty] | 63 | [6 empty] | 4P |  |  |  |  | NA | 300mA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Air Circuit Breaker |  |  | Air Circuit Breaker |  |  | Air Circuit Breaker of rating 1600 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 1600 | 433 | NA | 50-60 |  | NA | 65 | 4P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Air Circuit Breaker |  |  | Air Circuit Breaker |  |  | Air Circuit Breaker of rating 1000 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 1000 | 433 | NA | 50-60 |  | NA |  | 3P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Circuit Breaker | Motor Protection Circuit Breaker |  |  | Motor Protection Circuit Breaker |  |  | Motor Protection Circuit Breaker (MPCB Incomer) |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 10-16 | [11 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | Contactor of rating 9 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 9 | [6 empty] | 3P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | Contactor of rating 18 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 18 | [6 empty] | 3P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | AC1 Duty Contactor of rating 25A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 25 | [6 empty] | 4P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | AC1 Duty Contactor of rating 45A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 45 | [6 empty] | 4P |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Contactor |  |  | Contactor |  |  | Contactor of rating 100A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 100 | [6 empty] | 3P+1N |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Relays |  |  | Relays |  |  | Relays of capacity range 2.5 A to 6.5 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 2.5-6.5 | [11 empty] | NA | 2.5 A to 6.5 A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Relays |  |  | Relays |  |  | Relays of capacity range 14 A to 23 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 14-23 | [11 empty] | NA | 14 A to 23 A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Relays |  |  | Relays |  |  | Relays of capacity range 4 A to 6.5 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 4-6.5 | [11 empty] | NA | 4 A to 6.5 A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Relays |  |  | Relays |  |  | Relays of capacity range 4A to 10 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 4-10 | [11 empty] | NA | 4A to 10 A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Indicating Lamps |  |  | Indicating Lamps |  |  | Indicating lamps of colours Red, Yellow & Blue |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Indicating Lamps |  |  | Indicating Lamps |  |  | Indicating lamps with On ,Off & Trip functions |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 4P |  |  |  |  | NA |  | i) RMS system, AMPS > 3000 ii) Surge capacity per protection mode -200 KA iii) Fault Breaking Current capacity - 200 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS- 2000 to 3000 ii) Surge capacity per protection mode -200 KA iii) Fault Breaking Current capacity - 200 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS- 1000 to 2000 ii) Surge capacity per protection mode- 80 to 100 KA iii) Fault Breaking Current capacity - 80 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS -400 to 1000 ii) Surge capacity per protection mode -80 KA iii) Fault Breaking Current capacity - 80 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS- 225 to 400 ii) Surge capacity per protection mode -40 KA iii) Fault Breaking Current capacity - 40 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS- 100 to 225 ii) Surge capacity per protection mode -40 KA iii) Fault Breaking Current capacity - 40 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Surge Arrester |  |  | Surge Arrester |  |  | Surge protection device |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) RMS system AMPS-30 to 100 ii) Surge capacity per protection mode -40 KA iii) Fault Breaking Current capacity - 40 KA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Changeover Switch |  |  | Changeover Switch |  |  | Changeover switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 160 | [11 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Changeover Switch |  |  | Changeover Switch |  |  | Changeover switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 250 | [11 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Changeover Switch |  |  | Changeover Switch |  |  | Changeover switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 400 | [6 empty] | 3P+1N |  |  |  |  | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Terminal Block |  |  | Terminal Block |  |  | Terminal Block |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Changeover Switch |  |  | Changeover Switch |  |  | Automatic Changeover cum current limiter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 45 | 415 | NA |  |  |  |  | 4P |  |  |  |  | NA | 45A
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Panel Components | Pushbutton |  |  | Pushbutton |  |  | Emergency push button of rating 5 A |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 5 | [11 empty] | NA |  | Rating - 5 A , 250 V DC
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Exide Express Battery of model : MHD 800 |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 80AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 42AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 130AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | 150AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Automotive |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 180AH
Secondary | Power Supply, Quality & Backup | Power Quality & Backup | Battery | Genset |  |  | Battery |  |  | Lead Acid Battery |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [13 empty] | 12 | NA |  |  |  | NA |  |  |  |  | NA | 180AH
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Transformers |  |  | Transformer |  |  | ONAN type Oil Cooled Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [12 empty] | 11000 | 433 | 50 |  | 250 |  | 3P |  |  |  |  | NA |  | i) Rating - 250 KVA ii)Rated frequency - 50 Hz iii)No.of.Phases on both HV & LV side - 3 iv) Rated voltage a) HV side- 11 KV b) LV side - 0.433 KV
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Transformers |  |  | Transformer |  |  | ONAN type Oil Cooled Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [16 empty] | 315 | [6 empty] | NA |  | i) Rating - 315 KVA ii)Rated frequency - 50 Hz iii)No.of.Phases on both HV & LV side - 3 iv) Rated voltage a) HV side- 11 KV b) LV side - 0.433 KV
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Transformers |  |  | Transformer |  |  | ONAN type Oil Cooled Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [12 empty] | 11000 | 433 | 50 |  | 1000 |  | 3P |  |  |  |  | NA |  | i) Rating - 1000 KVA ii)Rated frequency - 50 Hz iii)No.of.Phases on both HV & LV side - 3 iv) Rated voltage a) HV side- 11 KV b) LV side - 0.433 KV
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Electronic |  |  | Transformer |  |  | Electronic transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) Rating - 1000 KVA ; 018/15 A ii)Rated frequency - 50 Hz iii)No.of.Phases on both HV & LV side - 3 iv) Rated voltage a) HV side- 11 KV b) LV side - 0.433 KV
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Isolation |  |  | Transformer |  |  | 3-Phase isolation Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [16 empty] | 0.4 | [6 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Supply | Transformers | Isolation |  |  | Transformer |  |  | 3-Phase isolation Transformer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [16 empty] | 50 | [6 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Supply | Ring Main Unit |  |  |  | Ring Main Unit |  |  | Ring Main Unit |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [11 empty] | 630 |  |  |  |  | 350000 | [6 empty] | NA | 11KVA
Secondary | Power Supply, Quality & Backup | Power Supply | Switch Gear |  |  |  | Switch Gear |  |  | Metal clad type Switch Gear |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i)Rated Voltage & Current - 11 KV, 630 A ii)Rated Frequency - 50 Hz ; 3 Phase iii) Short circuit rating - a)Breaking- 20 KA b)Short time withstand for- 20 KA c) Rated S/C making -52.5 KA peak for breaker iv) Insulation level -75 KV (peak)
Secondary | Power Supply, Quality & Backup | Power Supply | Switch Gear |  |  |  | Switch Gear |  |  | SF6 Type Load breaking switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i)Rated current & Voltage - 630 A , 11 KV ii) Breaking current -21 KA iii)No.of Poles- 3 iv)Maing Current -52.5 KA (peak)
Secondary | Power Supply, Quality & Backup | Power Supply | Isolator |  |  |  | Isolator |  |  | Isolators |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | IEC 60947-3 | [10 empty] | 63 | [6 empty] | 4P |  |  |  |  | NA |  | i) Rated current - 630 A ii) Rated breaking capacity - 630 A iii)Fault making capacity -52.5 KA (peak) iv) No.of poles-3
Secondary | Power Supply, Quality & Backup | Power Supply | Busbar |  |  |  | Busbar |  |  | SF6 Insulated Copper Busbar |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | i) Rated current - 630 A ii) Short time rating for 3 secs - 20 KA
Secondary | Power Supply, Quality & Backup | Power Supply | Busbar |  |  |  | Busbar |  |  | Busbar |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | 440 V , 3 Phase 4 wires , 50 Hz , 20 KA
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Digital Clamp Meter |  |  | Digital Clamp Meter |  |  | Digital Clamp Meter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | NA
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Ammeter |  |  | Ammeter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 5 Amps
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Hydrometer |  |  | Hydrometer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 0 to 100 A
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Voltmeter |  |  | Voltmeter with Selector switch |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | 0-500 V , 433 V , 50 Hz AC
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Energy meter |  |  | Energy meter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | 1103 V , 5 A
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Indicating Meters |  |  | Wattmeter |  |  | Wattmeter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA |  | As per requirement
Secondary | Power Supply, Quality & Backup | Power Supply | Meters | Hour Meter |  |  | Hour Meter |  |  | Hour Meter |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 4 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 3P+1N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 6 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 3P+1N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 8 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 1P+N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 8 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 3P+1N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 12 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 1P+N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Distribution Boards |  |  |  | Distribution Board |  |  | Distribution board - 16 Way |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [18 empty] | 1P+N |  |  |  |  | NA |  | 433 V , 3 Phase AC supply
Secondary | Power Supply, Quality & Backup | Power Supply | Capacitor |  |  |  | Capacitor |  |  | Capacitor |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 10 Kvar
Secondary | Power Supply, Quality & Backup | Power Supply | Pin Insulator |  |  |  | Pin Insulator |  |  | Pin Insulator |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [12 empty] | 11000 | [10 empty] | NA | 11KV
Secondary | Power Supply, Quality & Backup | Power Supply | Disc Insulator |  |  |  | Disc Insulator |  |  | Disc Insulator |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [12 empty] | 11000 | [10 empty] | NA | 11KV
Secondary | Power Supply, Quality & Backup | Power Supply | Timer |  |  |  | Timer |  |  | Timer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 24hr
Secondary | Power Supply, Quality & Backup | Power Supply | Timer |  |  |  | Timer |  |  | Timer |  |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01 | [9 empty] | No | [23 empty] | NA | 24hr

## Brand Master
Brand Code | Manufacturer's Name | Brand/Series | Manufacturer's Code | Manufacturer's Specification | Material Safety Data Sheet | Technical Drawing | 3D model | Country of Manufacture | Warranty Period in Years | Status | Approved Vendors | Shelf Life in Days | Packing List
BPS00001 | Schneider Electric | APC | BR600CI-IN | MPSM00001-BR600CI-IN
BPS00002 | Schneider Electric | APC | BX600CI-IN | MPSM00002-BX600CI-IN
BPS00003 | Schneider Electric | APC | BR800-IN | MPSM00003-BR800-IN
BPS00004 | Schneider Electric | APC | SRC3000UXI | MPSM00004-SRC3000UXI