## RG
Classification | [6 empty] | General | [12 empty] | Purchase | [7 empty] | Planning |  |  |  | Quality |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit Of Measure | HSN Code | SAP Code | Part of eBuild Library | Generic | Manufactured | Material Status | Quantity Evaluation Method | General PO Terms & Conditions | Special PO Terms & Conditions | Last Purchase Rate | Weighted Average Purchase Rate | Procurement Rate Threshold % | Approved Brands | Approved Vendors | PO Lead Time in Days | Delivery Lead Time in Days | Minimum Order Quantity | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Date Created | Created by | Date Last Amended | Last Amended by | Size | Depth | Length | Width | Diameter | Height | Maximum Working Pressure | Inlet Pressure Range | Outlet Pressure Range | Gas Flow Rate | End Connection (BSP) | Type of Gas | Flow Capacity | Type and End Connection | Additional Features
[41 empty] | mm | mm | mm | mm | mm | kg/cm² | kg/cm² | kg/cm² | Nm³/hr |  |  | Nm³/hr
Secondary | Reticulated Gas | MS Pipe |  |  |  |  | MS Pipe |  | MRGI0001 | MS Pipe | NA |  | m |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Manifold System | Changeover | Automatic |  |  | Changeover |  | MRGI0002 | Automatic Changeover | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00001 | [20 empty] | 1.02-17.34 | 0.5-15 | 0-50 | 15 | LPG
Secondary | Reticulated Gas | Manifold System | Valve | Ball Valve |  |  | Ball Valve |  |  | Ball Valve Flange End | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Regulator | Cylinder Regulator |  |  |  | Cylinder Regulator |  | MRGI0004 | Flexible High Pressure Cylinder Pigtail | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Manifold System | Pigtail |  |  |  | Pigtail |  | MRGI0005 | Heavy Pigtail | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00002 | [15 empty] | 92 |  |  |  | 17 |  |  |  |  | LPG
Secondary | Reticulated Gas | Gauge | Pressure Gauge |  |  |  | Pressure Gauge |  | MRGI0006 | Pressure Gauge | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Filter | Gas |  |  |  | Gas Filter |  |  | Gas Filter | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00003 | [19 empty] | 20.4 |  |  |  |  | LPG, Natural Gas | 150, 300, 500, 2000 | 2" NB Flanged End
Secondary | Reticulated Gas | Arrestor | Flame |  |  |  | Flame Arrestor |  | MRGI0008 | Flame Arrester | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00004 | [19 empty] | 17.34 |  |  |  | 1" - 2"BSP INT / EXT | LPG, Natural Gas
Secondary | Reticulated Gas | Valve | Solenoid |  |  |  | Solenoid Valve |  |  | Solenoid Valve | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Detector | Gas Leak |  |  |  | Gas Leak Detector |  | MRGI0010 | Gas Leak Detector | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Strobe |  |  |  |  | Sounder / Strobe |  |  | Sounder / Strobe | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Valve | Shut Off |  |  |  | Shut Off Valve |  | MRGI0011 | Over Pressure Shut Off Valve | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00005 | [20 empty] | 20 | 0.05-6 | 0-1500 | 3" - 4" NB ANSI /BS Std. | LPG, Natural Gas, Carbon dioxide
Secondary | Reticulated Gas | Regulator | Stage One |  |  |  | Regulator |  |  | First Stage Regulator | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00006 | [20 empty] | 1.02-17.34 | 0.5-10 | 100 | 1" BSP (INT) | LPG, Natural Gas
Secondary | Reticulated Gas | Regulator | Stage Two |  |  |  | Regulator |  |  | Second Stage Regulator | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00007 | [20 empty] | 1.5 | 0.03-0.15 | 60 | 1.5" - 2" BSP (INT) or flanged end as per ANSI / BS Std | LPG, Natural Gas
Secondary | Reticulated Gas | Regulator | Meter |  |  |  | Regulator |  |  | Meter Regulator for Kitchen | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Pipe | Composite |  |  |  | MLC Pipe |  |  | MLC Pipe | NA |  | m |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Meter | Gas |  |  |  | Gas Meter |  |  | Gas Meter | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01

## Brand Master
Brand Code | Manufacturer's Name | Brand/Series | Manufacturer's Code | Manufacturer's Specification | Material Safety Data Sheet | Technical Drawing | 3D model | Country of Manufacture | Warranty Period in Years | Status | Approved Vendors | Shelf Life in Days | Packing List
BRG00001 | VANAZ | NA | R9501 | MRGM0001
BRG00002 | Suraksha | NA | 100L
BRG00003 | VANAZ | NA | F 0108 | MRGM0002
BRG00004 | VANAZ | NA | V 9102 | MRGM0003
BRG00005 | VANAZ | NA | V-4307
BRG00006 | VANAZ | NA | R2301
BRG00007 | VANAZ | NA | R6111

## Sheet 3
MS Pipe
Automatic Changeover | flexible-cylinder-pigtails-500x500.jpg | Size | Date Modified
Ball Valve Flange End | MS Pipe.jpg
Flexible High Pressure Cylinder Pigtail | pigtails.JPG | 10.4 kB | 12/5/16, 4:24:59 PM
Heavy Pigtail | R-9501 Autochangeover - Vanaz.jpg | 41.7 kB | 12/5/16, 12:36:55 PM
Pressure Gauge | Slam shut off valve - v4307.jpg | 40.4 kB | 9/21/16, 10:12:03 AM
Gas Filter |  | 13.1 kB | 12/5/16, 12:35:21 PM
Flame Arrester |  | 4.5 kB | 9/21/16, 10:29:23 AM
Solenoid Valve |  | 5.8 kB | 12/5/16, 5:29:05 PM
Gas Leak Detector
Sounder / Strobe
Over Pressure Shut Off Valve
First Stage Regulator
Second Stage Regulator
Meter Regulator for Kitchen
MLC Pipe
Gas Meter

## Reticulated Gas
Classification | [6 empty] | General | [12 empty] | Purchase | [7 empty] | Planning |  |  |  | Quality |  |  |  | System Logs |  |  |  | Specifications
Material Level 1 | Material Level 2 | Material Level 3 | Material Level 4 | Material Level 5 | Material Level 6 | Material Level 7 | Material Name | Material Code | Image | Short Description | Shade Number | Shade Description | Unit Of Measure | HSN Code | SAP Code | Part of eBuild Library | Generic | Manufactured | Material Status | Quantity Evaluation Method | General PO Terms & Conditions | Special PO Terms & Conditions | Last Purchase Rate | Weighted Average Purchase Rate | Procurement Rate Threshold % | Approved Brands | Approved Vendors | PO Lead Time in Days | Delivery Lead Time in Days | Minimum Order Quantity | Maintain Lot | Governing Standard | Storage Method | Inspection Checklist | Sampling Method | Date Created | Created by | Date Last Amended | Last Amended by | Specification Sheet | Size | Depth | Length | Width | Diameter | Height | Maximum Working Pressure | Inlet Pressure Range | Outlet Pressure Range | Gas Flow Rate | End Connection (BSP) | Type of Gas | Flow Capacity | Type and End Connection | Additional Features
[42 empty] | mm | mm | mm | mm | mm | kg/cm² | kg/cm² | kg/cm² | Nm³/hr |  |  | Nm³/hr
Secondary | Reticulated Gas | MS Pipe |  |  |  |  | MS Pipe |  | MRGI0001 | MS Pipe | NA |  | m |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Manifold System | Changeover | Automatic |  |  | Changeover |  | MRGI0002 | Automatic Changeover | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00001 | [20 empty] | 1.02-17.34 | 0.5-15 | 0-50 | 15 | LPG
Secondary | Reticulated Gas | Manifold System | Valve | Ball Valve |  |  | Ball Valve |  |  | Ball Valve Flange End | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Regulator | Cylinder Regulator |  |  |  | Cylinder Regulator |  | MRGI0004 | Flexible High Pressure Cylinder Pigtail | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Manifold System | Pigtail |  |  |  | Pigtail |  | MRGI0005 | Heavy Pigtail | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00002 | [15 empty] | 92 |  |  |  | 17 |  |  |  |  | LPG
Secondary | Reticulated Gas | Gauge | Pressure Gauge |  |  |  | Pressure Gauge |  | MRGI0006 | Pressure Gauge | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Filter | Gas |  |  |  | Gas Filter |  |  | Gas Filter | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00003 | [19 empty] | 20.4 |  |  |  |  | LPG, Natural Gas | 150, 300, 500, 2000 | 2" NB Flanged End
Secondary | Reticulated Gas | Arrestor | Flame |  |  |  | Flame Arrestor |  | MRGI0008 | Flame Arrester | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00004 | [19 empty] | 17.34 |  |  |  | 1" - 2"BSP INT / EXT | LPG, Natural Gas
Secondary | Reticulated Gas | Valve | Solenoid |  |  |  | Solenoid Valve |  |  | Solenoid Valve | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Detector | Gas Leak |  |  |  | Gas Leak Detector |  | MRGI0010 | Gas Leak Detector | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Strobe |  |  |  |  | Sounder / Strobe |  |  | Sounder / Strobe | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Valve | Shut Off |  |  |  | Shut Off Valve |  | MRGI0011 | Over Pressure Shut Off Valve | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00005 | [20 empty] | 20 | 0.05-6 | 0-1500 | 3" - 4" NB ANSI /BS Std. | LPG, Natural Gas, Carbon dioxide
Secondary | Reticulated Gas | Regulator | Stage One |  |  |  | Regulator |  |  | First Stage Regulator | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00006 | [20 empty] | 1.02-17.34 | 0.5-10 | 100 | 1" BSP (INT) | LPG, Natural Gas
Secondary | Reticulated Gas | Regulator | Stage Two |  |  |  | Regulator |  |  | Second Stage Regulator | NA |  | Nos |  |  | No | Yes | Yes | Approved |  | MGPO01 |  |  |  |  | BRG00007 | [20 empty] | 1.5 | 0.03-0.15 | 60 | 1.5" - 2" BSP (INT) or flanged end as per ANSI / BS Std | LPG, Natural Gas
Secondary | Reticulated Gas | Regulator | Meter |  |  |  | Regulator |  |  | Meter Regulator for Kitchen | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Pipe | Composite |  |  |  | MLC Pipe |  |  | MLC Pipe | NA |  | m |  |  | No | Yes | Yes | Under Development |  | MGPO01
Secondary | Reticulated Gas | Meter | Gas |  |  |  | Gas Meter |  |  | Gas Meter | NA |  | Nos |  |  | No | Yes | Yes | Under Development |  | MGPO01