## SFG Master
Classification | [6 empty] | General | [6 empty] | Purchase | [6 empty] | Planning |  |  | Quality |  |  |  | System Logs
SFG Level 1 | SFG Level 2 | SFG Level 3 | SFG Level 4 | SFG Level 5 | SFG Level 6 | SFG Level 7 | SFG Code | WBS Code | Short Description | Unit of Measure | HSN Code | SFG Definition | SFG Status | Method of Measurement | General WO Terms | Special WO Terms | Last Purchase Rate | Wt. Avg. Purchase Rate | Pur. Rate Threshold % | Approved Vendors | WO Lead Time in Days | Vendor Mobilisation Time in Days | Minimum Order Quantity | Governing Standard | Quality Checklist | Method Statement | Safety Requirements | Date Created | Created by | Date Last Amended | Last Amended by
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | Limestone | Kota Green |  |  | WFL0007 | FLR-FLR-STN-LMS-KTG | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Limestone-Kota Green | m² |  | Defined Explicitly | Approved | [12 empty] | MST00001
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | Limestone | Cuddappa Black |  |  | WFL0009 | FLR-FLR-STN-LMS-CDP | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Limestone-Cuddappa Black | m² |  | Defined Explicitly | Approved
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | Limestone | Shahbad |  |  | WFL0010 | FLR-FLR-STN-LMS-SHB | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Limestone-Shahbad | m² |  | Defined Explicitly | Approved
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | Sandstone | Jaisalmer Yellow |  |  | WFL0012 | FLR-FLR-STN-SND-JSL | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Sandstone-Jaisalmer Yellow | m² |  | Defined Explicitly | Approved
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | Marble | Udaipur Green |  |  | WFL0032 | FLR-FLR-STN-MRB-UDG | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Marble-Udaipur Green | m² |  | Defined Explicitly | Approved
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | White Statuario |  |  |  | WFL0036 | FLR-FLR-STN-MRB-STU | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-White Statuario | m² |  | Defined Explicitly | Approved
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | St. Laurent Light |  |  |  | WFL0038 | FLR-FLR-STN-MRB-STL | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-St. Laurent Light | m² |  | Defined Explicitly | Approved
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | St. Laurent Dark |  |  |  | WFL0039 | FLR-FLR-STN-MRB-STD | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-St. Laurent Dark | m² |  | Defined Explicitly | Approved
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | Golden Portoro |  |  |  | WFL0040 | FLR-FLR-STN-MRB-GLP | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Golden Portoro | m² |  | Defined Explicitly | Approved
Flooring ¦ Dado ¦ Counter | Flooring | Natural Stone | Rosa Alicante |  |  |  | SFFL0041 | FLR-FLR-STN-MRB-RAL | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Rosa Alicante | m² |  | Use Service Definition | Approved
Note on D469: versha Negi: Not in BOQ,
Note on J2: Vikash Prasad: Derived Field based on classification

## Definitions
ss | SFG Definition Level 1 | SFG LEVEL 2 | SFG Definition Level 2 | SFG LEVEL 3 | SFG Definition Level 3 | SFG LEVEL 4 | SFG Definition Level 4 | SFG LEVEL 5 | SFG Definition Level 5 | SFG LEVEL 6 | SFG Definition Level 6 | SFG LEVEL 7 | SFG Definition Level 7
FLOORING ¦ DADO ¦ PAVIOUR | The rates include for all the following items and no extra shall be paid for the same : 1) All leads and lifts and shifting the materials form storage yard to actual fixing location. 2) Cutting the stone / tile / other material to required size & shape . 3) Preparation of base subgrade including minor trimming of base to remove undulations 4) Cleaning and, where required, watering the base just before laying the floor. 5) Providing a bedding layer of mortar as specified, to correct levels 6) Providing extra thickness upto additional 15mm if conduits are laid under the floor g) Cutting recesses where required, to accommodate flush skirting 7) Erecting scaffolding, ladders, platforms and staging (upto 3m) required for the execution of the work i) Flooring shall include for orders of any shape and size 8) Dado shall include base coat and plaster finish coat 9) Flush joints / paper joints / use of spacers l) Use of colour pigments, white cement, oxides and other materials where required. 10) Cutting out for floor traps, switch plates or tap holes | Flooring | Flooring | Natural Stone | 1) Laying the following stone flooring / dado / skirting including staircases and balconies on 20mm to 25mm thick cement mortar 1:5 base, jointed with neat white cement or cement slurry mixed with pigment to match the shade / colour of the stone slab as directed. 2) The flooring shall be machine cut, free from cracks and flakes and uniform in colour. 3) The edges shall be straight and square. For dados and skirting the slabs shall be laid on a backing plaster of cement mortar 1:4 of 15 to 20mm thk. 4) The joints shall be laid with fine invisible joint or otherwise as instructed. The contractor shall take care to match the grains of the marble. Marking the layout as per drawing, completing the bull mark and getting approval before proceeding further. | Kota Blue | Kota Blue | English Bond Flat | English Bond Flat |  |  |  |  | {"FLOORING ¦ DADO ¦ PAVIOUR":"The rates include for all the following items and no extra shall be paid for the same : 1) All leads and lifts and shifting the materials form storage yard to actual fixing location. 2) Cutting the stone / tile / other material to required size & shape . 3) Preparation of base subgrade including minor trimming of base to remove undulations 4) Cleaning and, where required, watering the base just before laying the floor. 5) Providing a bedding layer of mortar as specified, to correct levels 6) Providing extra thickness upto additional 15mm if conduits are laid under the floor g) Cutting recesses where required, to accommodate flush skirting 7) Erecting scaffolding, ladders, platforms and staging (upto 3m) required for the execution of the work i) Flooring shall include for orders of any shape and size 8) Dado shall include base coat and plaster finish coat 9) Flush joints / paper joints / use of spacers l) Use of colour pigments, white cement, oxides and other materials where required. 10) Cutting out for floor traps, switch plates or tap holes","Flooring":"Flooring","Natural Stone":"1) Laying the following stone flooring / dado / skirting including staircases and balconies on 20mm to 25mm thick cement mortar 1:5 base, jointed with neat white cement or cement slurry mixed with pigment to match the shade / colour of the stone slab as directed. 2) The flooring shall be machine cut, free from cracks and flakes and uniform in colour. 3) The edges shall be straight and square. For dados and skirting the slabs shall be laid on a backing plaster of cement mortar 1:4 of 15 to 20mm thk. 4) The joints shall be laid with fine invisible joint or otherwise as instructed. The contractor shall take care to match the grains of the marble. Marking the layout as per drawing, completing the bull mark and getting approval before proceeding further.","Kota Blue":"Kota Blue","English Bond Flat":"English Bond Flat","":"","":""}
FLOORING ¦ DADO ¦ PAVIOUR | The rates include for all the following items and no extra shall be paid for the same : 1) All leads and lifts and shifting the materials form storage yard to actual fixing location. 2) Cutting the stone / tile / other material to required size & shape . 3) Preparation of base subgrade including minor trimming of base to remove undulations 4) Cleaning and, where required, watering the base just before laying the floor. 5) Providing a bedding layer of mortar as specified, to correct levels 6) Providing extra thickness upto additional 15mm if conduits are laid under the floor g) Cutting recesses where required, to accommodate flush skirting 7) Erecting scaffolding, ladders, platforms and staging (upto 3m) required for the execution of the work i) Flooring shall include for orders of any shape and size 8) Dado shall include base coat and plaster finish coat 9) Flush joints / paper joints / use of spacers l) Use of colour pigments, white cement, oxides and other materials where required. 10) Cutting out for floor traps, switch plates or tap holes | Flooring | Flooring | Natural Stone | 1) Laying the following stone flooring / dado / skirting including staircases and balconies on 20mm to 25mm thick cement mortar 1:5 base, jointed with neat white cement or cement slurry mixed with pigment to match the shade / colour of the stone slab as directed. 2) The flooring shall be machine cut, free from cracks and flakes and uniform in colour. 3) The edges shall be straight and square. For dados and skirting the slabs shall be laid on a backing plaster of cement mortar 1:4 of 15 to 20mm thk. 4) The joints shall be laid with fine invisible joint or otherwise as instructed. The contractor shall take care to match the grains of the marble. Marking the layout as per drawing, completing the bull mark and getting approval before proceeding further. | Udaipur Green Marble | Udaipur Green Marble | Manual 10m disposal | Manual 10m disposal |  |  |  |  | {"FLOORING ¦ DADO ¦ PAVIOUR":"The rates include for all the following items and no extra shall be paid for the same : 1) All leads and lifts and shifting the materials form storage yard to actual fixing location. 2) Cutting the stone / tile / other material to required size & shape . 3) Preparation of base subgrade including minor trimming of base to remove undulations 4) Cleaning and, where required, watering the base just before laying the floor. 5) Providing a bedding layer of mortar as specified, to correct levels 6) Providing extra thickness upto additional 15mm if conduits are laid under the floor g) Cutting recesses where required, to accommodate flush skirting 7) Erecting scaffolding, ladders, platforms and staging (upto 3m) required for the execution of the work i) Flooring shall include for orders of any shape and size 8) Dado shall include base coat and plaster finish coat 9) Flush joints / paper joints / use of spacers l) Use of colour pigments, white cement, oxides and other materials where required. 10) Cutting out for floor traps, switch plates or tap holes","Flooring":"Flooring","Natural Stone":"1) Laying the following stone flooring / dado / skirting including staircases and balconies on 20mm to 25mm thick cement mortar 1:5 base, jointed with neat white cement or cement slurry mixed with pigment to match the shade / colour of the stone slab as directed. 2) The flooring shall be machine cut, free from cracks and flakes and uniform in colour. 3) The edges shall be straight and square. For dados and skirting the slabs shall be laid on a backing plaster of cement mortar 1:4 of 15 to 20mm thk. 4) The joints shall be laid with fine invisible joint or otherwise as instructed. The contractor shall take care to match the grains of the marble. Marking the layout as per drawing, completing the bull mark and getting approval before proceeding further.","Udaipur Green Marble":"Udaipur Green Marble","Manual 10m disposal":"Manual 10m disposal","":"","":""}

## SFG Coefficients
| Resource Type | Material/Service/Asset Code | Material/Service/Asset Name | UoM | Coefficient | Handling/Storage Wastage (%) | Execution Wastage (%) | Total Wastage | Total Quantity | Rate | Total Cost
WFL0007 |  | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Limestone-Kota Green |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.39058 | 0 | 0 | 0 | 0.39058
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | SNT000394 | Kota Green | m2 | 1 | 10 | 10 | 20 | 1.2
| Service | SFL0007 | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Limestone-Kota Green | m2 | 1 | NA | NA | NA | 1
WFL0009 |  | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Limestone-Cuddappa Black |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.39058 | 0 | 0 | 0 | 0.39058
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | SNT000396 | Cuddapah Black | m2 | 1 | 5 | 10 | 15 | 1.15
| Service | SFL0009 | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Limestone-Cuddappa Black | m2 | 1 | NA | NA | NA | 1
WFL0010 |  | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Limestone-Shahbad |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.39058 | 0 | 0 | 0 | 0.39058
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | SNT000398 | Shahbad | m2 | 1 | 5 | 10 | 15 | 1.15
| Service | SFL0010 | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Limestone-Shahbad | m2 | 1 | NA | NA | NA | 1
WFL0012 |  | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Sandstone-Jaisalmer Yellow |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.424 | 0 | 0 | 0 | 0.424
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | CMT020309 | White Cement | Bags | 0.215 | 0 | 0 | 0 | 0.215
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | SNT000399 | Jaisalmer Yellow | m2 | 1 | 5 | 10 | 15 | 1.15
| Service | SFL0012 | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Sandstone-Jaisalmer Yellow | m2 | 1 | NA | NA | NA | 1
WFL0032 |  | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Marble-Udaipur Green |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.38484 | 0 | 0 | 0 | 0.38484
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | CMT020309 | White Cement | Bags | 0.215 | 0 | 0 | 0 | 0.215
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | THC020159 | Masking Tape | Nos | 0.04 | 0 | 0 | 0 | 0.04
| Material | SNT000402 | Udaipur Green | m2 | 1 | 5 | 10 | 15 | 1.15
| Service | SFL0032 | Flooring ¦ Dado ¦ Counter-Flooring-Natural Stone-Marble-Udaipur Green | m2 | 1 | NA | NA | NA | 1
WFL0036 |  | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-White Statuario |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.51004 | 0 | 0 | 0 | 0.51004
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | CMT020309 | White Cement | Bags | 0.215 | 0 | 0 | 0 | 0.215
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | CNS020447 | Epoxy based Grout Joint Filler | Kg | 0.03 | 0 | 0 | 0 | 0.03
| Material | THC020159 | Masking Tape | Nos | 0.04 | 0 | 0 | 0 | 0.04
| Material | SNT000407 | White Statuario | m2 | 1 | 5 | 5 | 10 | 1.1
| Service | SFL0036 | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-White Statuario | m2 | 1 | NA | NA | NA | 1
WFL0038 |  | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-St. Laurent Light |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.51004 | 0 | 0 | 0 | 0.51004
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | CMT020309 | White Cement | Bags | 0.215 | 0 | 0 | 0 | 0.215
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | CNS020447 | Epoxy based Grout Joint Filler | Kg | 0.03 | 0 | 0 | 0 | 0.03
| Material | THC020159 | Masking Tape | Nos | 0.04 | 0 | 0 | 0 | 0.04
| Material | SNT000409 | St. Laurent Light | m2 | 1 | 5 | 5 | 10 | 1.1
| Service | SFL0038 | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-St. Laurent Light | m2 | 1 | NA | NA | NA | 1
WFL0039 |  | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-St. Laurent Dark |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.51004 | 0 | 0 | 0 | 0.51004
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | CMT020309 | White Cement | Bags | 0.215 | 0 | 0 | 0 | 0.215
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | CNS020447 | Epoxy based Grout Joint Filler | Kg | 0.03 | 0 | 0 | 0 | 0.03
| Material | THC020159 | Masking Tape | Nos | 0.04 | 0 | 0 | 0 | 0.04
| Material | SNT000410 | St. Laurent Dark | m2 | 1 | 5 | 5 | 10 | 1.1
| Service | SFL0039 | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-St. Laurent Dark | m2 | 1 | NA | NA | NA | 1
WFL0040 |  | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-Golden Portoro |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.51004 | 0 | 0 | 0 | 0.51004
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | CMT020309 | White Cement | Bags | 0.215 | 0 | 0 | 0 | 0.215
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | CNS020447 | Epoxy based Grout Joint Filler | Kg | 0.03 | 0 | 0 | 0 | 0.03
| Material | THC020159 | Masking Tape | Nos | 0.04 | 0 | 0 | 0 | 0.04
| Material | SNT000411 | Golden Portoro | m2 | 1 | 5 | 5 | 10 | 1.1
| Service | SFL0040 | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-Golden Portoro | m2 | 1 | NA | NA | NA | 1
WFL0041 |  | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-Rosa Alicante |  | m2
| Material | CMT020306 | Cement OPC 43 Grade | Bags | 0.51004 | 0 | 0 | 0 | 0.51004
| Material | SNT000442 | Manufactured Sand Fine | m3 | 0.03276 | 0 | 0 | 0 | 0.03276
| Material | SNT000441 | River Sand - Fine | m3 | 0.00819 | 0 | 0 | 0 | 0.00819
| Material | CMT020309 | White Cement | Bags | 0.215 | 0 | 0 | 0 | 0.215
| Material | THC020022 | Wiper 8" | Nos | 0.02 | 0 | 0 | 0 | 0.02
| Material | THC020006 | Putty Blade | Nos | 0.1 | 0 | 0 | 0 | 0.1
| Material | THC020018 | Sponge | Nos | 0.108 | 0 | 0 | 0 | 0.108
| Material | CNS020447 | Epoxy based Grout Joint Filler | Kg | 0.03 | 0 | 0 | 0 | 0.03
| Material | THC020159 | Masking Tape | Nos | 0.04 | 0 | 0 | 0 | 0.04
| Material | SNT000412 | Rosa Alicante | m2 | 1 | 5 | 5 | 10 | 1.1
| Service | SFL0041 | FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-Rosa Alicante | m2 | 1 | NA | NA | NA | 1
| Asset | MCH022854 | Bosch Chipping machine | hrs | 4 | NA | NA | NA | 4

## Sheet2 (hidden)
RMC M10 | M00001 | Cement OPC 43 Grade
Cement | M00002 | Manufactured Sand Plaster Grade
Robo Sand | M00003 | Rebar 500D - 8mm
River Sand | M00004 | Aggregate - 20mm
Manufactured Sand Plaster Grade | M00005 | Sponge
Filter Sand | M00006 | Kota Blue
Table Moulded Bricks | M00007 | Robo Sand
Hollow block - 100mm | M00008 | Filter Sand
Hollow block - 150mm | M00009 | Foam Sheet-Floor Guard
Hollow block - 200mm | M00010 | Wiper 8"
Solid block - 100mm | M00011 | Putty Blade
Solid block - 150mm | M00012 | Buffing material-Birlo solvent base
Solid block - 200mm | M00013 | Kota Powder
Aerocon Block 75mm | M000015 | Cobble stone 150 mm x 150mm x 100mm
Aerocon Block 100mm | M00016 | Table Moulded Brick
Aerocon Block 150mm
Aerocon Block 200mm
Porotherm HP 100
Porotherm HP 150
Porotherm HP 200
Wire Cut Hollow
Wire Cut Perforated
Wire Cut Solid
8mm steel
Agg. 12mm
Agg. 20mm
Agg. 40mm
Cobble Stone 100x100
Cobble Stone 150x150
Quarry dust
Soling Stone 6"
Size stone
RR Stones
Fly ash block 230x100x76 mm
Fly ash block 230x150x76 mm
Lime
Coir Brush / Coconut Broom
MS Bright bar 10 x 10
Fischer FISV 360S
Drilling bits
4"/ 100mm dia. Cutting blade
12"/ 300mm dia. Cutting blade
2" Brush
Dhothi Cloth
Acid
White cement
Cuddapa stone
Araldite
Fibre Mesh
Mosaic Tiles
Mosaic Powder
Polishing Stone "0" set
Polishing Stone "1" set
Polishing Stone "2" set
Polishing Stone "3" set
Polishing Stone "4" set
Polishing Stone "5" set
Polishing Stone "6" set
Metal Paste
Cinder
Plastic Sheet 2 gauge
POP
Foam sheet-floor guard
Wiper 8"
Putty Blade
Sponge
Dust Pan
Epoxy based Grout Joint Filler
Bal Endura Grout Joint Filler
Colour Grout
Colour Oxide
Color Oxides & Stainers
Red oxide
Jaisalmer Powder
Tin Oxide
Tile Spacers
Yellow Powder
Green Powder
Glass Strips
Adhesivses
Buffing material-Birlo solvent base
Kota Powder
11/2" Headless nail
wooden pegs
Proclain Clip
Tenax
Masking Tape
Waterproofing compound
Chicken Mesh
Other consumables
Bison Board below dupont
Binding wire
Nails

## Service Code
Description | Service Code
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Limestone-Kota Green | SFL0007
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Limestone-Cuddappa Black | SFL0009
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Limestone-Shahbad | SFL0010
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Sandstone-Jaisalmer Yellow | SFL0012
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-Udaipur Green | SFL0032
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-White Statuario | SFL0036
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-St. Laurent Light | SFL0038
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-St. Laurent Dark | SFL0039
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-Golden Portoro | SFL0040
FLOORING ¦ DADO ¦ COUNTER-Flooring-Natural Stone-Marble-Rosa Alicante | SFL0041
Note on A1: Vikash Prasad: Derived Field based on classification

## Material Code
Coefficient | Material Code | Unit
RMC M10 | CMT020252 | Cum
Cement OPC 43 Grade | CMT020306 | Bags
River Sand | STN003893 | Cum
Manufactured Sand Fine | SNT000442 | Cum
River Sand - Fine | SNT000441 | Cum
Dhothi Cloth | THC020016 | Nos
White cement | CMT020309 | Bags
POP | CNS020454 | Bags
Wiper 8" | THC020022 | nos.
Putty Blade | THC020006 | nos.
Sponge | THC020018 | nos.
Epoxy based Grout Joint Filler | CNS020447 | Kg
Masking Tape | THC020159 | Nos
Cuddapah Black | SNT000396 | m2
Shahbad | SNT000398 | m2
Jaisalmer Yellow | SNT000399 | m2
Brown Brits | SNT000421 | m2
Desert Brown | SNT000420 | m2
White Statuario | SNT000407 | m2
St. Laurent Light | SNT000409 | m2
St. Laurent Dark | SNT000410 | m2
Golden Portoro | SNT000411 | m2
Rosa Alicante | SNT000412 | m2
Grey William | SNT000415 | m2
Udaipur Green | SNT000402 | m2
Perlato Sicilia | SNT000417 | m2
Grey Cigan | SNT000416 | m2
Merbau | WOD021790 | m2
Pergo-Red oak | SYN000001 | m2
Kota Green | SNT000394 | m2
Thailand Tile Kota Green Ceramic Tile | CLY020390
Note on A30: saveena.j: PAO is replaced by lam. Pergo red oak