## Service Master
Classification | [6 empty] | General | [6 empty] | Purchase | [7 empty] | Planning |  |  | Quality |  |  |  | System Logs
Service Level 1 | Service Level 2 | Service Level 3 | Service Level 4 | Service Level 5 | Service Level 6 | Service Level 7 | Service Code | WBS Code | Short Description | eDesign Description | Unit of Measure | SAC | Service Status | Method of Measurement | General SO Terms | Special SO Terms | Last Purchase Rate | Wt. Avg. Purchase Rate | Pur. Rate Threshold | GST Applicability | Approved Vendors | SO Lead Time | Vendor Mobilisation Time | Min. Order Qty. | Governing Standard | Quality Checklist | Method Statement | Safety Requirements | Date Created | Created by | Date Last Amended | Last Amended by
[19 empty] | % |  |  | Days | Days
Electrical | Point Wiring | Point Wiring | 1 light point controlled by 5amp switch |  |  |  | SEL000665 |  | Electrical-Point Wiring-Point Wiring-1 light point controlled by 5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 1 light point controlled by 2way 5amp switch |  |  |  | SEL000666 |  | Electrical-Point Wiring-Point Wiring-1 light point controlled by 2way 5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 2light point controlled by 5amp switch |  |  |  | SEL000667 |  | Electrical-Point Wiring-Point Wiring-2light point controlled by 5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 2light point controlled by 2way 5amp switch |  |  |  | SEL000668 |  | Electrical-Point Wiring-Point Wiring-2light point controlled by 2way 5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 3light point controlled by -5amp switch |  |  |  | SEL000669 |  | Electrical-Point Wiring-Point Wiring-3light point controlled by -5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 3light point controlled by 2way 5amp switch |  |  |  | SEL000670 |  | Electrical-Point Wiring-Point Wiring-3light point controlled by 2way 5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 4light point controlled by 5amp switch |  |  |  | SEL000671 |  | Electrical-Point Wiring-Point Wiring-4light point controlled by 5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 4light point controlled by 2way 5amp switch |  |  |  | SEL000672 |  | Electrical-Point Wiring-Point Wiring-4light point controlled by 2way 5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 5 to 6 light pts-5amp switch |  |  |  | SEL000673 |  | Electrical-Point Wiring-Point Wiring-5 to 6 light pts-5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 7 to 8 light pts-15amp switch |  |  |  | SEL000674 |  | Electrical-Point Wiring-Point Wiring-7 to 8 light pts-15amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | Ceiling Fan controlled by 5amp Switch with regulator |  |  |  | SEL000675 |  | Electrical-Point Wiring-Point Wiring-Ceiling Fan controlled by 5amp Switch with regulator | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | Ceiling Fan controlled by 2way 5amp Switch with regulator |  |  |  | SEL000676 |  | Electrical-Point Wiring-Point Wiring-Ceiling Fan controlled by 2way 5amp Switch with regulator | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | Exhaust Fan- controlled by 5amp Switch with Socket |  |  |  | SEL000677 |  | Electrical-Point Wiring-Point Wiring-Exhaust Fan- controlled by 5amp Switch with Socket | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | Call bell point controlled by 6A bell push |  |  |  | SEL000678 |  | Electrical-Point Wiring-Point Wiring-Call bell point controlled by 6A bell push | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | Telephone Point |  |  |  | SEL000679 |  | Electrical-Point Wiring-Point Wiring-Telephone Point | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | TV Point |  |  |  | SEL000680 |  | Electrical-Point Wiring-Point Wiring-TV Point | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | LAN point |  |  |  | SEL000681 |  | Electrical-Point Wiring-Point Wiring-LAN point | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | Footlight |  |  |  | SEL000682 |  | Electrical-Point Wiring-Point Wiring-Footlight | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 5 light pts-2way 5amp switch |  |  |  | SEL000683 |  | Electrical-Point Wiring-Point Wiring-5 light pts-2way 5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | 8 light pts-2way 5amp switch |  |  |  | SEL000684 |  | Electrical-Point Wiring-Point Wiring-8 light pts-2way 5amp switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | AC IDU Point (5 Amp Switch-Socket Dependent) |  |  |  | SEL000685 |  | Electrical-Point Wiring-Point Wiring-AC IDU Point (5 Amp Switch-Socket Dependent) | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Point Wiring | Exhaust Fan- controlled by 2 way 5amp Switch with Socket |  |  |  | SEL000686 |  | Electrical-Point Wiring-Point Wiring-Exhaust Fan- controlled by 2 way 5amp Switch with Socket | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 5amp socket 5pin controlled by 5A switch -dependent |  |  |  | SEL000687 |  | Electrical-Point Wiring-Power Receptacles-5amp socket 5pin controlled by 5A switch -dependent | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 5amp socket 5pin controlled by 5A switch -Independent |  |  |  | SEL000688 |  | Electrical-Point Wiring-Power Receptacles-5amp socket 5pin controlled by 5A switch -Independent | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 6/16A socket 5 pin controlled by 1 No 16 A switch - Independent |  |  |  | SEL000689 |  | Electrical-Point Wiring-Power Receptacles-6/16A socket 5 pin controlled by 1 No 16 A switch - Independent | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 2 nos.5amp socket 5 pin controlled by 6A switch - Dependent |  |  |  | SEL000690 |  | Electrical-Point Wiring-Power Receptacles-2 nos.5amp socket 5 pin controlled by 6A switch - Dependent | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 16A socket 3 pin controlled by 1 No 16 A switch - Dependent |  |  |  | SEL000691 |  | Electrical-Point Wiring-Power Receptacles-16A socket 3 pin controlled by 1 No 16 A switch - Dependent | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 16A socket 3 pin controlled by 1 No 16 A switch - Independent |  |  |  | SEL000692 |  | Electrical-Point Wiring-Power Receptacles-16A socket 3 pin controlled by 1 No 16 A switch - Independent | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 16A Socket 3 pin controlled by 16 A DP MCB |  |  |  | SEL000693 |  | Electrical-Point Wiring-Power Receptacles-16A Socket 3 pin controlled by 16 A DP MCB | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 16A socket 3 pin outlet |  |  |  | SEL000694 |  | Electrical-Point Wiring-Power Receptacles-16A socket 3 pin outlet | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 16 switch with indicating lamp |  |  |  | SEL000695 |  | Electrical-Point Wiring-Power Receptacles-16 switch with indicating lamp | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 16A, 2way switch with indicating lamp |  |  |  | SEL000696 |  | Electrical-Point Wiring-Power Receptacles-16A, 2way switch with indicating lamp | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | Telephone Point |  |  |  | SEL000697 |  | Electrical-Point Wiring-Power Receptacles-Telephone Point | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | TV Point |  |  |  | SEL000698 |  | Electrical-Point Wiring-Power Receptacles-TV Point | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 6 -13A Universal socket - Crabtree |  |  |  | SEL000699 |  | Electrical-Point Wiring-Power Receptacles-6 -13A Universal socket - Crabtree | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Point Wiring | Power Receptacles | 5amp switch - 2 way |  |  |  | SEL000700 |  | Electrical-Point Wiring-Power Receptacles-5amp switch - 2 way | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Under water light points | [5 empty] | SEL000701 |  | Electrical-Under water light points-- | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Landscape Lighting | Point wiring | 1no Bollard light controlled by 1no 6A switch |  |  |  | SEL000702 |  | Electrical-Landscape Lighting-Point wiring-1no Bollard light controlled by 1no 6A switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Landscape Lighting | Point wiring | 2nos Bollard light controlled by 1no 6A switch |  |  |  | SEL000703 |  | Electrical-Landscape Lighting-Point wiring-2nos Bollard light controlled by 1no 6A switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Landscape Lighting | Point wiring | 3nos Bollard light controlled by 1no 6A switch |  |  |  | SEL000704 |  | Electrical-Landscape Lighting-Point wiring-3nos Bollard light controlled by 1no 6A switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Landscape Lighting | Point wiring | 4nos Bollard light controlled by 1no 6A switch |  |  |  | SEL000705 |  | Electrical-Landscape Lighting-Point wiring-4nos Bollard light controlled by 1no 6A switch | 995461 | Nos |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Circuit Wiring | [5 empty] | SEL000706 |  | Electrical-Circuit Wiring-- | 995461 | m |  | Under Development |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Distribution Board | [5 empty] | SEL000707 |  | Electrical-Distribution Board-- | 995461 | Nos |  | Under Development |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Submain Cables | [5 empty] | SEL000708 |  | Electrical-Submain Cables-- | 995461 | m |  | Under Development |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Conduiting | 2" Conduits |  |  |  |  | SEL000709 |  | Electrical-Conduiting-2" Conduits- | 995461 | m |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Conduiting | ¾" Conduits |  |  |  |  | SEL000710 |  | Electrical-Conduiting-¾" Conduits- | 995461 | m |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Conduiting | 2 x 6.0sqmm + 1 x4.0sqmm MSCC in 1X 25mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to water body DB) |  |  |  |  | SEL000711 |  | Electrical-Conduiting-2 x 6.0sqmm + 1 x4.0sqmm MSCC in 1X 25mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to water body DB)- | 995461 | m |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Conduiting | 4 x 10.0sqmm + 1 x6.0sqmm MSCC in 1X 32mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to swimming pool) |  |  |  |  | SEL000712 |  | Electrical-Conduiting-4 x 10.0sqmm + 1 x6.0sqmm MSCC in 1X 32mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to swimming pool)- | 995461 | m |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Miscellaneous | Electrical work for Home Automation |  |  |  |  | SEL000713 |  | Electrical-Miscellaneous-Electrical work for Home Automation- | 995461 | LS |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Electrical | Miscellaneous | Electrical work for HVAC (VRV) |  |  |  |  | SEL000714 |  | Electrical-Miscellaneous-Electrical work for HVAC (VRV)- | 995461 | LS |  | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Note on J3: Vikash Prasad: Derived Field based on classification

## Definitions
SERVICE LEVEL 1 | Service Level 1 - DEFINITION | SERVICE LEVEL 2 | Service Level 2 - DEFINITION | SERVICE LEVEL 3 | Service Level 3 - DEFINITION | SERVICE LEVEL 4 | Service Level 4 - DEFINITION | SERVICE LEVEL 5 | Service Level 5 - DEFINITION | SERVICE LEVEL 6 | Service Level 6 - DEFINITION | SERVICE LEVEL 7 | Service Level 7 - DEFINITION
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 1 light point controlled by 5amp switch | 1 light point controlled by 5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","1 light point controlled by 5amp switch":"1 light point controlled by 5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 1 light point controlled by 2way 5amp switch | 1 light point controlled by 2way 5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","1 light point controlled by 2way 5amp switch":"1 light point controlled by 2way 5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 2light point controlled by 5amp switch | 2light point controlled by 5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","2light point controlled by 5amp switch":"2light point controlled by 5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 2light point controlled by 2way 5amp switch | 2light point controlled by 2way 5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","2light point controlled by 2way 5amp switch":"2light point controlled by 2way 5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 3light point controlled by -5amp switch | 3light point controlled by -5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","3light point controlled by -5amp switch":"3light point controlled by -5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 3light point controlled by 2way 5amp switch | 3light point controlled by 2way 5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","3light point controlled by 2way 5amp switch":"3light point controlled by 2way 5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 4light point controlled by 5amp switch | 4light point controlled by 5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","4light point controlled by 5amp switch":"4light point controlled by 5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 4light point controlled by 2way 5amp switch | 4light point controlled by 2way 5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","4light point controlled by 2way 5amp switch":"4light point controlled by 2way 5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 5 to 6 light pts-5amp switch | 5 to 6 light pts-5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","5 to 6 light pts-5amp switch":"5 to 6 light pts-5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 7 to 8 light pts-15amp switch | 7 to 8 light pts-15amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","7 to 8 light pts-15amp switch":"7 to 8 light pts-15amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | Ceiling Fan controlled by 5amp Switch with regulator | Ceiling Fan controlled by 5amp Switch with regulator | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","Ceiling Fan controlled by 5amp Switch with regulator":"Ceiling Fan controlled by 5amp Switch with regulator","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | Ceiling Fan controlled by 2way 5amp Switch with regulator | Ceiling Fan controlled by 2way 5amp Switch with regulator | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","Ceiling Fan controlled by 2way 5amp Switch with regulator":"Ceiling Fan controlled by 2way 5amp Switch with regulator","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | Exhaust Fan- controlled by 5amp Switch with Socket | Exhaust Fan- controlled by 5amp Switch with Socket | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","Exhaust Fan- controlled by 5amp Switch with Socket":"Exhaust Fan- controlled by 5amp Switch with Socket","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | Call bell point controlled by 6A bell push | Call bell point controlled by 6A bell push | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","Call bell point controlled by 6A bell push":"Call bell point controlled by 6A bell push ","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | Telephone Point | Telephone Point | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","Telephone Point":"Telephone Point","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | TV Point | TV Point | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","TV Point":"TV Point","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | LAN point | LAN point | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","LAN point":"LAN point","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | Footlight | Footlight | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","Footlight":"Footlight","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 5 light pts-2way 5amp switch | 5 light pts-2way 5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","5 light pts-2way 5amp switch":"5 light pts-2way 5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | 8 light pts-2way 5amp switch | 8 light pts-2way 5amp switch | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","8 light pts-2way 5amp switch":"8 light pts-2way 5amp switch","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | AC IDU Point (5 Amp Switch-Socket Dependent) | AC IDU Point (5 Amp Switch-Socket Dependent) | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","AC IDU Point (5 Amp Switch-Socket Dependent)":"AC IDU Point (5 Amp Switch-Socket Dependent)","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Point Wiring | Point Wiring | Exhaust Fan- controlled by 2 way 5amp Switch with Socket | Exhaust Fan- controlled by 2 way 5amp Switch with Socket | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Point Wiring":"Point Wiring","Exhaust Fan- controlled by 2 way 5amp Switch with Socket":"Exhaust Fan- controlled by 2 way 5amp Switch with Socket","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 5amp socket 5pin controlled by 5A switch -dependent | 5amp socket 5pin controlled by 5A switch -dependent | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","5amp socket 5pin controlled by 5A switch -dependent":"5amp socket 5pin controlled by 5A switch -dependent","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 5amp socket 5pin controlled by 5A switch -Independent | 5amp socket 5pin controlled by 5A switch -Independent | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","5amp socket 5pin controlled by 5A switch -Independent":"5amp socket 5pin controlled by 5A switch -Independent","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 6/16A socket 5 pin controlled by 1 No 16 A switch - Independent | 6/16A socket 5 pin controlled by 1 No 16 A switch - Independent | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","6/16A socket 5 pin controlled by 1 No 16 A switch - Independent":"6/16A socket 5 pin controlled by 1 No 16 A switch - Independent","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 2 nos.5amp socket 5 pin controlled by 6A switch - Dependent | 2 nos.5amp socket 5 pin controlled by 6A switch - Dependent | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","2 nos.5amp socket 5 pin controlled by 6A switch - Dependent":"2 nos.5amp socket 5 pin controlled by 6A switch - Dependent","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 16A socket 3 pin controlled by 1 No 16 A switch - Dependent | 16A socket 3 pin controlled by 1 No 16 A switch - Dependent | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","16A socket 3 pin controlled by 1 No 16 A switch - Dependent":"16A socket 3 pin controlled by 1 No 16 A switch - Dependent","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 16A socket 3 pin controlled by 1 No 16 A switch - Independent | 16A socket 3 pin controlled by 1 No 16 A switch - Independent | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","16A socket 3 pin controlled by 1 No 16 A switch - Independent":"16A socket 3 pin controlled by 1 No 16 A switch - Independent","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 16A Socket 3 pin controlled by 16 A DP MCB | 16A Socket 3 pin controlled by 16 A DP MCB | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","16A Socket 3 pin controlled by 16 A DP MCB":"16A Socket 3 pin controlled by 16 A DP MCB","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 16A socket 3 pin outlet | 16A socket 3 pin outlet | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","16A socket 3 pin outlet":"16A socket 3 pin outlet ","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 16 switch with indicating lamp | 16 switch with indicating lamp | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","16 switch with indicating lamp":"16 switch with indicating lamp","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 16A, 2way switch with indicating lamp | 16A, 2way switch with indicating lamp | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","16A, 2way switch with indicating lamp":"16A, 2way switch with indicating lamp","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | Telephone Point | Telephone Point | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","Telephone Point":"Telephone Point","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | TV Point | TV Point | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","TV Point":"TV Point","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 6 -13A Universal socket - Crabtree | 6 -13A Universal socket - Crabtree | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","6 -13A Universal socket - Crabtree":"6 -13A Universal socket - Crabtree","":"","":"","":""}
Electrical | Electrical | Point Wiring | Point Wiring | Power Receptacles | Power Receptacles | 5amp switch - 2 way | 5amp switch - 2 way | [6 empty] | {"Electrical":"Electrical","Point Wiring":"Point Wiring","Power Receptacles":"Power Receptacles","5amp switch - 2 way":"5amp switch - 2 way","":"","":"","":""}
Electrical | Electrical | Under water light points | Under water light points | [10 empty] | {"Electrical":"Electrical","Under water light points":"Under water light points","":"","":"","":"","":"","":""}
Electrical | Electrical | Landscape Lighting | Landscape Lighting | Point wiring | Point wiring | 1no Bollard light controlled by 1no 6A switch | 1no Bollard light controlled by 1no 6A switch | [6 empty] | {"Electrical":"Electrical","Landscape Lighting":"Landscape Lighting","Point wiring":"Point wiring","1no Bollard light controlled by 1no 6A switch":"1no Bollard light controlled by 1no 6A switch","":"","":"","":""}
Electrical | Electrical | Landscape Lighting | Landscape Lighting | Point wiring | Point wiring | 2nos Bollard light controlled by 1no 6A switch | 2nos Bollard light controlled by 1no 6A switch | [6 empty] | {"Electrical":"Electrical","Landscape Lighting":"Landscape Lighting","Point wiring":"Point wiring","2nos Bollard light controlled by 1no 6A switch":"2nos Bollard light controlled by 1no 6A switch","":"","":"","":""}
Electrical | Electrical | Landscape Lighting | Landscape Lighting | Point wiring | Point wiring | 3nos Bollard light controlled by 1no 6A switch | 3nos Bollard light controlled by 1no 6A switch | [6 empty] | {"Electrical":"Electrical","Landscape Lighting":"Landscape Lighting","Point wiring":"Point wiring","3nos Bollard light controlled by 1no 6A switch":"3nos Bollard light controlled by 1no 6A switch","":"","":"","":""}
Electrical | Electrical | Landscape Lighting | Landscape Lighting | Point wiring | Point wiring | 4nos Bollard light controlled by 1no 6A switch | 4nos Bollard light controlled by 1no 6A switch | [6 empty] | {"Electrical":"Electrical","Landscape Lighting":"Landscape Lighting","Point wiring":"Point wiring","4nos Bollard light controlled by 1no 6A switch":"4nos Bollard light controlled by 1no 6A switch","":"","":"","":""}
Electrical | Electrical | Circuit Wiring | Circuit Wiring | [10 empty] | {"Electrical":"Electrical","Circuit Wiring":"Circuit Wiring","":"","":"","":"","":"","":""}
Electrical | Electrical | Distribution Board | Distribution Board | [10 empty] | {"Electrical":"Electrical","Distribution Board":"Distribution Board","":"","":"","":"","":"","":""}
Electrical | Electrical | Submain Cables | Submain Cables | [10 empty] | {"Electrical":"Electrical","Submain Cables":"Submain Cables","":"","":"","":"","":"","":""}
Electrical | Electrical | Conduiting | Conduiting | 2" Conduits | 2" Conduits | [8 empty] | {"Electrical":"Electrical","Conduiting":"Conduiting","2" Conduits":"2" Conduits","":"","":"","":"","":""}
Electrical | Electrical | Conduiting | Conduiting | ¾" Conduits | ¾" Conduits | [8 empty] | {"Electrical":"Electrical","Conduiting":"Conduiting","¾" Conduits":"¾" Conduits","":"","":"","":"","":""}
Electrical | Electrical | Conduiting | Conduiting | 2 x 6.0sqmm + 1 x4.0sqmm MSCC in 1X 25mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to water body DB) | 2 x 6.0sqmm + 1 x4.0sqmm MSCC in 1X 25mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to water body DB) | [8 empty] | {"Electrical":"Electrical","Conduiting":"Conduiting","2 x 6.0sqmm + 1 x4.0sqmm MSCC in 1X 25mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to water body DB)":"2 x 6.0sqmm + 1 x4.0sqmm MSCC in 1X 25mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to water body DB)","":"","":"","":"","":""}
Electrical | Electrical | Conduiting | Conduiting | 4 x 10.0sqmm + 1 x6.0sqmm MSCC in 1X 32mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to swimming pool) | 4 x 10.0sqmm + 1 x6.0sqmm MSCC in 1X 32mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to swimming pool) | [8 empty] | {"Electrical":"Electrical","Conduiting":"Conduiting","4 x 10.0sqmm + 1 x6.0sqmm MSCC in 1X 32mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to swimming pool)":"4 x 10.0sqmm + 1 x6.0sqmm MSCC in 1X 32mm dia PVC, FRLS, 2mm thick conduit (From lower lv DB to swimming pool)","":"","":"","":"","":""}
Electrical | Electrical | Miscellaneous | Miscellaneous | Electrical work for Home Automation | Electrical work for Home Automation | [8 empty] | {"Electrical":"Electrical","Miscellaneous":"Miscellaneous","Electrical work for Home Automation":"Electrical work for Home Automation","":"","":"","":"","":""}
Electrical | Electrical | Miscellaneous | Miscellaneous | Electrical work for HVAC (VRV) | Electrical work for HVAC - WoYM | [8 empty] | {"Electrical":"Electrical","Miscellaneous":"Miscellaneous","Electrical work for HVAC (VRV)":"Electrical work for HVAC - WoYM","":"","":"","":"","":""}

## Rate Master
Service Code | Type of Purchase (Import/Domestic Inter-state/ Domestic Intra-state) | Currency Type | Control Base Rate (per UoM) | Location ID will be City wise | Coefficients |  | Landed Rate (in Base Currency) (per UoM)
[5 empty] | Location Variance | Market Fluctuation
SMP000001 | Domestic Intra-state | INR | 129 | Bangalore | 5 | 10
SMP000001 | Domestic Intra-state | INR | 129 | Hyderbad | 5 | 10
SMP000001 | Domestic Intra-state | INR | 129 | Pune | 5 | 10
SMP000001 | Domestic Intra-state | USD | 100 | Bangalore | 5 | 10
Note : Assumptions
Currency Conversion factor
USD to INR | 70
Exchange Rate fluctuation | 5 | %