## Service Master
Classification | [6 empty] | General | [6 empty] | Purchase | [7 empty] | Planning |  |  | Quality |  |  |  | System Logs
Service Level 1 | Service Level 2 | Service Level 3 | Service Level 4 | Service Level 5 | Service Level 6 | Service Level 7 | Service Code | WBS Code | Short Description | eDesign Description | Unit of Measure | SAC | Service Status | Method of Measurement | General SO Terms | Special SO Terms | Last Purchase Rate | Wt. Avg. Purchase Rate | Pur. Rate Threshold | GST Applicability | Approved Vendors | SO Lead Time | Vendor Mobilisation Time | Min. Order Qty. | Governing Standard | Quality Checklist | Method Statement | Safety Requirements | Date Created | Created by | Date Last Amended | Last Amended by
[19 empty] | % |  |  | Days | Days
HVAC | Split AC | Split Air Conditioning Installation |  |  |  |  | SHV000751 |  | HVAC-Split AC-Split Air Conditioning Installation- |  | LS | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Split AC | Supply & Installation - Drain Pipes for Split AC HDPE/PVC 19 mm dia |  |  |  |  | SHV000752 |  | HVAC-Split AC-Supply & Installation - Drain Pipes for Split AC HDPE/PVC 19 mm dia- |  | m | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Split AC | Fixing of Sleeves |  |  |  |  | SHV000753 |  | HVAC-Split AC-Fixing of Sleeves- |  | Nos | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Split AC | Supply & Installation - Copper refrigerant pipe 22.2mm OD (insulation =13 mm thick) |  |  |  |  | SHV000754 |  | HVAC-Split AC-Supply & Installation - Copper refrigerant pipe 22.2mm OD (insulation =13 mm thick)- |  | m | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Split AC | Supply & Installation - Electrical control cable between indoor & out door unit (power cable 4 core) |  |  |  |  | SHV000755 |  | HVAC-Split AC-Supply & Installation - Electrical control cable between indoor & out door unit (power cable 4 core)- |  | m | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Split AC | Supply & Installation - Insulation for cable |  |  |  |  | SHV000756 |  | HVAC-Split AC-Supply & Installation - Insulation for cable- |  | m | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Split AC | Supply & Installation - Bracket Support for Outdoor Units |  |  |  |  | SHV000757 |  | HVAC-Split AC-Supply & Installation - Bracket Support for Outdoor Units- |  | Nos | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Split AC | Supply & installation - Stabilizer for Outdoor Units |  |  |  |  | SHV000758 |  | HVAC-Split AC-Supply & installation - Stabilizer for Outdoor Units- |  | Nos | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | VRV | Installation of VRV system |  |  |  |  | SHV000759 |  | HVAC-VRV-Installation of VRV system- |  | LS | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | VRV | Lifting, Shifting, Positioning & Installation of ODU with necessary fittings and accessories as per the specification. |  |  |  |  | SHV000760 |  | HVAC-VRV-Lifting, Shifting, Positioning & Installation of ODU with necessary fittings and accessories as per the specification.-- |  | Nos | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | VRV | Lifting, Shifting, Positioning & Installation of IDU with necessary fittings and accessories as per the specification. |  |  |  |  | SHV000761 |  | HVAC-VRV-Lifting, Shifting, Positioning & Installation of IDU with necessary fittings and accessories as per the specification.-- |  | Nos | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | VRV | Supply & Installation of copper piping with necessary fittings |  |  |  |  | SHV000762 |  | HVAC-VRV-Supply & Installation of copper piping with necessary fittings-- |  | m | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | VRV | Supply & Installation - PVC Drain piping insulated with 6mm thick insulation of elastomeric nitile rubber |  |  |  |  | SHV000763 |  | HVAC-VRV-Supply & Installation - PVC Drain piping insulated with 6mm thick insulation of elastomeric nitile rubber-- |  | m | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | VRV | Supply & Installation - Aluminium extruded powder coated linear bar grill |  |  |  |  | SHV000764 |  | HVAC-VRV-Supply & Installation - Aluminium extruded powder coated linear bar grill-- |  | m² | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | VRV | Supply & Installation - G.S.S Ducting |  |  |  |  | SHV000765 |  | HVAC-VRV-Supply & Installation - G.S.S Ducting-- |  | m² | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | VRV | Supply & Installation - Acoustic insulation |  |  |  |  | SHV000766 |  | HVAC-VRV-Supply & Installation - Acoustic insulation-- |  | m² | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Fans | Ceiling Fan Installation |  |  |  |  | SHV000767 |  | HVAC-Fans-Ceiling Fan Installation-- |  | Nos | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Fans | Wall Mounted Fan Installation |  |  |  |  | SHV000768 |  | HVAC-Fans-Wall Mounted Fan Installation-- |  | Nos | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Fans | Exhaust Fan Installation |  |  |  |  | SHV000769 |  | HVAC-Fans-Exhaust Fan Installation-- |  | Nos | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
HVAC | Mechanical Ventilation | Mechanical Ventilation Installation |  |  |  |  | SHV000770 |  | HVAC-Mechanical Ventilation-Mechanical Ventilation Installation-- |  | Nos | 995463 | Approved |  | SGPO01 |  |  |  | 10 | Applicable |  | 5 | 5
Note on J3: Vikash Prasad: Derived Field based on classification

## Definitions
SERVICE LEVEL 1 | Service Level 1 - DEFINITION | SERVICE LEVEL 2 | Service Level 2 - DEFINITION | SERVICE LEVEL 3 | Service Level 3 - DEFINITION | SERVICE LEVEL 4 | Service Level 4 - DEFINITION | SERVICE LEVEL 5 | Service Level 5 - DEFINITION | SERVICE LEVEL 6 | Service Level 6 - DEFINITION | SERVICE LEVEL 7 | Service Level 7 - DEFINITION
HVAC | HVAC | Split AC | Split AC | Split Air Conditioning Installation | Split Air Conditioning Installation | [8 empty] | {"HVAC":"HVAC","Split AC":"Split AC","Split Air Conditioning Installation":"Split Air Conditioning Installation","":"","":"","":"","":""}
HVAC | HVAC | Split AC | Split AC | Supply & Installation - Drain Pipes for Split AC HDPE/PVC 19 mm dia | Supply & Installation - Drain Pipes for Split AC HDPE/PVC 19 mm dia | [8 empty] | {"HVAC":"HVAC","Split AC":"Split AC","Supply & Installation - Drain Pipes for Split AC HDPE/PVC 19 mm dia":"Supply & Installation - Drain Pipes for Split AC HDPE/PVC 19 mm dia","":"","":"","":"","":""}
HVAC | HVAC | Split AC | Split AC | Fixing of Sleeves | Fixing of Sleeves | [8 empty] | {"HVAC":"HVAC","Split AC":"Split AC","Fixing of Sleeves":"Fixing of Sleeves","":"","":"","":"","":""}
HVAC | HVAC | Split AC | Split AC | Supply & Installation - Copper refrigerant pipe 22.2mm OD (insulation =13 mm thick) | Supply & Installation - Copper refrigerant pipe 22.2mm OD (insulation =13 mm thick) | [8 empty] | {"HVAC":"HVAC","Split AC":"Split AC","Supply & Installation - Copper refrigerant pipe 22.2mm OD (insulation =13 mm thick)":"Supply & Installation - Copper refrigerant pipe 22.2mm OD (insulation =13 mm thick)","":"","":"","":"","":""}
HVAC | HVAC | Split AC | Split AC | Supply & Installation - Electrical control cable between indoor & out door unit (power cable 4 core) | Supply & Installation - Electrical control cable between indoor & out door unit (power cable 4 core) | [8 empty] | {"HVAC":"HVAC","Split AC":"Split AC","Supply & Installation - Electrical control cable between indoor & out door unit (power cable 4 core)":"Supply & Installation - Electrical control cable between indoor & out door unit (power cable 4 core)","":"","":"","":"","":""}
HVAC | HVAC | Split AC | Split AC | Supply & Installation - Insulation for cable | Supply & Installation - Insulation for cable | [8 empty] | {"HVAC":"HVAC","Split AC":"Split AC","Supply & Installation - Insulation for cable":"Supply & Installation - Insulation for cable","":"","":"","":"","":""}
HVAC | HVAC | Split AC | Split AC | Supply & Installation - Bracket Support for Outdoor Units | Supply & Installation - Bracket Support for Outdoor Units | [8 empty] | {"HVAC":"HVAC","Split AC":"Split AC","Supply & Installation - Bracket Support for Outdoor Units":"Supply & Installation - Bracket Support for Outdoor Units","":"","":"","":"","":""}
HVAC | HVAC | Split AC | Split AC | Supply & installation - Stabilizer for Outdoor Units | Supply & installation - Stabilizer for Outdoor Units | [8 empty] | {"HVAC":"HVAC","Split AC":"Split AC","Supply & installation - Stabilizer for Outdoor Units":"Supply & installation - Stabilizer for Outdoor Units","":"","":"","":"","":""}
HVAC | HVAC | VRV | VRV | Installation of VRV system | Installation of VRV system - all related works | [8 empty] | {"HVAC":"HVAC","VRV":"VRV","Installation of VRV system":"Installation of VRV system - all related works","":"","":"","":"","":""}
HVAC | HVAC | VRV | VRV | Lifting, Shifting, Positioning & Installation of ODU with necessary fittings and accessories as per the specification. | Lifting, Shifting, Positioning & Installation of ODU with necessary fittings and accessories as per the specification. | [8 empty] | {"HVAC":"HVAC","VRV":"VRV","Lifting, Shifting, Positioning & Installation of ODU with necessary fittings and accessories as per the specification.":"Lifting, Shifting, Positioning & Installation of ODU with necessary fittings and accessories as per the specification.","":"","":"","":"","":""}
HVAC | HVAC | VRV | VRV | Lifting, Shifting, Positioning & Installation of IDU with necessary fittings and accessories as per the specification. | Lifting, Shifting, Positioning & Installation of IDU with necessary fittings and accessories as per the specification. | [8 empty] | {"HVAC":"HVAC","VRV":"VRV","Lifting, Shifting, Positioning & Installation of IDU with necessary fittings and accessories as per the specification.":"Lifting, Shifting, Positioning & Installation of IDU with necessary fittings and accessories as per the specification.","":"","":"","":"","":""}
HVAC | HVAC | VRV | VRV | Supply & Installation of copper piping with necessary fittings | Supply & Installation of copper piping with necessary fittings | [8 empty] | {"HVAC":"HVAC","VRV":"VRV","Supply & Installation of copper piping with necessary fittings":"Supply & Installation of copper piping with necessary fittings","":"","":"","":"","":""}
HVAC | HVAC | VRV | VRV | Supply & Installation - PVC Drain piping insulated with 6mm thick insulation of elastomeric nitile rubber | Supply & Installation - PVC Drain piping insulated with 6mm thick insulation of elastomeric nitile rubber | [8 empty] | {"HVAC":"HVAC","VRV":"VRV","Supply & Installation - PVC Drain piping insulated with 6mm thick insulation of elastomeric nitile rubber":"Supply & Installation - PVC Drain piping insulated with 6mm thick insulation of elastomeric nitile rubber","":"","":"","":"","":""}
HVAC | HVAC | VRV | VRV | Supply & Installation - Aluminium extruded powder coated linear bar grill | Supply & Installation - Aluminium extruded powder coated linear bar grill | [8 empty] | {"HVAC":"HVAC","VRV":"VRV","Supply & Installation - Aluminium extruded powder coated linear bar grill":"Supply & Installation - Aluminium extruded powder coated linear bar grill","":"","":"","":"","":""}
HVAC | HVAC | VRV | VRV | Supply & Installation - G.S.S Ducting | Supply & Installation - G.S.S Ducting | [8 empty] | {"HVAC":"HVAC","VRV":"VRV","Supply & Installation - G.S.S Ducting":"Supply & Installation - G.S.S Ducting","":"","":"","":"","":""}
HVAC | HVAC | VRV | VRV | Supply & Installation - Acoustic insulation | Supply & Installation - Acoustic insulation | [8 empty] | {"HVAC":"HVAC","VRV":"VRV","Supply & Installation - Acoustic insulation":"Supply & Installation - Acoustic insulation","":"","":"","":"","":""}
HVAC | HVAC | Fans | Fans | Ceiling Fan Installation | Ceiling Fan Installation | [8 empty] | {"HVAC":"HVAC","Fans":"Fans","Ceiling Fan Installation":"Ceiling Fan Installation","":"","":"","":"","":""}
HVAC | HVAC | Fans | Fans | Wall Mounted Fan Installation | Wall Mounted Fan Installation | [8 empty] | {"HVAC":"HVAC","Fans":"Fans","Wall Mounted Fan Installation":"Wall Mounted Fan Installation","":"","":"","":"","":""}
HVAC | HVAC | Fans | Fans | Exhaust Fan Installation | Exhaust Fan Installation | [8 empty] | {"HVAC":"HVAC","Fans":"Fans","Exhaust Fan Installation":"Exhaust Fan Installation","":"","":"","":"","":""}
HVAC | HVAC | Mechanical Ventilation | Mechanical Ventilation | Mechanical Ventilation Installation | Mechanical Ventilation (Cata Fans) Installation | [8 empty] | {"HVAC":"HVAC","Mechanical Ventilation":"Mechanical Ventilation","Mechanical Ventilation Installation":"Mechanical Ventilation (Cata Fans) Installation","":"","":"","":"","":""}

## Rate Master
Service Code | Type of Purchase (Import/Domestic Inter-state/ Domestic Intra-state) | Currency Type | Control Base Rate (per UoM) | Location ID will be City wise | Coefficients |  | Landed Rate (in Base Currency) (per UoM)
[5 empty] | Location Variance | Market Fluctuation
SMP000001 | Domestic Intra-state | INR | 129 | Bangalore | 5 | 10
SMP000001 | Domestic Intra-state | INR | 129 | Hyderbad | 5 | 10
SMP000001 | Domestic Intra-state | INR | 129 | Pune | 5 | 10
SMP000001 | Domestic Intra-state | USD | 100 | Bangalore | 5 | 10
Note : Assumptions
Currency Conversion factor
USD to INR | 70
Exchange Rate fluctuation | 5 | %